## Sheet1
Front-end
Position | Equipment |  | BE/BI/BL | DESY | BCM | BRM | CERN
1 | PCBs for preamplifier,
2 | Preamplifier and shaper ASICs
3 | Laser Driver
4 | Laser Diodes with pig tail
5 | PCB special connectors
6 | Teflon cable
7 | Electrical and opticl patch panel
8 | Power supplies low and high voltage
9 | Optical receiver
10 | Diamond sensors
Back-end
Position | Equipment | Model | BE/BI/BL | DESY | BCM
1 | Standard PC |  | 1
2 | VME create |  | 1
3 | VME Controller | V2718 | 1
4 | ADC V1721 | V1721 | 0
5 | TDC V767 | V767 | 1
6 | Discriminator | V258 | 1
7 | Logic Module
8 | Veto Module
9 | Scaler Module | V560 | 1
10 | NIM Crate |  | 1
11 | Fan-in/fan-out | V925 (VME) | 0
11 | Fan-in/fan-out | 428F (NIM) | 1
11 | Level coverter NIM -> ECL | V538 | 1
(= who should supply this equipment)