Version: 15.04.04

(Checked by B. Jeanneret)

Location of BLMs

(One side of IP only, has to be multiplied by two to get the number per IP, if not indicated differently. 
 Only one beam, if not indicated differently)

| IR | TAS or BPM Q1 | TRIPLET two beam | TRIPLET abs | TAN (1+5) or D2 (2+8) | TCL 1 | TCL 2 | XRP 4 locations | MSI one side | TDI one side | TCD D one side | TCL i one side | MSD | TCD Q | TCD S | Q5 | Collimator | DIS Q8 prot | DIS Q 11 prot | DIS xx ion | DIS xx cap ion |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ISU | 2 * IU | ISU | ISU | IU | IU |  |  |  |  |  |  |  |  |  |  | IU | IU |  | IU |
| 2 | ISU | 2 * IU | --- | ISU |  |  |  | ISU | ISU | ISU | 2 * ISU |  |  |  |  |  | ISU | ISU |  | IU |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | xxx ISU | IU | IU | IU |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | ISU | 2 * IU | ISU | ISU | IU | IU | 4 * IU |  |  |  |  |  |  |  |  |  | IU | IU |  | IU |
| 6 |  |  |  |  |  |  |  |  |  |  |  | ISU | ISU | ISU | ISU |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | xxx ISU | IU | IU | IU |  |
| 8 | ISU | 2 * IU | --- | ISU |  |  |  | ISU | ISU | ISU | 2 * ISU |  |  |  |  |  | ISU | ISU |  |  |

Notation:

| Functional specification | Engineering specification | Dynamic range [prot/m/s] | time | remarks |
| --- | --- | --- | --- | --- |
| BLMA | BLMIM (IM) | 2 105 – 3.6 1012 | 2.5 10-3 to 100s | Monitors at all quadrupole magnets, maskable (except if other specified) |
| BLMC | BLMISU (ISU) | 1 106 – 3.6 1017 | 1 10-4 to 100s | Monitors in the collimation area, unmaskable (I and S as for special monitors) |
| BLMS | BLMIU (IU) | 2 105 – 3.6 1012 | 1 10-4 to 100s | Special location ionisation chamber, unmaskable (low region of dynamic range) |
| BLMS* | BLMISU (ISU) | 2 105 – 3.2 1017 | 1 10-4 to 100s | Special location ionisation chamber, unmaskable (low and high region of dynamic range) |