## stock of IC located at
Status of IC in storage room 865-RA-04
Stickers colors | Shrinck | Serial Number |  | good GIF | bad GIF
Good
3734
|  | 4126 |  | 150kΩ | RC | no indication
3725
4239
4182
|  | 3720 |  | Shrincked |  | no Shrincked
4183
4147
3706
3642
3718
4146
4138
4218
4249
4128
4123
4219
4153
3704
4017
4160
4174
3728
4134
4093
4206
4181
3712
3729
4129
4171
3715
3716
4195
4248
4201
4211
4252
4204
4045
4198
4143
4192
4155
4131
4186
4245
4266
701
406
607
706
690
1509
721
418
717
481
743
593
235
546
722
710
379
803
709
1491
1503
416
727
1789
1829
734
1482
688
601
672
1494
1531
1541
580
485
685
1540
482
538
716
334
570
758
556
1626
1530
1733
1488
1548
1627
1332
1502
1572
602
401
756
3530
1802
3822
3280
646
3112
2613
3157
3162
584
3099
2598
1190
3787
4070
3180
4210
2824
3144
4118
1634
3751
4142
3135
3103
4125
4073
3173
3771
3120
3193
4125
4047
3145
3796
3762
2796
3163
3194
503
4188
560
4049
4180
4168
4265
3117
4119
3181
3538
3114
3824
436
3183
4154
1206
1185
3277
4074
3523
3133
3479
4172
3512
3509
3561
3539
3255
3878
3200
1339
3772
3760
3126
3464
3238
3239
3460
3199
3765
3240
3209
3484
3835
3514
3555
3271
3198
3153
3214
3223
3475
3139
3159
4170
3838
4242
4176
4175
2990
3027
4259
3909
2820
3125
4187
4060
3129
3154
3764
4031
4084
4237
4264
4235
2729
3841
4199
3172
3257
4118
4139
4055
4044
4019
4095
4115
1598
1009
4036
4028
3096
4030
2361
4137
4185
4061
4165
4050
4151
3294
4008
3492
3496
4097
4246
4162
3818
3177
3147
3176
1330
3235
3281
3486
3104
3761
3488
3503
3763
3458
3794
3275
3522
3291
3504
3485
3541
3516
3517
825
3248
3510
3113
3202
3242
3752
3506
3046
3298
3256
4251
3233
3122
4132
3520
3806
4058
3782
4052
4015
1036
2093
4013
4099
4042
4037
4048
4094
4090
4081
4157
4091
4014
4034
1037
4020
4086
3754
3784
3127
3152
3016
4039
4167
4035
4043
3020
4079
4054
4056
4063
3138
4025
3192
4112
4029
4268
4078
4226
3188
4145
4089
4263
4110
4150
A tester
|  | 3693 | R 150 KΩ
|  | 3741 | R 150 KΩ
|  | 3739 | R 150 KΩ
|  | 4136 | R 150 KΩ
|  | 3726 | R 150 KΩ
|  | 1565 | RC
|  | 3255 | RC
|  | 3142 | RC
|  | 4066 | RC
|  | 1084 | RC
|  | 497 | RC
|  | 3801 | RC
|  | 1148 | RC
|  | 3749 | RC
|  | 989 | RC
|  | 3169 | leakage current
|  | 180 | leakage current
|  | 1344 | leakage current
|  | 364 | leakage current
|  | 1118 | leakage current
|  | 813 | leakage current
|  | 2036 | leakage current
4261
4250
4124
4251
4120
4087
4062
4196
4148
4232
4023
1543
3091
1238
1579
1660
1795
1868
3283
3550
1832
1861
1305
1160
1594
Defectueux
3444
1850
3863
2979
2923
3781
3800
3606
3646
3815
1699
2371
3164
2244
Dismounted
BLMEI F6.R8
BLM F6.L2
BLMQI C8.L2
A20.R3
D29.R3
B21.R3
No Stickers
54
42
41
39
20

## counting for production 2014
|  | IC LHC type | comments | Not financed (31.01.2014) |  |  | FIC
PSB LS"
in stock (checked, 150 with filter, with and with out shrinking tube) |  | 275 | email: Slava
CNGS recover |  | 88 | agreement
Sent to GSI (with shrinking tube) |  | -40 | contract
Sent to Saclay (with shrinking tube) |  | -25 | contract
Sent to Jlab (with shrinking tube) |  | -20 | contract
available |  | 278
requirements CERN
LHC LS1 (collimators) |  | 10 | Slava 09.09.2013
L4 (spare included) |  | 32 | Christos: 23.05.2013
PSB LS1 |  | 32 | Christos: 23.05.2013
PSB and injection line LS2 (spare included, FIC in addition) |  | 64 | Christos: 23.05.2013 | Needed L4 and PSB monitors | 128 | PSB LS2 (spare included) | 34
[6 empty] | general spare | 16
PS Ring LS2 (spare included) |  | 105 | Christos: 23.05.2013
PS transfer line LS2 (spare included) |  | 56 | Christos: 23.05.2014 |  |  | Total produced and at CERN | 50
SPS TT10 LS2 (spare included) |  | 33 | Christos: 23.05.2013 |  |  | except 16 k paid from other budget to be recovered from 64020
spare chambers LHC |  | 200
LHC LS1 LHCb |  | 5
LHC LS1 ALICE |  | 5
LHC Ions (John under discussion) |  | 12 | John request mail xxx 2 monitors on interconnection dipole
SPS spares |  | 40 | mallika 4.3.2014, 40 k allocated work package 128843
Total |  | 594 |  | Needed monitors | 594
|  |  |  | available | 278
requirements outside CERN |  |  |  | Monitors to be produced | 316
ESS Lali |  | 285 | Lali Tchelidze mail 23.10.2013 | budget available for | 40 | SPS
GSI (needed at GSI 200) |  | 200 | mail Andreas Reiter 26.08. 150 kEuro => 142 chambers | number of detectors without budget | 276
FRIB |  | 100
Total |  | 585
Production Calculation
CERN LS2 (to be installed) |  | 594
outside CERN |  | 585
available at CERN |  | 278
Total to be produced |  | 901
production loss [%] | 7 | 63.07
Total with production loss (not all are financed yet) |  | 964.07
Production Calculation
CERN LS2 (to be installed) |  | 594
outside CERN (financed) |  | 285
available at CERN |  | 278
Total to be produced |  | 601
production loss [%] | 7 | 42.07
Total with production loss (financed) |  | 643.07
Ordering proposal included 7 % loss (05.09.2014)
order contract (special production loss not included, item by item definition) |  | 643.07
option for xxx more |  | 200
option for xxx more |  | 300