## All rack
| SR 1 | [20 empty] | SR 2 | [21 empty] | SR 3 | [20 empty] | SX 4 | [21 empty] | SR 5 | [20 empty] | SR 6 | [21 empty] | SR 7 | [20 empty] | SR 7 | [21 empty] | SR 8
| Rack Beam Loss BY02 | [20 empty] | Rack Beam Loss BY02 | [21 empty] | Rack Beam Loss BY02 | [20 empty] | Rack Beam Loss BY02 | [21 empty] | Rack Beam Loss BY02 | [20 empty] | Rack Beam Loss BY02 | [21 empty] | Rack Beam Loss BY01 | [20 empty] | Rack Beam Loss BY02 | [21 empty] | Rack Beam Loss BY02
45 | OPTICAL CABLE STORAGE | [20 empty] | OPTICAL CABLE STORAGE | [20 empty] | 45 | OPTICAL CABLE STORAGE | [20 empty] | OPTICAL CABLE STORAGE | [20 empty] | 45 | OPTICAL CABLE STORAGE | [20 empty] | OPTICAL CABLE STORAGE | [20 empty] | 45 | OPTICAL CABLE STORAGE | [20 empty] | OPTICAL CABLE STORAGE | [20 empty] | 45 | OPTICAL CABLE STORAGE | [21 empty] | 1
44 | OPTICAL CABLE SUPPORT | [20 empty] | OPTICAL CABLE SUPPORT | [20 empty] | 44 | OPTICAL CABLE SUPPORT | [20 empty] | OPTICAL CABLE SUPPORT | [20 empty] | 44 | OPTICAL CABLE SUPPORT | [20 empty] | OPTICAL CABLE SUPPORT | [20 empty] | 44 | OPTICAL CABLE SUPPORT | [20 empty] | OPTICAL CABLE SUPPORT | [20 empty] | 44 | OPTICAL CABLE SUPPORT | [22 empty] | CPU
43 | 1 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | BLECS | 1 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | BLECS | 43 | 1 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | BLECS | 1 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | BLECS | 43 | 1 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | BLECS | 1 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 |  |  | BLECS | 43 | 4 |  |  | 1 | 2 | [6 empty] | BOBR | 9 | 10 | [6 empty] | BLECS | 1 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | BLECS | 43 | 1 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | BLECS |  | C
42 |  |  |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S | [6 empty] | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  | 42 |  |  |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S | [6 empty] | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  | 42 |  |  |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S | [6 empty] | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  | 42 |  |  |  | 1 | [20 empty] | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  | 42 |  |  |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  |  | P
41 | C |  |  | 1: 2; 3: A; 4: r; 5: c |  |  | A | r | c | [5 empty] | C |  |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | 41 | C |  |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | C |  |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | 41 | C |  |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | C |  |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | 41 | C |  |  | 2 |  | D | S |  | S | S |  |  |  |  | D | S |  | S | S |  |  | C |  |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | 41 | C |  |  | 2 |  | A | r | c | [5 empty] | A | r | c | [6 empty] | U | 25
40 | P |  |  | 1: 3 | [10 empty] | P |  |  | 3 | [17 empty] | 40 | P |  |  | 3 | [17 empty] | P |  |  | 3 | [17 empty] | 40 | P |  |  | 3 | [17 empty] | P |  |  | 3 | [17 empty] | 40 | P |  |  | 3 |  | L | e | f | t | [5 empty] | R | I | g | h | t |  |  | P |  |  | 3 | [17 empty] | 40 | P |  |  | 3
39 | U |  |  | 4 |  | L | e | f | t |  |  |  |  | L | e | f | t |  |  |  |  | U |  |  | 4 |  | L | e | f | t |  |  |  |  | L | e | f | t |  |  |  |  | 39 | U |  |  | 4 |  | L | e | f | t |  |  |  |  | L | e | f | t |  |  |  |  | U |  |  | 4 |  | L | e | f | t |  |  |  |  | L | e | f | t |  |  |  |  | 39 | U |  |  | 4 |  | L | e | f | t |  |  |  |  | L | e | f | t |  |  |  |  | U |  |  | 4 |  | L | e | f | t |  |  |  |  | L | e | f | t |  |  |  |  | 39 | U |  |  | 4 | [17 empty] | U |  |  | 4 |  | L | e | f | t |  |  |  |  | L | e | f | t |  |  |  |  | 39 | U |  |  | 4 |  | L | e | f | t |  |  |  |  | L | e | f | t
38 |  |  | SN: | 093 | 094 | 318 | 096 | 097 | 098 | 099 | 100 | 063 | 101 | 102 | 103 | 104 | 105 | 106 | 107 |  |  |  |  | SN: | 260 | 261 | 262 | 263 | 264 | 265 | 266 | 267 | 140 | 268 | 269 | 270 | 271 | 272 | 273 | 274 |  | 012 | 38 |  |  | SN: | 318 | 319 | 320 | 321 | 322 | 323 | 324 | 325 | 146 | 326 | 327 | 328 | 329 | 330 | 331 | 332 |  | 015 |  |  | SN: | 000 | 001 | 002 | 003 | 004 | 005 | 006 | 007 | 043 | 008 | 009 | 010 | 011 | 012 | 013 | 014 |  | 022 | 38 |  |  | SN: | 216 | 217 | 218 | 219 | 220 | 221 | 222 | 223 | 047 | 224 | 225 | 319 | 227 | 228 | 229 | 230 |  | 026 |  |  | SN: | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 66 | 190 | 191 | 192 | 193 | 194 | 195 |  |  |  | 38 |  |  | SN: | 320 | 321 | [6 empty] | 69 | 322 | 323 | [6 empty] | 018 |  |  | SN: | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 110 | 142 | 143 | 144 | 145 | 146 | 147 | 148 |  | 025 | 38 |  |  | SN: | 049 | 050 | 051 | 052 | 053 | 054 | 055 | 056 | 009 | 057 | 058 | 059 | 060 | 061 | 062 | 063 |  | 006 |  | B O B R
37 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 37 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 37 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 37 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 37 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 |  |  | BOBR
36 | 1: CFVM-SR1-BLML; 096 7: Fan VME; 104 16: SN: 71300130 | CFVM-SR2-BLML | [5 empty] | Fan VME | [8 empty] | SN: 71300217 | [5 empty] | 36 | CFVM-SR3-BLML | [5 empty] | Fan VME | [8 empty] | SN: 71300209 | [5 empty] | CFVM-SX4-BLML | [5 empty] | Fan VME | [8 empty] | SN: 71300141 | [5 empty] | 36 | CFVM-SR5-BLML | [5 empty] | Fan VME | [8 empty] | SN: 71300149 | [5 empty] | CFVM-SR6-BLML | [5 empty] | Fan VME | [8 empty] | SN: 71300131 | [5 empty] | 36 | CFVM-SR7-BLME | [5 empty] | Fan VME | [8 empty] | SN: 71300331 | [5 empty] | CFVM-SR7-BLML | [5 empty] | Fan VME | [8 empty] | SN: 71300158 | [5 empty] | 36 | CFVM-SR8-BLML | [5 empty] | Fan VME | [8 empty] | SN: 71300069
35 | 1: CABLE SUPPORT & AIR FLOW | CABLE SUPPORT & AIR FLOW | [20 empty] | 35 | CABLE SUPPORT & AIR FLOW | [20 empty] | CABLE SUPPORT & AIR FLOW | [20 empty] | 35 | CABLE SUPPORT & AIR FLOW | [20 empty] | CABLE SUPPORT & AIR FLOW | [20 empty] | 35 | CABLE SUPPORT & AIR FLOW | [20 empty] | CABLE SUPPORT & AIR FLOW | [20 empty] | 35 | CABLE SUPPORT & AIR FLOW | [22 empty] | 25
34 | 1: OPTICAL CABLE STORAGE | OPTICAL CABLE STORAGE | [20 empty] | 34 | OPTICAL CABLE STORAGE | [20 empty] | OPTICAL CABLE STORAGE | [20 empty] | 34 | OPTICAL CABLE STORAGE | [20 empty] | OPTICAL CABLE STORAGE | [20 empty] | 34 | [21 empty] | OPTICAL CABLE STORAGE | [20 empty] | 34 | OPTICAL CABLE STORAGE
33 | 1: AIR DEFLECTOR | AIR DEFLECTOR | [20 empty] | 33 | AIR DEFLECTOR | [20 empty] | AIR DEFLECTOR | [20 empty] | 33 | AIR DEFLECTOR | [20 empty] | AIR DEFLECTOR | [20 empty] | 33 | [21 empty] | AIR DEFLECTOR | [20 empty] | 33 | AIR DEFLECTOR
32 | 1: OPTICAL CABLE SUPPORT | OPTICAL CABLE SUPPORT | [20 empty] | 32 | OPTICAL CABLE SUPPORT | [20 empty] | OPTICAL CABLE SUPPORT | [20 empty] | 32 | OPTICAL CABLE SUPPORT | [20 empty] | OPTICAL CABLE SUPPORT | [20 empty] | 32 | [21 empty] | OPTICAL CABLE SUPPORT | [20 empty] | 32 | OPTICAL CABLE SUPPORT
31 | 2 |  |  | 1 | 2 | 3 | 4 | 5 | 6 |  |  | BOBR | 9 | 10 | 11 | 12 | 13 | 14 |  |  | BLECS | 2 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | BLECS | 31 | 2 |  |  | 1 | 2 | 3 | 4 | 5 |  |  |  | BOBR | 9 | 10 | 11 | 12 | 13 |  |  |  | BLECS | 2 |  |  | 1 | [7 empty] | BOBR | 9 | [7 empty] | BLECS | 31 | 2 |  |  | 1 | 2 | 3 | 4 | 5 | 6 |  |  | BOBR | 9 | 10 | 11 | 12 | 13 | 14 |  |  | BLECS | 2 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | BLECS | 31 | [21 empty] | 2 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | BLECS | 31 | 2 |  |  | 1 | 2 | 3 | 4 | 5 | 6 |  |  | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | BLECS |  | 1
30 |  |  |  | 1 | [20 empty] | 1 | [17 empty] | 30 |  |  |  | 1 | [20 empty] | 1 | [17 empty] | 30 |  |  |  | 1 | [38 empty] | 30 | [24 empty] | 1 | [17 empty] | 30 |  |  |  | 1 | [18 empty] | 1 | BLETC | bar: 1 to 8
29 | C |  |  | 2 |  | D | S |  | S | S |  |  |  |  | D | S |  | S | S |  |  | C |  |  | 2 |  | D | S |  | S | S |  |  |  |  | D | S |  | S | S |  |  | 29 | C |  |  | 2 |  | D | S |  | S | S |  |  |  |  | D | S |  | S | S |  |  | C |  |  | 2 |  | D | S |  | S | S |  |  |  |  | D | S |  | S | S |  |  | 29 | C |  |  | 2 |  | D | S |  | S | S |  |  |  |  | D | S |  | S | S |  |  | C |  |  | 1: 2; 3: D; 4: S; 6: S |  |  |  | D | S |  | S | S |  |  | 29 | [21 empty] | C |  |  | 2 |  | D | S |  | S | S |  |  |  |  | D | S |  | S | S |  |  | 29 | C |  |  | 2 |  | D | S |  | S | S |  |  |  |  | D | S |  | S | S |  |  |  | 2
28 | P |  |  | 3 |  | L | e | f | t | [5 empty] | R | I | g | h | t |  |  | P |  |  | 3 |  | L | e | f | t | [5 empty] | R | I | g | h | t |  |  | 28 | P |  |  | 3 |  | L | e | f | t | [5 empty] | R | I | g | h | t |  |  | P |  |  | 3 |  | L | e | f | t | [5 empty] | R | I | g | h | t |  |  | 28 | P |  |  | 3 |  | L | e | f | t | [5 empty] | R | I | g | h | t |  |  | P |  |  | 3 |  | L | e | f | t | [5 empty] | R | I | g | h | t |  |  | 28 | [21 empty] | P |  |  | 3 |  | L | e | f | t | [5 empty] | R | I | g | h | t |  |  | 28 | P |  |  | 3 |  | L | e | f | t | [5 empty] | R | I | g | h | t |  |  |  | 3 | 336
27 | U |  |  | 4 | [17 empty] | U |  |  | 4 | [17 empty] | 27 | U |  |  | 4 | [17 empty] | U |  |  | 4 | [17 empty] | 27 | U |  |  | 4 | [17 empty] | U |  |  | 1: 4 | [10 empty] | 27 | [21 empty] | U |  |  | 4 | [17 empty] | 27 | U |  |  | 4 | [18 empty] | 4
26 |  |  | SN: | 108 | 109 | 110 | 111 | 112 | xxx |  |  | 064 | 113 | 114 | 115 | 252 | 117 | 253 | [5 empty] | SN: | 275 | 276 | 277 | 278 | 279 | 280 | 281 |  | 144 | 282 | 283 | 284 | 285 | 286 | 287 | 288 |  | 013 | 26 |  |  | SN: | 333 | 334 | 335 | 336 | xxx |  |  |  | 147 | 337 | 338 | 339 | 340 | xxx |  |  |  | 016 |  |  | SN: | 015 | [7 empty] | 044 | 016 | [7 empty] | 023 | 26 |  |  | SN: | 306 | 307 | 308 | 309 | 310 | 311 |  |  | 048 | 312 | 313 | 314 | 315 | 316 | 317 |  |  | 027 |  |  | SN: | 196 | 197 | 198 | 199 | 200 | 201 | 254 | 255 | 67 | 231 | 232 | 233 | 234 | 235 | 236 | 256 | 257 |  | 26 | [23 empty] | SN: | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 111 | 157 | 158 | 159 | 160 | 161 | 162 | 163 | 164 | 020 | 26 |  |  | SN: | 064 | 065 | 066 | 067 | 068 | 069 |  |  | 010 | 070 | 071 | 072 | 073 | 074 | 075 | 076 |  | 007
25 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 25 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 25 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 25 | [21 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 25 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
24 | 1: CFVM-SR1-BLMC; 7: Fan VME; 16: SN: 71300160 | CFVM-SR2-BLMC | [5 empty] | Fan VME | [8 empty] | SN: 71300216 | [5 empty] | 24 | CFVM-SR3-BLMC | [5 empty] | Fan VME | [8 empty] | SN: 71300220 | [5 empty] | CFVM-SX4-BLMC | [5 empty] | Fan VME | [8 empty] | SN: 71300164 | [5 empty] | 24 | CFVM-SR5-BLMC | [5 empty] | Fan VME | [8 empty] | SN: 71300132 | [5 empty] | CFVM-SR6-BLMC | [5 empty] | Fan VME | [8 empty] | SN: 71300138 | [5 empty] | 24 | [21 empty] | CFVM-SR7-BLMC | [5 empty] | Fan VME | [8 empty] | SN: 71300153 | [5 empty] | 24 | CFVM-SR8-BLMC | [5 empty] | Fan VME | [8 empty] | SN: 71300070
23 | 1: CABLE SUPPORT & AIR FLOW | CABLE SUPPORT & AIR FLOW | [20 empty] | 23 | CABLE SUPPORT & AIR FLOW | [20 empty] | CABLE SUPPORT & AIR FLOW | [20 empty] | 23 | CABLE SUPPORT & AIR FLOW | [20 empty] | CABLE SUPPORT & AIR FLOW | [20 empty] | 23 | [21 empty] | CABLE SUPPORT & AIR FLOW | [20 empty] | 23 | CABLE SUPPORT & AIR FLOW
22 | 1: OPTICAL CABLE STORAGE | OPTICAL CABLE STORAGE | [20 empty] | 22 | OPTICAL CABLE STORAGE | [20 empty] | OPTICAL CABLE STORAGE | [20 empty] | 22 | OPTICAL CABLE STORAGE | [20 empty] | OPTICAL CABLE STORAGE | [20 empty] | 22 | [21 empty] | OPTICAL CABLE STORAGE | [20 empty] | 22 | OPTICAL CABLE STORAGE
21 | 1: AIR DEFLECTOR | AIR DEFLECTOR | [20 empty] | 21 | AIR DEFLECTOR | [20 empty] | AIR DEFLECTOR | [20 empty] | 21 | AIR DEFLECTOR | [20 empty] | AIR DEFLECTOR | [20 empty] | 21 | [21 empty] | AIR DEFLECTOR | [20 empty] | 21 | AIR DEFLECTOR | [21 empty] | B L E C S
20 | 1: OPTICAL CABLE SUPPORT | OPTICAL CABLE SUPPORT | [20 empty] | 20 | OPTICAL CABLE SUPPORT | [20 empty] | OPTICAL CABLE SUPPORT | [20 empty] | 20 | OPTICAL CABLE SUPPORT | [20 empty] | OPTICAL CABLE SUPPORT | [20 empty] | 20 | [21 empty] | OPTICAL CABLE SUPPORT | [20 empty] | 20 | OPTICAL CABLE SUPPORT | [22 empty] | BLECS
19 | 3 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | BLECS | 3 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | BLECS | 19 | 3 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | BLECS | 3 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | BLECS | 19 | 3 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | BLECS | 3 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | BLECS | 19 | [21 empty] | 3 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | BLECS | 19 | 3 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | BLECS
18 |  | C |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  |  | C |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  | 18 |  | C |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  |  | C |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  | 18 |  | C |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  |  | C |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  | 18 | [22 empty] | C |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S |  |  |  | 18 |  | C |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S | [5 empty] | 25
17 | C | I |  | 1: 2; 3: A; 4: r; 5: c |  |  | A | r | c | [5 empty] | C | I |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | 17 | C | I |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | C | I |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | 17 | C | I |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | C | I |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | 17 | [21 empty] | C | I |  | 2 |  | A | r | c | [5 empty] | A | r | c | [5 empty] | 17 | C | I |  | 2 |  | A | r | c | [5 empty] | A | r | c
16 | P | S |  | 1: 3 | [10 empty] | P | S |  | 3 | [17 empty] | 16 | P | S |  | 3 | [17 empty] | P | S |  | 3 | [17 empty] | 16 | P | S |  | 3 | [17 empty] | P | S |  | 3 | [17 empty] | 16 | [21 empty] | P | S |  | 3 | [17 empty] | 16 | P | S |  | 3
15 | U | V |  | 4 |  | R | i | g | h | t |  |  |  | R | i | g | h | t |  |  |  | U | V |  | 4 |  | R | i | g | h | t |  |  |  | R | i | g | h | t |  |  |  | 15 | U | V |  | 4 |  | R | i | g | h | t |  |  |  | R | i | g | h | t |  |  |  | U | V |  | 4 |  | R | i | g | h | t |  |  |  | R | i | g | h | t |  |  |  | 15 | U | V |  | 4 |  | R | i | g | h | t |  |  |  | R | i | g | h | t |  |  |  | U | V |  | 4 |  | R | i | g | h | t |  |  |  | R | i | g | h | t |  |  |  | 15 | [21 empty] | U | V |  | 4 |  | R | i | g | h | t |  |  |  | R | i | g | h | t |  |  |  | 15 | U | V |  | 4 |  | R | i | g | h | t |  |  |  | R | i | g | h | t
14 |  | 0 | SN: | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 065 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 |  |  | 0 | SN: | 289 | 290 | 291 | 292 | 305 | 294 | 295 | 296 | 145 | 297 | 298 | 299 | 300 | 301 | 302 | 303 | 304 | 014 | 14 |  | 017 | SN: | 341 | 342 | 343 | 344 | 345 | 346 | 347 | 348 | 148 | 349 | 350 | 351 | 352 | 353 | 354 | 355 | 356 | 017 |  | 018 | SN: | 018 | 019 | 020 | 021 | 022 | 023 | 024 | 025 | 045 | 026 | 027 | 028 | 029 | 030 | 031 | 032 |  | 024 | 14 |  | 021 | SN: | 033 | 034 | 035 | 036 | 037 | 038 | 039 | 040 | 049 | 041 | 042 | 043 | 044 | 045 | 046 | 047 | 048 | 028 |  | 0 | SN: | 237 | 238 | 239 | 240 | 241 | 242 | 243 | 244 | 68 | 245 | 246 | 247 | 248 | 249 | 250 | 251 |  |  | 14 | [22 empty] | 020 | SN: | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 112 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180 | 021 | 14 |  | 0 | SN: | 077 | 078 | 079 | 080 | 081 | 082 | 083 | 084 | 011 | 085 | 086 | 087 | 088 | 089 | 090 | 091 | 092 | 011
13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 13 | [21 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 |  | C | CISV
12 | 1: CFVM-SR1-BLMR; 7: Fan VME; 16: SN: 71300147 | CFVM-SR2-BLMR | [5 empty] | Fan VME | [8 empty] | SN: 71300223 | [5 empty] | 12 | CFVM-SR3-BLMR | [5 empty] | Fan VME | [8 empty] | SN: 71300213 | [5 empty] | CFVM-SX4-BLMR | [5 empty] | Fan VME | [8 empty] | SN: 71300145 | [5 empty] | 12 | CFVM-SR5-BLMR | [5 empty] | Fan VME | [8 empty] | SN: 71300143 | [5 empty] | CFVM-SR6-BLMR | [5 empty] | Fan VME | [8 empty] | SN: 71300136 | [5 empty] | 12 | [21 empty] | CFVM-SR7-BLMR | [5 empty] | Fan VME | [8 empty] | SN: 71300156 | [5 empty] | 12 | CFVM-SR8-BLMR | [5 empty] | Fan VME | [8 empty] | SN: 71300155 | [6 empty] | I
11 | 1: AIR DEFLECTOR + CABLE SUPPORT & AIR FLOW | AIR DEFLECTOR + CABLE SUPPORT & AIR FLOW | [20 empty] | 11 | AIR DEFLECTOR + CABLE SUPPORT & AIR FLOW | [20 empty] | AIR DEFLECTOR + CABLE SUPPORT & AIR FLOW | [20 empty] | 11 | AIR DEFLECTOR + CABLE SUPPORT & AIR FLOW | [20 empty] | AIR DEFLECTOR + CABLE SUPPORT & AIR FLOW | [20 empty] | 11 | [21 empty] | AIR DEFLECTOR + CABLE SUPPORT & AIR FLOW | [20 empty] | 11 | AIR DEFLECTOR + CABLE SUPPORT & AIR FLOW | [21 empty] | S | 8
10 | 1: HV Power Supply | HV Power Supply | [20 empty] | 10 | HV Power Supply | [20 empty] | HV Power Supply | [20 empty] | 10 | HV Power Supply | [20 empty] | HV Power Supply | [20 empty] | 10 | [21 empty] | HV Power Supply | [20 empty] | 10 | HV Power Supply | [21 empty] | V
9 | [42 empty] | 9 | [42 empty] | 9 | [42 empty] | 9 | [42 empty] | 9
8 | [42 empty] | 8 | [42 empty] | 8 | [42 empty] | 8 | [42 empty] | 8
7 | 1: F A N | F A N | [20 empty] | 7 | F A N | [20 empty] | F A N | [20 empty] | 7 | F A N | [20 empty] | F A N | [20 empty] | 7 | [21 empty] | F A N | [20 empty] | 7 | F A N
6 | 1: AIR DEFLECTOR | AIR DEFLECTOR | [20 empty] | 6 | AIR DEFLECTOR | [20 empty] | AIR DEFLECTOR | [20 empty] | 6 | AIR DEFLECTOR | [20 empty] | AIR DEFLECTOR | [20 empty] | 6 | [21 empty] | AIR DEFLECTOR | [20 empty] | 6 | AIR DEFLECTOR | [21 empty] | J | JUMPER
5 | 1: BIC "NOT-MASKABLE" | BIC "NOT-MASKABLE" | [20 empty] | 5 | BIC "NOT-MASKABLE" | [20 empty] | BIC "NOT-MASKABLE" | [20 empty] | 5 | BIC "NOT-MASKABLE" | [20 empty] | BIC "NOT-MASKABLE" | [20 empty] | 5 | [21 empty] | BIC "NOT-MASKABLE" | [20 empty] | 5 | BIC "NOT-MASKABLE" | [21 empty] | U
4 | 1: HCCIBUS-ID000191 | HCCIBUS-ID000339 | [20 empty] | 4 | HCCIBUS-ID000286 | [20 empty] | HCCIBUS-ID000238 | [20 empty] | 4 | HCCIBUS-ID000237 | [20 empty] | HCCIBUS-ID000224 | [20 empty] | 4 | [21 empty] | HCCIBUS-ID000335 | [20 empty] | 4 | HCCIBUS-ID000128 | [21 empty] | M | 64
3 | 1: BIC "MASKABLE" | BIC "MASKABLE" | [20 empty] | 3 | BIC "MASKABLE" | [20 empty] | BIC "MASKABLE" | [20 empty] | 3 | BIC "MASKABLE" | [20 empty] | BIC "MASKABLE" | [20 empty] | 3 | [21 empty] | BIC "MASKABLE" | [20 empty] | 3 | BIC "MASKABLE" | [21 empty] | P
2 | 1: HCCIBUS-ID000287 | HCCIBUS-ID000330 | [20 empty] | 2 | HCCIBUS-ID000302 | [20 empty] | HCCIBUS-ID000122 | [20 empty] | 2 | HCCIBUS-ID000288 | [20 empty] | HCCIBUS-ID000305 | [20 empty] | 2 | [21 empty] | HCCIBUS-ID000337 | [20 empty] | 2 | HCCIBUS-ID000172
1 | 1: Empty | Empty | [20 empty] | 1 | Empty | [20 empty] | Empty | [20 empty] | 1 | Empty | [20 empty] | Empty | [20 empty] | 1 | [21 empty] | Empty | [20 empty] | 1 | Empty
| 1: Chassis installed | Chassis installed | [21 empty] | Chassis installed | [20 empty] | Chassis installed | [21 empty] | Chassis installed | [20 empty] | Chassis installed | [21 empty] | Chassis installed | [20 empty] | Chassis installed | [21 empty] | Chassis installed
| 1: Left SN:; 7: 71720028 | Left SN: | [5 empty] | 71720081 | [15 empty] | Left SN: | [5 empty] | 71720067 | [14 empty] | Left SN: | [5 empty] | 71720039 | [15 empty] | Left SN: | [5 empty] | 71720047 | [14 empty] | Left SN: | [5 empty] | 71720029 | [15 empty] | Extra SN: | [5 empty] | 71720036 | [14 empty] | Left SN: | [5 empty] | 71720056 | [15 empty] | Left SN: | [5 empty] | 71720015
| 1: Centre SN:; 7: 71720058 | Centre SN: | [5 empty] | 71720074 | [15 empty] | Centre SN: | [5 empty] | 71720078 | [14 empty] | Centre SN: | [5 empty] | 71720062 | [15 empty] | Centre SN: | [5 empty] | 71720041 | [14 empty] | Centre SN: | [5 empty] | 71720034 | [36 empty] | Centre SN: | [5 empty] | 71720051 | [15 empty] | Centre SN: | [5 empty] | 71720003
| 1: Right SN:; 7: 71720045 | Right SN: | [5 empty] | 71720075 | [15 empty] | Right SN: | [5 empty] | 71720077 | [14 empty] | Right SN: | [5 empty] | 71720043 | [15 empty] | Right SN: | [5 empty] | 71720030 | [14 empty] | Right SN: | [5 empty] | 71720057 | [36 empty] | Right SN: | [5 empty] | 71720054 | [15 empty] | Right SN: | [5 empty] | 71720014
| 1: CPU installed | CPU installed | [21 empty] | CPU installed | [20 empty] | CPU installed | [21 empty] | CPU installed | [20 empty] | CPU installed | [21 empty] | CPU installed | [20 empty] | CPU installed | [21 empty] | CPU installed
| 1: Left SN:; 7: CH42501571 | Left SN: | [5 empty] | CH62402721 | [15 empty] | Left SN: | [5 empty] | CH62402724 | [14 empty] | Left SN: | [5 empty] | CH51702097 | [15 empty] | Left SN: | [5 empty] | CH51702093 | [14 empty] | Left SN: | [5 empty] | CH51902131 | [15 empty] | Extra SN: | [5 empty] | CH62402705 | [14 empty] | Left SN: | [5 empty] | CH42501564 | [15 empty] | Left SN: | [5 empty] | CH42501584
| 1: Centre SN:; 7: CH42501597 | Centre SN: | [5 empty] | CH62402722 | [15 empty] | Centre SN: | [5 empty] | CH62402717 | [14 empty] | Centre SN: | [5 empty] | CH51702096 | [15 empty] | Centre SN: | [5 empty] | CH51702099 | [14 empty] | Centre SN: | [5 empty] | CH51802121 | [36 empty] | Centre SN: | [5 empty] | CH42501568 | [15 empty] | Centre SN: | [5 empty] | CH42501585
| 1: Right SN:; 7: CH42501577 | Right SN: | [5 empty] | CH62402740 | [15 empty] | Right SN: | [5 empty] | CH62402718 | [14 empty] | Right SN: | [5 empty] | CH51702098 | [15 empty] | Right SN: | [5 empty] | CH51702085 | [14 empty] | Right SN: | [5 empty] | CH51802122 | [36 empty] | Right SN: | [5 empty] | CH42501569 | [15 empty] | Right SN: | [5 empty] | CH42601611
| 1: Power Supply installed | Power Supply installed | [21 empty] | Power Supply installed | [20 empty] | Power Supply installed | [21 empty] | Power Supply installed | [20 empty] | Power Supply installed | [21 empty] | Power Supply installed | [20 empty] | Power Supply installed | [21 empty] | Power Supply installed
| 1: Left SN:; 7: 71470033 | Left SN: | [5 empty] | 71470082 | [15 empty] | Left SN: | [5 empty] | 71470079 | [14 empty] | Left SN: | [5 empty] | 71470037 | [15 empty] | Left SN: | [5 empty] | 71470048 | [14 empty] | Left SN: | [5 empty] | 71470043 | [15 empty] | Extra SN: | [5 empty] | 71470042 | [14 empty] | Left SN: | [5 empty] | 71470057 | [15 empty] | Left SN: | [5 empty] | 71470017
| 1: Centre SN:; 7: 71470040 | Centre SN: | [5 empty] | 71470109 | [15 empty] | Centre SN: | [5 empty] | 71470078 | [14 empty] | Centre SN: | [5 empty] | 71470063 | [15 empty] | Centre SN: | [5 empty] | 71470035 | [14 empty] | Centre SN: | [5 empty] | 71470101 | [36 empty] | Centre SN: | [5 empty] | 71470052 | [15 empty] | Centre SN: | [5 empty] | 71470016
| 1: Right SN:; 7: 71470059 | Right SN: | [5 empty] | 71470107 | [15 empty] | Right SN: | [5 empty] | 71470068 | [14 empty] | Right SN: | [5 empty] | 71470041 | [15 empty] | Right SN: | [5 empty] | 71470031 | [14 empty] | Right SN: | [5 empty] | 71470087 | [36 empty] | Right SN: | [5 empty] | 71470055 | [15 empty] | Right SN: | [5 empty] | 71470075 | [14 empty] | BLETC
BLETC | [42 empty] | BLETC | [42 empty] | BLETC | [42 empty] | BLETC | [42 empty] | BLETC | [21 empty] | Total | Installation |  |  | Total | Production
Foreseen | 1: 43 | 45 | [20 empty] | Foreseen | 41 | [20 empty] | 32 | [20 empty] | Foreseen | 43 | [20 empty] | 45 | [20 empty] | Foreseen | 4 | [20 empty] | 47 | [20 empty] | Foreseen | 44 | [20 empty] | Foreseen |  | 344 |  | Foreseen | 365
Missing | [21 empty] | 0 | [20 empty] | Missing | 2 | [20 empty] | 0 | [20 empty] | Missing | 0 | [20 empty] | 0 | [20 empty] | Missing | 0 | [20 empty] | 0 | [20 empty] | Missing | 0 | [20 empty] | Installed |  | 341 | 99.13% | Availiable | 345 | 94.52% | bar: 1 to 21
[194 empty] | Missing |  | 3 | 0.8721% | Missing | 20 | 5.479%
Jumpers | [42 empty] | Jumpers | [42 empty] | Jumpers | [42 empty] | Jumpers | [42 empty] | Jumpers | [21 empty] | Jumpers
Foreseen | 1: 5 | 3 | [20 empty] | Foreseen | 7 | [20 empty] | 16 | [20 empty] | Foreseen | 5 | [20 empty] | 3 | [20 empty] | Foreseen | 12 | [20 empty] | 1 | [20 empty] | Foreseen | 4 | [20 empty] | Foreseen |  | 56
Missing | 1: 0 | 0 | [20 empty] | Missing | 0 | [20 empty] | 0 | [20 empty] | Missing | 0 | [20 empty] | 0 | [20 empty] | Missing | 0 | [20 empty] | 0 | [20 empty] | Missing | 0 | [20 empty] | Missing |  | 0 | 0%
[194 empty] | Installed |  | 56 | 100%
General | 1: COMPLETE | COMPLETE | [20 empty] | General | COMPLETE (for BLM) | [20 empty] | COMPLETE (for BLM) | [20 empty] | General | COMPLETE | [20 empty] | COMPLETE | [20 empty] | General | COMPLETE (for BLM) | [20 empty] | COMPLETE (for BLM) | [20 empty] | General | COMPLETE
MODIF | 1: Done | Done | [20 empty] | MODIF | Done | [20 empty] | Done | [20 empty] | MODIF | Done | [20 empty] | NEEDED (SR6.C) | [20 empty] | MODIF | Done | [20 empty] | Done | [20 empty] | MODIF | CHECK
BLETC | 1: 1 missing | Done | [20 empty] | BLETC | Done | [20 empty] | Done | [20 empty] | BLETC | Done | [20 empty] | Done | [20 empty] | BLETC | Done | [20 empty] | Done | [20 empty] | BLETC | Done
BLECS | 1: Missing | Done | [20 empty] | BLECS | Done | [20 empty] | Done | [20 empty] | BLECS | Done | [20 empty] | TEMP | [20 empty] | BLECS | Missing | [20 empty] | Done | [20 empty] | BLECS | Done
BOBR | 1: Done | Done | [20 empty] | BOBR | Done | [20 empty] | Done | [20 empty] | BOBR | Done | [20 empty] | Done | [20 empty] | BOBR | Done | [20 empty] | Done | [20 empty] | BOBR | Done
Crates | 1: Done | Done | [20 empty] | Crates | Done | [20 empty] | Done | [20 empty] | Crates | Done | [20 empty] | Done | [20 empty] | Crates | Done | [20 empty] | Done | [20 empty] | Crates | Done
CPU | 1: Done | Done | [20 empty] | CPU | Done | [20 empty] | Done | [20 empty] | CPU | Done | [20 empty] | Done | [20 empty] | CPU | Done | [20 empty] | Done | [20 empty] | CPU | Done
PS | 1: Done | Done | [20 empty] | PS | Done | [20 empty] | Done | [20 empty] | PS | Done | [20 empty] | Done | [20 empty] | PS | Done | [20 empty] | Done | [20 empty] | PS | Done
Fibres | 1: Done | Done | [20 empty] | Fibres | Done | [20 empty] | Done | [20 empty] | Fibres | Done | [20 empty] | Done | [20 empty] | Fibres | Done | [20 empty] | Done | [20 empty] | Fibres | Done
Jumpers | 1: Done | Done | [20 empty] | Jumpers | Done | [20 empty] | Done | [20 empty] | Jumpers | Done | [20 empty] | Done | [20 empty] | Jumpers | Done | [20 empty] | Done | [20 empty] | Jumpers | Done
Serials | 1: Done | Done | [20 empty] | Serials | Done | [20 empty] | Done | [20 empty] | Serials | Done | [20 empty] | Done | [20 empty] | Serials | Done | [20 empty] | Done | [20 empty] | Serials | Done
CIBUS | 1: Done | Done | [20 empty] | CIBUS | Done | [20 empty] | Done | [20 empty] | CIBUS | Done | [20 empty] | Done | [20 empty] | CIBUS | - | [20 empty] | Done | [20 empty] | CIBUS | Done
Other Comments | [42 empty] | Other Comments | [42 empty] | Other Comments | [42 empty] | Other Comments | [42 empty] | Other Comments
| 1: Modified Additional Optical Cable Storage | Modified Additional Optical Cable Storage | [21 empty] | * Change possition of ethernet box | [20 empty] | Normal Additional Optical Cable Storage | [21 empty] | * Change possition of ethernet box | [20 empty] | Normal Additional Optical Cable Storage | [21 empty] | Normal Additional Optical Cable Storage | [20 empty] | Normal Additional Optical Cable Storage | [21 empty] | Power supply Replaced
| 1: * Card "BLETC 116" missing (no sticker) | * Ethernet connections have been corrected | [21 empty] | * added CISV card | [20 empty] | * BST missing | [21 empty] | * Change position of crates | [20 empty] | * Cards updated since last version | [21 empty] | * Crate/CPU not available | [42 empty] | Modified Additional Optical Cable Storage
[22 empty] | but some problem remain. Will notify netops. | [42 empty] | * Remove 3rd card from centre | [42 empty] | * Changed Fan-tray new serial | [64 empty] | * BIS commissioning (24/04/2008)
[48 empty] | New cards | [59 empty] | *new-MAC: 0050-C22D-C0F7
| 5: New cards |  |  |  |  | New cards | [42 empty] | Removed cards | [103 empty] | * Check for modified Backplane
[44 empty] | Temporary cards | [42 empty] | Problems: | [24 empty] | New cards
[22 empty] | * Return BLETC 270 | [21 empty] | BLETC 394 | [20 empty] | * add optical cable supports x 3 | [21 empty] | DAB NO 226 vme acc led problem
| 1: Error BLETCs | [22 empty] | BLETC 395 | [63 empty] | * Modification needed in Backplane SR6.C | [64 empty] | BLETC 065 -> 293
| 2: no transmission | BLETC 259 | [21 empty] | BLETC 396 | [42 empty] | Fibres:
| 1: BLETC 095; 8: BLETC 318 | [22 empty] | BLETC 397 | [42 empty] | Missing SR5.R
| 1: BLETC 099 | [22 empty] | BLETC 398
| 1: BLETC 111 | [22 empty] | BLETC 399
BLETC 108
BLETC 400
o short circuit
BLETC 357
Missing cards (new):
Slot 8
| 1: Material | [22 empty] | Slot 17
Add Optical cable support x 3
Reconfiguration of minor units

## DAB_configuration
VME-DAB configuration
|  |  |  | Rack Beam Loss BY02 | [20 empty] | Rack optical fibers BY05
45 | OPTICAL CABLE STORAGE | [22 empty] | 45
44 | OPTICAL CABLE SUPPORT | [22 empty] | 44
43 | 1 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | BLECS | VME 1 |  | 43
42 |  |  |  | 1: 1; 3: DS; 6: S; 7: S |  |  | DS |  |  | S | S | [5 empty] | 42
41 | C |  |  | 1: 2; 3: A; 4: r; 5: c |  |  | A | r | c | [5 empty] | Q4L - Q33L |  | 41
40 | P |  |  | 1: 3 | [10 empty] | DAB 1-16 |  | 40
39 | U |  |  | 4 |  | L | e | f | t |  |  |  |  | L | e | f | t | [6 empty] | 39
38 | [23 empty] | 38
37 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 |  |  | 37
36 | 10: Fan VME |  |  | 36 | Q1- Q3 | Q4- Q11 | Q4- Q11 | Q1- Q3
35 | 1: CABLE SUPPORT & AIR FLOW |  |  | 35 | Left | Left | Right | Right
34 | 1: OPTICAL CABLE STORAGE |  |  | 34
33 | 1: AIR DEFLECTOR |  |  | 33
32 | 1: OPTICAL CABLE SUPPORT |  |  | 32
31 | 2 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | BLECS | VME 2 |  | 31
30 | [23 empty] | 30 | bar: 1 to 8
29 | C |  |  | 2 |  | D | S |  | S | S |  |  |  |  | D | S |  | S | S |  |  | Cell 1 - Cell 11 |  | 29
28 | P |  |  | 3 |  | L | e | f | t | [5 empty] | R | I | g | h | t |  |  | Q1 - Q3 |  | 28
27 | U |  |  | 1: 4 | [10 empty] | Left | DAB 1-8 | 27
26 | [21 empty] | Right | DAB 9-16 | 26
25 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 |  |  | 25
24 | 10: Fan VME |  |  | 24
23 | 1: CABLE SUPPORT & AIR FLOW |  |  | 23
22 | 1: OPTICAL CABLE STORAGE |  |  | 22
21 | 1: AIR DEFLECTOR |  |  | 21
20 | 1: OPTICAL CABLE SUPPORT |  |  | 20 | Q12 - Q33 |  | Q12 - Q34
19 | 3 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | BOBR | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | BLECS | VME 3 |  | 19 | Left |  | Right
18 |  | C |  | 1 |  | D | S |  | S | S |  |  |  | D | S |  | S | S | [5 empty] | 18
17 | C | T |  | 1: 2; 3: A; 4: r; 5: c |  |  | A | r | c | [5 empty] | Q4R - Q34R |  | 17
16 | P | R |  | 1: 3 | [10 empty] | DAB 1-16 |  | 16
15 | U | V |  | 4 |  | R | i | g | h | t |  |  |  | R | i | g | h | t | [5 empty] | 15
14 | [23 empty] | 14
13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 |  |  | 13
12 | 10: Fan VME |  |  | 12
11 | 1: AIR DEFLECTOR + CABLE SUPPORT & AIR FLOW |  |  | 11
10 | [23 empty] | 10
9 | 11: HV Power Supply |  |  | 9
8 | [23 empty] | 8
7 | 1: F A N |  |  | 7
6 | 1: AIR DEFLECTOR |  |  | 6
5 | 11: BIC critical |  |  | 5
4 | [23 empty] | 4
3 | 11: BIC not critical |  |  | 3
2 | [23 empty] | 2
1 | 1: Empty |  |  | 1

## Tunnel instal.
45
44
43
42
41
40
39
38
37
36
35
34
33
32
31
30
29
28
27
26
25
24
23
22
21 | O | P | T | I | C | A | L |  |  | P | A | T | C | H |  | 93.03 | 4.4
20 | O | P | T | I | C | A | L |  |  | P | A | T | C | H |  | 88.6 | 8.83
19 | [15 empty] | 84.17 | 13.26
18 |  | A | I | R |  | D | E | F | L | E | C | T | O | R |  | 79.74 | 17.69
17 | [15 empty] | 75.31 | 22.12
16 |  | B | L | M |  | C | H | A | S | S | I | S |  |  |  | 70.88 | 26.55
15 | [15 empty] | 66.45 | 30.98
14 |  | F | A | N | [11 empty] | 62.02 | 35.41
13 | [15 empty] | 57.59 | 39.84
12 |  | A | I | R |  | D | E | F | L | E | C | T | O | R |  | 53.16 | 44.27
11 | [15 empty] | 48.73 | 48.7
10 |  | B | L | M |  | C | H | A | S | S | I | S |  |  |  | 44.3 | 53.13
9 | [15 empty] | 39.87 | 57.56
8 |  | F | A | N | [11 empty] | 35.44 | 61.99
7 | [15 empty] | 31.01 | 66.42
6 |  | A | I | R |  | D | E | F | L | E | C | T | O | R |  | 26.58 | 70.85
5 | [15 empty] | 22.15 | 75.28
4 |  | B | L | M |  | C | H | A | S | S | I | S |  |  |  | 17.72 | 79.71
3 | [15 empty] | 13.29 | 84.14
2 |  | F | A | N | [11 empty] | 8.86 | 88.57
1 | [15 empty] | 4.43 | 93
50