## Sheet1
LHC SEM monitors sended in EHN1 (H4) fot test
Green label | SEM tested in GIF
Blue label | SEM with shrink tube on signal connection
Yellow label | SEM with high voltage filter (10Mohm, 0,47µF)
Red label | SEM tested at GIF, but founded not good
SEM
SEM tested in GIF, with shrink tube and no filter |  |  | 200
SEM not tested in GIF, with shrink tube and no filter |  |  | 63
SEM not tested in GIF, with shrink tube and with filter |  |  | 63
SEM tested GIF, with shrink tube, no filter but founded not good |  |  | 15
Total SEM to be tested |  |  | 341
SEM tested GIF, with shrink tube, no filter but founded not good
Tested again in the lab
SEM | no HV | with HV
| pA | pA
131 | < 0,1 | < 0,1
25 | < 0,1 | < 0,1
84 | < 0,1 | 8,5
214 | < 0,1 | < 0,1
166 | < 0,1 | < 0,1
145 | < 0,1 | 1
122 | < 0,1 | < 0,1
204 | < 0,1 | < 0,1
106 | < 0,1 | < 0,1
186 | < 0,1 | 2,6
97 | < 0,1 | < 0,1
212 | < 0,1 | 173
149 | < 0,1 | 56
127 | < 0,1 | < 0,1
190 | < 0,1 | 3