## 14
Energy : 60.12 [MeV]
Run time : 49 [sec]
Fluence : 1.040e+10 [p/cm2]
Dose : 1.424e+03 [rad]
Flux : 2.122e+08 [p/cm2/sec]
Doserate : 2.907e+01 [rad/sec]
|  | before | during | after | delta after % | delta during % | delta during
| average | 5.2107 | 10.4932 | 5.2102 | -0.010537 | 101.3755 | 5.2824
| stdev | 0.0010233 | 0.024305 | 0.0012295 |  | 2275.1865 | 0.024327
CH 01
| 2003-10-05 | 3:53
Time in seconds from 00:00, 1 Jan 1904
| Time | Amps | Hz | Sigma [1/s] | Periods [s]
37751.162 | 3135376394.332 | 9.9998e-10 | 5.2104
37751.1621 | 3135376404.337 | 9.9998e-10 | 5.2119
37751.1622 | 3135376414.331 | 9.9998e-10 | 5.2099
37751.1623 | 3135376424.336 | 9.9998e-10 | 5.2092
37751.1624 | 3135376434.34 | 9.9998e-10 | 9.7847
37751.1626 | 3135376444.334 | 9.9998e-10 | 10.5103
37751.1627 | 3135376454.339 | 9.9998e-10 | 10.476
37751.163 | 3135376481.838 | 9.9998e-10 | 7.038
37751.1631 | 3135376492.333 | 9.9998e-10 | 5.2109
37751.1632 | 3135376502.838 | 9.9998e-10 | 5.2084
37751.1634 | 3135376513.334 | 9.9999e-10 | 5.2112
37751.1635 | 3135376523.839 | 9.9998e-10 | 5.2102
37751.1635 | 3135376527.334 | 9.9998e-10
37751.1635 | 3135376530.338 | 9.9999e-10

## 28
Energy : 60.12 [MeV]
Run time : 50 [sec]
Fluence : 1.040e+10 [p/cm2]
Dose : 1.425e+03 [rad]
Flux : 2.081e+08 [p/cm2/sec]
Doserate : 2.850e+01 [rad/sec]
|  | before | during | after | delta after % | delta during % | delta during
| average | 5.2111 | 10.5902 | 5.2146 | 0.06728 | 103.2237 | 5.3791
| stdev | 0.00088501 | 0.04917 | 0.0016774 |  | 5455.917 | 0.049178
CH 01
| 2003-10-05 | 3:55
Time in seconds from 00:00, 1 Jan 1904
| Time | Amps | Hz | Sigma [1/s] | Periods [s]
37751.1637 | 3135376544.839 | 9.9998e-10 | 5.2115
37751.1638 | 3135376555.334 | 9.9998e-10 | 5.2117
37751.164 | 3135376565.839 | 9.9998e-10 | 5.2101
37751.1641 | 3135376576.334 | 9.9998e-10 | 5.2099
37751.1642 | 3135376586.339 | 9.9998e-10 | 10.608
37751.1643 | 3135376595.832 | 9.9998e-10 | 10.6053
37751.1644 | 3135376606.337 | 9.9998e-10 | 10.63
37751.1645 | 3135376616.332 | 9.9998e-10 | 10.5352
37751.1647 | 3135376625.835 | 9.9998e-10 | 10.3936
37751.1649 | 3135376645.834 | 9.9998e-10 | 5.2333
37751.165 | 3135376656.339 | 9.9998e-10 | 5.2165
37751.1651 | 3135376666.334 | 9.9998e-10 | 5.2139
37751.1652 | 3135376676.839 | 9.9998e-10 | 5.2134
37751.1653 | 3135376683.839 | 9.9998e-10
| 3135376687.835 | 9.9998e-10

## 56
Energy : 60.12 [MeV]
Run time : 95 [sec]
Fluence : 2.025e+10 [p/cm2]
Dose : 2.773e+03 [rad]
Flux : 2.131e+08 [p/cm2/sec]
Doserate : 2.919e+01 [rad/sec
|  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during
| average | 5.2138 | 10.5334 | 5.2148 | 0.019689 | 102.0303 | 5.3196 |  | average | 5.0455 | 5.1451 | 5.046 | 0.011461 | 1.975 | 0.099647
| stdev | 4.3044e-05 | 0.04573 | 0.0013413 |  | 106140.1083 | 0.04573 |  | stdev | 0.0031261 | 0.0015942 | 0.0020782 |  | -49.0035 | 0.0035092
| CH 01 | [7 empty] | CH 03
| 2003-10-05 | 3:58 | [6 empty] | 2003-10-05 | 3:58
| Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904
| Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s]
37751.1655 | 3135376702.335 | 9.9998e-10 | 5.2137 |  |  |  |  | 37751.1657 | 3135376712.84 | 9.9998e-10 | 5.0423
37751.1658 | 3135376723.836 | 9.9999e-10 | 5.6936 |  |  |  |  | 37751.1659 | 3135376734.331 | 9.9998e-10 | 5.0456
37751.166 | 3135376744.336 | 9.9998e-10 | 5.2138 |  |  |  |  | 37751.1661 | 3135376754.841 | 9.9998e-10 | 5.0485
37751.1663 | 3135376765.336 | 9.9998e-10 | 5.2127 |  |  |  |  | 37751.1664 | 3135376775.841 | 9.9998e-10 | 5.047
37751.1665 | 3135376786.336 | 9.9998e-10 | 10.8596 |  |  |  |  | 37751.1666 | 3135376796.341 | 9.9998e-10 | 5.1454
37751.1667 | 3135376806.335 | 9.9998e-10 | 10.5709 |  |  |  |  | 37751.1669 | 3135376816.339 | 9.9998e-10 | 5.1459
37751.167 | 3135376826.334 | 9.9998e-10 | 10.5468 |  |  |  |  | 37751.1671 | 3135376835.837 | 9.9998e-10 | 5.1462
37751.1672 | 3135376846.332 | 9.9998e-10 | 10.4825 |  |  |  |  | 37751.1673 | 3135376856.337 | 9.9998e-10 | 5.1433
37751.1674 | 3135376866.331 | 9.9998e-10 | 10.4735 |  |  |  |  | 37751.1676 | 3135376876.336 | 9.9998e-10 | 5.0939
37751.1677 | 3135376886.841 | 9.9998e-10 | 5.2152 |  |  |  |  | 37751.1678 | 3135376897.336 | 9.9998e-10 | 5.0464
37751.168 | 3135376916.333 | 9.9998e-10 | 5.2138 |  |  |  |  | 37751.1681 | 3135376926.337 | 9.9998e-10 | 5.0475
37751.1684 | 3135376945.835 | 9.9998e-10 | 5.2157 |  |  |  |  | 37751.1685 | 3135376956.341 | 9.9998e-10 | 5.0446
37751.1686 | 3135376966.335 | 9.9998e-10 | [5 empty] | 37751.1686 | 3135376969.84 | 9.9998e-10
37751.1687 | 3135376973.335 | 9.9998e-10

## 84
Energy : 60.12 [MeV]
Run time : 100 [sec]
Fluence : 2.033e+10 [p/cm2]
Dose : 2.785e+03 [rad]
Flux : 2.033e+08 [p/cm2/sec]
Doserate : 2.785e+01 [rad/sec]
|  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during
| average | 5.2146 | 10.4103 | 5.2165 | 0.036872 | 99.6372 | 5.1957 |  | average | 5.0433 | 5.1398 | 5.0395 | -0.075307 | 1.9142 | 0.09654
| stdev | 0.0015761 | 0.24742 | 0.0011671 |  | 15598.551 | 0.24743 |  | stdev | 0.001447 | 0.013074 | 0.0022626 |  | 803.5211 | 0.013154
| CH 01 | [7 empty] | CH 03
| 2003-10-05 | 4:03 | [6 empty] | 2003-10-05 | 4:03
| Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904
| Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s]
37751.169 | 3135377000.835 | 9.9998e-10 | 5.214 |  |  |  |  | 37751.1692 | 3135377020.833 | 9.9998e-10 | 5.0449
37751.1693 | 3135377031.338 | 9.9998e-10 | 5.2134 |  |  |  |  | 37751.1695 | 3135377041.333 | 9.9998e-10 | 5.0422
37751.1696 | 3135377051.337 | 9.9998e-10 | 5.2164 |  |  |  |  | 37751.1698 | 3135377070.835 | 9.9998e-10 | 5.0427
37751.1699 | 3135377081.841 | 9.9998e-10 | 5.2133 |  |  |  |  | 37751.1701 | 3135377092.336 | 9.9998e-10 | 5.0417
37751.1703 | 3135377111.333 | 9.9998e-10 | 10.4162 |  |  |  |  | 37751.1704 | 3135377120.837 | 9.9998e-10 | 5.1346
37751.1705 | 3135377131.332 | 9.9998e-10 | 10.5436 |  |  |  |  | 37751.1706 | 3135377141.337 | 9.9998e-10 | 5.1373
37751.1707 | 3135377151.341 | 9.9998e-10 | 10.1248 |  |  |  |  | 37751.1709 | 3135377161.335 | 9.9998e-10 | 5.1282
37751.171 | 3135377171.34 | 9.9998e-10 | 10.5625 |  |  |  |  | 37751.1711 | 3135377181.334 | 9.9998e-10 | 5.154
37751.1712 | 3135377191.339 | 9.9998e-10 | 10.5907 |  |  |  |  | 37751.1713 | 3135377201.834 | 9.9998e-10 | 5.0674
37751.1714 | 3135377212.339 | 9.9998e-10 | 5.2188 |  |  |  |  | 37751.1716 | 3135377222.834 | 9.9998e-10 | 5.0447
37751.1717 | 3135377233.339 | 9.9999e-10 | 5.2167 |  |  |  |  | 37751.1718 | 3135377243.834 | 9.9998e-10 | 5.0401
37751.1719 | 3135377254.339 | 9.9998e-10 | 5.2175 |  |  |  |  | 37751.172 | 3135377264.834 | 9.9998e-10 | 5.037
37751.1722 | 3135377275.339 | 9.9998e-10 | 5.2152 |  |  |  |  | 37751.1723 | 3135377285.834 | 9.9998e-10 | 5.0414
37751.1723 | 3135377289.84 | 9.9998e-10 | [6 empty] | 3135377299.835 | 9.9998e-10
| 3135377303.34 | 9.9998e-10

## 112
Energy : 60.12 [MeV]
Run time : 98 [sec]
Fluence : 2.043e+10 [p/cm2]
Dose : 2.799e+03 [rad]
Flux : 2.085e+08 [p/cm2/sec]
Doserate : 2.856e+01 [rad/sec]
|  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during
| average | 5.2153 | 10.5878 | 5.2185 | 0.062015 | 103.0133 | 5.3725 |  | average | 5.0408 | 5.1339 | 5.0403 | -0.0085413 | 1.8477 | 0.093136
| stdev | 0.00078566 | 0.13813 | 0.0029118 |  | 17481.6458 | 0.13813 |  | stdev | 0.0020284 | 0.055042 | 0.00046756 |  | 2613.496 | 0.055079
| CH 01 | [7 empty] | CH 03
| 2003-10-05 | 4:08 | [6 empty] | 2003-10-05 | 4:08
| Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904
| Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s]
37751.1727 | 3135377318.331 | 9.9998e-10 | 5.2159 |  |  |  |  | 37751.1728 | 3135377328.335 | 9.9998e-10 | 5.0406
37751.173 | 3135377347.834 | 9.9999e-10 | 5.2156 |  |  |  |  | 37751.1731 | 3135377358.339 | 9.9998e-10 | 5.0388
37751.1732 | 3135377368.333 | 9.9998e-10 | 5.2144 |  |  |  |  | 37751.1734 | 3135377378.838 | 9.9998e-10 | 5.0429
37751.1735 | 3135377389.333 | 9.9998e-10 | 5.2173 |  |  |  |  | 37751.1736 | 3135377399.838 | 9.9998e-10 | 5.0412
37751.1737 | 3135377410.333 | 9.9998e-10 | 10.6275 |  |  |  |  | 37751.1738 | 3135377420.338 | 9.9998e-10 | 5.1416
37751.1741 | 3135377439.836 | 9.9998e-10 | 10.7083 |  |  |  |  | 37751.1743 | 3135377459.334 | 9.9998e-10 | 5.1349
37751.1744 | 3135377469.338 | 9.9998e-10 | 10.4672 |  |  |  |  | 37751.1745 | 3135377479.333 | 9.9998e-10 | 5.1329
37751.1746 | 3135377489.337 | 9.9998e-10 | 10.471 |  |  |  |  | 37751.1749 | 3135377508.334 | 9.9998e-10 | 5.0386
37751.175 | 3135377518.339 | 9.9998e-10 | 5.219 |  |  |  |  | 37751.1751 | 3135377528.834 | 9.9998e-10 | 5.0395
37751.1752 | 3135377539.339 | 9.9998e-10 | 5.2165 |  |  |  |  | 37751.1753 | 3135377549.834 | 9.9998e-10 | 5.0407
37751.1755 | 3135377560.339 | 9.9998e-10 | 5.2206 |  |  |  |  | 37751.1756 | 3135377570.834 | 9.9998e-10 | 5.04
37751.1756 | 3135377574.339 | 9.9998e-10 | [5 empty] | 37751.1757 | 3135377577.334 | 9.9998e-10
37751.1757 | 3135377580.338 | 9.9998e-10

## 182
Energy : 60.12 [MeV]
Run time : 254 [sec]
Fluence : 5.031e+10 [p/cm2]
Dose : 6.891e+03 [rad]
Flux : 1.981e+08 [p/cm2/sec]
Doserate : 2.713e+01 [rad/sec]
|  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during
| average | 5.2195 | 10.4737 | 5.2171 | -0.045816 | 100.6647 | 5.2542 |  | average | 5.1091 | 5.9318 | 5.1063 | -0.055303 | 16.1023 | 0.82269 |  | average | 5.039 | 5.131 | 5.0477 | 0.17292 | 1.826 | 0.092014 |  | average | 5.0344 | 5.1879 | 5.0309 | -0.068884 | 3.0485 | 0.15347
| stdev | 0.00090798 | 0.15543 | 0.015228 |  | 17018.4737 | 0.15543 |  | stdev | 0.0041267 | 0.008181 | 0.0015058 |  | 98.2466 | 0.0091629 |  | stdev | 0.00087149 | 0.004125 | 0.0056638 |  | 373.3309 | 0.0042161 |  | stdev | 0.001646 | 0.01322 | 0.0010062 |  | 703.1287 | 0.013322
| CH 01 | [7 empty] | CH 02 | [7 empty] | CH 03 | [7 empty] | CH 04
| 2003-10-05 | 4:13 | [6 empty] | 2003-10-05 | 4:13 | [6 empty] | 2003-10-05 | 4:13 | [6 empty] | 2003-10-05 | 4:13
| Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904
| Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s]
37751.1758 | 3135377592.335 | 9.9998e-10 | 5.2194 |  |  |  |  | 37751.176 | 3135377602.339 | 9.9998e-10 | 5.1048 |  |  |  |  | 37751.1761 | 3135377612.835 | 9.9998e-10 | 5.0383 |  |  |  |  | 37751.1762 | 3135377623.34 | 9.9998e-10 | 5.0347
37751.1763 | 3135377633.334 | 9.9998e-10 | 5.2204 |  |  |  |  | 37751.1764 | 3135377643.338 | 9.9998e-10 | 5.1097 |  |  |  |  | 37751.1765 | 3135377653.333 | 9.9998e-10 | 5.0387 |  |  |  |  | 37751.1767 | 3135377663.838 | 9.9998e-10 | 5.0358
37751.1768 | 3135377674.333 | 9.9998e-10 | 5.2186 |  |  |  |  | 37751.1769 | 3135377684.337 | 9.9998e-10 | 5.113 |  |  |  |  | 37751.1771 | 3135377703.835 | 9.9998e-10 | 5.04 |  |  |  |  | 37751.1773 | 3135377714.831 | 9.9998e-10 | 5.0326
37751.1774 | 3135377725.336 | 9.9998e-10 | 5.2172 |  |  |  |  | 37751.1775 | 3135377735.831 | 9.9998e-10 | 5.1107 |  |  |  |  | 37751.1776 | 3135377746.337 | 9.9998e-10 | 5.0394 |  |  |  |  | 37751.1777 | 3135377756.832 | 9.9998e-10 | 5.0373
37751.1779 | 3135377767.337 | 9.9998e-10 | 10.2305 |  |  |  |  | 37751.178 | 3135377777.832 | 9.9998e-10 | 5.938 |  |  |  |  | 37751.1781 | 3135377788.337 | 9.9998e-10 | 5.132 |  |  |  |  | 37751.1782 | 3135377798.832 | 9.9998e-10 | 5.1742
37751.1784 | 3135377809.337 | 9.9998e-10 | 10.4861 |  |  |  |  | 37751.1785 | 3135377819.832 | 9.9998e-10 | 5.9241 |  |  |  |  | 37751.1786 | 3135377830.337 | 9.9998e-10 | 5.1293 |  |  |  |  | 37751.1787 | 3135377840.832 | 9.9998e-10 | 5.1817
37751.1788 | 3135377851.338 | 9.9998e-10 | 10.5679 |  |  |  |  | 37751.179 | 3135377861.833 | 9.9998e-10 | 5.9265 |  |  |  |  | 37751.1791 | 3135377872.338 | 9.9998e-10 | 5.1344 |  |  |  |  | 37751.1792 | 3135377882.833 | 9.9998e-10 | 5.1723
37751.1793 | 3135377893.338 | 9.9998e-10 | 10.5903 |  |  |  |  | 37751.1794 | 3135377903.833 | 9.9998e-10 | 5.9422 |  |  |  |  | 37751.1796 | 3135377914.338 | 9.9998e-10 | 5.1343 |  |  |  |  | 37751.1797 | 3135377924.833 | 9.9998e-10 | 5.2008
37751.1798 | 3135377935.338 | 9.9998e-10 | 10.2504 |  |  |  |  | 37751.1799 | 3135377945.333 | 9.9998e-10 | 5.9344 |  |  |  |  | 37751.18 | 3135377955.337 | 9.9998e-10 | 5.126 |  |  |  |  | 37751.1802 | 3135377965.331 | 9.9998e-10 | 5.1966
37751.1803 | 3135377975.336 | 9.9998e-10 | 10.0053 |  |  |  |  | 37751.1804 | 3135377985.34 | 9.9998e-10 | 5.9239 |  |  |  |  | 37751.1805 | 3135377995.335 | 9.9998e-10 | 5.1175 |  |  |  |  | 37751.1806 | 3135378005.339 | 9.9998e-10 | 5.2141
37751.1807 | 3135378015.333 | 9.9999e-10 | 9.6275 |  |  |  |  | 37751.1809 | 3135378025.338 | 9.9998e-10 | 5.1068 |  |  |  |  | 37751.181 | 3135378035.833 | 9.9998e-10 | 5.0375 |  |  |  |  | 37751.1811 | 3135378046.338 | 9.9998e-10 | 5.0428
37751.1812 | 3135378056.833 | 9.9998e-10 | 5.2264 |  |  |  |  | 37751.1813 | 3135378067.338 | 9.9998e-10 | 5.1047 |  |  |  |  | 37751.1815 | 3135378077.333 | 9.9998e-10 | 5.0454 |  |  |  |  | 37751.1816 | 3135378087.337 | 9.9998e-10 | 5.0316
37751.1817 | 3135378097.331 | 9.9998e-10 | 5.1995 |  |  |  |  | 37751.1818 | 3135378107.336 | 9.9998e-10 | 5.1077 |  |  |  |  | 37751.182 | 3135378126.834 | 9.9998e-10 | 5.0541 |  |  |  |  | 37751.1822 | 3135378137.84 | 9.9998e-10 | 5.0302
37751.1823 | 3135378148.335 | 9.9998e-10 | 5.2254 |  |  |  |  | 37751.1824 | 3135378158.84 | 9.9998e-10 | 5.1065 |  |  |  |  | 37751.1825 | 3135378169.335 | 9.9998e-10 | 5.0435 |  |  |  |  | 37751.1827 | 3135378186.84 | 9.9998e-10
37751.1828 | 3135378190.836 | 9.9998e-10

## 252
Energy : 60.12 [MeV]
Run time : 274 [sec]
Fluence : 5.027e+10 [p/cm2]
Dose : 6.886e+03 [rad]
Flux : 1.835e+08 [p/cm2/sec]
Doserate : 2.513e+01 [rad/sec]
|  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during
| average | 5.2271 | 10.113 | 5.2355 | 0.1602 | 93.4731 | 4.8859 |  | average | 5.1052 | 5.9921 | 5.0968 | -0.1649 | 17.3719 | 0.88687 |  | average | 5.0401 | 5.1329 | 5.0362 | -0.077682 | 1.8415 | 0.092814 |  | average | 5.0331 | 5.2242 | 5.0251 | -0.1607 | 3.7956 | 0.19104
| stdev | 0.00073173 | 0.14047 | 0.00075783 |  | 19097.6321 | 0.14048 |  | stdev | 0.0012093 | 0.015902 | 0.0013664 |  | 1214.9917 | 0.015948 |  | stdev | 0.0021027 | 0.005338 | 0.0016104 |  | 153.8593 | 0.0057372 |  | stdev | 0.0039639 | 0.0054342 | 0.0026764 |  | 37.0927 | 0.0067263
| CH 01 | [7 empty] | CH 02 | [7 empty] | CH 03 | [7 empty] | CH 04
| 2003-10-05 | 4:23 | [6 empty] | 2003-10-05 | 4:23 | [6 empty] | 2003-10-05 | 4:23 | [6 empty] | 2003-10-05 | 4:23
| Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904
| Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s]
37751.183 | 3135378212.837 | 9.9998e-10 | 5.2279 |  |  |  |  | 37751.1831 | 3135378223.332 | 9.9998e-10 | 5.1064 |  |  |  |  | 37751.1833 | 3135378233.838 | 9.9998e-10 | 5.0403 |  |  |  |  | 37751.1834 | 3135378244.333 | 9.9998e-10 | 5.0338
37751.1835 | 3135378254.337 | 9.9998e-10 | 5.2268 |  |  |  |  | 37751.1836 | 3135378264.331 | 9.9998e-10 | 5.104 |  |  |  |  | 37751.1837 | 3135378274.336 | 9.9998e-10 | 5.0421 |  |  |  |  | 37751.1839 | 3135378284.831 | 9.9998e-10 | 5.0289
37751.184 | 3135378295.336 | 9.9998e-10 | 5.2266 |  |  |  |  | 37751.1842 | 3135378314.834 | 9.9998e-10 | 5.1053 |  |  |  |  | 37751.1843 | 3135378325.339 | 9.9998e-10 | 5.0379 |  |  |  |  | 37751.1844 | 3135378335.333 | 9.9998e-10 | 5.0368
37751.1846 | 3135378345.338 | 9.9998e-10 | 5.2258 |  |  |  |  | 37751.1847 | 3135378355.332 | 9.9998e-10 | 5.1056 |  |  |  |  | 37751.1848 | 3135378365.837 | 9.9998e-10 | 5.0409 |  |  |  |  | 37751.1849 | 3135378376.332 | 9.9998e-10 | 5.0319
37751.185 | 3135378386.337 | 9.9998e-10 | 10.1492 |  |  |  |  | 37751.1851 | 3135378396.341 | 9.9998e-10 | 6.0022 |  |  |  |  | 37751.1853 | 3135378406.336 | 9.9998e-10 | 5.131 |  |  |  |  | 37751.1855 | 3135378425.834 | 9.9998e-10 | 5.2074
37751.1856 | 3135378436.339 | 9.9998e-10 | 10.1084 |  |  |  |  | 37751.1857 | 3135378446.333 | 9.9998e-10 | 5.9921 |  |  |  |  | 37751.1858 | 3135378455.837 | 9.9998e-10 | 5.1267 |  |  |  |  | 37751.186 | 3135378466.332 | 9.9998e-10 | 5.2212
37751.1861 | 3135378476.336 | 9.9998e-10 | 9.9252 |  |  |  |  | 37751.1862 | 3135378486.341 | 9.9998e-10 | 5.9712 |  |  |  |  | 37751.1863 | 3135378496.335 | 9.9998e-10 | 5.1387 |  |  |  |  | 37751.1865 | 3135378515.332 | 9.9998e-10 | 5.2317
37751.1866 | 3135378524.836 | 9.9999e-10 | 10.1573 |  |  |  |  | 37751.1868 | 3135378535.331 | 9.9998e-10 | 5.9953 |  |  |  |  | 37751.1869 | 3135378545.335 | 9.9998e-10 | 5.1306 |  |  |  |  | 37751.1871 | 3135378564.833 | 9.9998e-10 | 5.2193
37751.1872 | 3135378575.339 | 9.9998e-10 | 10.2611 |  |  |  |  | 37751.1873 | 3135378585.333 | 9.9998e-10 | 6.0097 |  |  |  |  | 37751.1874 | 3135378595.337 | 9.9998e-10 | 5.1357 |  |  |  |  | 37751.1876 | 3135378605.832 | 9.9998e-10 | 5.2245
37751.1877 | 3135378616.338 | 9.9998e-10 | 10.1246 |  |  |  |  | 37751.1878 | 3135378626.332 | 9.9998e-10 | 5.9972 |  |  |  |  | 37751.188 | 3135378645.84 | 9.9998e-10 | 5.1358 |  |  |  |  | 37751.1882 | 3135378656.335 | 9.9998e-10 | 5.1418
37751.1883 | 3135378666.339 | 9.9998e-10 | 5.2354 |  |  |  |  | 37751.1884 | 3135378676.334 | 9.9998e-10 | 5.1004 |  |  |  |  | 37751.1885 | 3135378686.338 | 9.9998e-10 | 5.0412 |  |  |  |  | 37751.1886 | 3135378696.333 | 9.9998e-10 | 5.0277
37751.1887 | 3135378706.337 | 9.9998e-10 | 5.236 |  |  |  |  | 37751.1889 | 3135378716.832 | 9.9998e-10 | 5.0976 |  |  |  |  | 37751.189 | 3135378727.337 | 9.9998e-10 | 5.0353 |  |  |  |  | 37751.1891 | 3135378737.332 | 9.9998e-10 | 5.0222
37751.1892 | 3135378747.336 | 9.9998e-10 | 5.2346 |  |  |  |  | 37751.1894 | 3135378766.834 | 9.9998e-10 | 5.0975 |  |  |  |  | 37751.1896 | 3135378777.339 | 9.9998e-10 | 5.0352 |  |  |  |  | 37751.1897 | 3135378787.333 | 9.9998e-10 | 5.0255
37751.1898 | 3135378797.338 | 9.9998e-10 | 5.2357 |  |  |  |  | 37751.1899 | 3135378807.332 | 9.9998e-10 | 5.0952 |  |  |  |  | 37751.19 | 3135378817.337 | 9.9998e-10 | 5.0381 |  |  |  |  | 37751.1901 | 3135378827.832 | 9.9998e-10 | 5.0275
37751.1902 | 3135378831.337 | 9.9998e-10 | [6 empty] | 3135378834.832 | 9.9998e-10
| 3135378838.837 | 9.9998e-10

## 526
Energy : 60.12 [MeV]
Run time : 1026 [sec]
Fluence : 2.003e+11 [p/cm2]
Dose : 2.744e+04 [rad]
Flux : 1.952e+08 [p/cm2/sec]
Doserate : 2.674e+01 [rad/sec]
|  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during |  |  | before | during | after | delta after % | delta during % | delta during
| average | 5.2555 | 10.3532 | 5.291 | 0.67496 | 96.9962 | 5.0977 |  | average | 5.1032 | 6.1028 | 5.0786 | -0.48342 | 19.5865 | 0.99954 |  | average | 5.0458 | 5.1228 | 5.0396 | -0.12396 | 1.5263 | 0.077013 |  | average | 5.0325 | 5.2661 | 5.0077 | -0.49293 | 4.6407 | 0.23354
| stdev | 0.0033707 | 0.39938 | 0.00026141 |  | 11748.6244 | 0.3994 |  | stdev | 0.0021444 | 0.02719 | 1.9205e-05 |  | 1167.9962 | 0.027275 |  | stdev | 0.0018198 | 0.05393 | 0.0020102 |  | 2863.4618 | 0.053961 |  | stdev | 0.0026654 | 0.021068 | 0.00079534 |  | 690.4138 | 0.021235
| CH 01 | [7 empty] | CH 02 | [7 empty] | CH 03 | [7 empty] | CH 04
| 2003-10-05 | 4:47 | [6 empty] | 2003-10-05 | 4:47 | [6 empty] | 2003-10-05 | 4:47 | [6 empty] | 2003-10-05 | 4:47
| Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904 | [7 empty] | Time in seconds from 00:00, 1 Jan 1904
| Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s]
37751.1995 | 3135379639.339 | 9.9998e-10 | 5.2579 |  |  |  |  | 37751.1997 | 3135379649.834 | 9.9998e-10 | 5.1033 |  |  |  |  | 37751.1998 | 3135379660.339 | 9.9998e-10 | 5.0451 |  |  |  |  | 37751.1999 | 3135379670.834 | 9.9998e-10 | 5.0356
37751.2 | 3135379681.339 | 9.9998e-10 | 5.2571 |  |  |  |  | 37751.2001 | 3135379691.834 | 9.9998e-10 | 5.1053 |  |  |  |  | 37751.2003 | 3135379702.339 | 9.9998e-10 | 5.0445 |  |  |  |  | 37751.2004 | 3135379712.834 | 9.9998e-10 | 5.0307
37751.2006 | 3135379732.833 | 9.9998e-10 | 5.2517 |  |  |  |  | 37751.2007 | 3135379743.338 | 9.9998e-10 | 5.1011 |  |  |  |  | 37751.201 | 3135379763.337 | 9.9998e-10 | 5.0479 |  |  |  |  | 37751.2011 | 3135379773.331 | 9.9998e-10 | 5.0313
37751.2012 | 3135379783.336 | 9.9998e-10 | 5.2535 |  |  |  |  | 37751.2013 | 3135379793.841 | 9.9998e-10 | 5.1 |  |  |  |  | 37751.2014 | 3135379804.336 | 9.9998e-10 | 5.0436 |  |  |  |  | 37751.2016 | 3135379814.841 | 9.9998e-10 | 5.0304
37751.2017 | 3135379825.336 | 9.9998e-10 | 10.7732 |  |  |  |  | 37751.2019 | 3135379844.834 | 9.9998e-10 | 6.0793 |  |  |  |  | 37751.202 | 3135379855.339 | 9.9998e-10 | 5.1391 |  |  |  |  | 37751.2021 | 3135379865.334 | 9.9998e-10 | 5.2516
37751.2023 | 3135379875.338 | 9.9998e-10 | 10.4268 |  |  |  |  | 37751.2024 | 3135379885.332 | 9.9998e-10 | 6.0738 |  |  |  |  | 37751.2025 | 3135379895.337 | 9.9998e-10 | 5.1405 |  |  |  |  | 37751.2026 | 3135379905.331 | 9.9998e-10 | 5.2362
37751.2027 | 3135379915.335 | 9.9998e-10 | 10.7516 |  |  |  |  | 37751.203 | 3135379934.833 | 9.9998e-10 | 6.0574 |  |  |  |  | 37751.2031 | 3135379945.339 | 9.9998e-10 | 5.137 |  |  |  |  | 37751.2032 | 3135379955.333 | 9.9998e-10 | 5.2419
37751.2034 | 3135379974.841 | 9.9998e-10 | 10.7146 |  |  |  |  | 37751.2035 | 3135379985.336 | 9.9998e-10 | 6.0824 |  |  |  |  | 37751.2037 | 3135379995.34 | 9.9998e-10 | 5.1424 |  |  |  |  | 37751.2038 | 3135380005.335 | 9.9998e-10 | 5.2401
37751.2039 | 3135380015.339 | 9.9998e-10 | 10.7663 |  |  |  |  | 37751.204 | 3135380025.334 | 9.9998e-10 | 6.1009 |  |  |  |  | 37751.2041 | 3135380035.338 | 9.9998e-10 | 5.1447 |  |  |  |  | 37751.2042 | 3135380045.833 | 9.9998e-10 | 5.2356
37751.2044 | 3135380056.338 | 9.9998e-10 | 10.829 |  |  |  |  | 37751.2045 | 3135380066.333 | 9.9998e-10 | 6.1001 |  |  |  |  | 37751.2046 | 3135380075.836 | 9.9998e-10 | 5.1463 |  |  |  |  | 37751.2047 | 3135380086.331 | 9.9998e-10 | 5.2437
37751.2048 | 3135380096.336 | 9.9999e-10 | 10.8211 |  |  |  |  | 37751.2049 | 3135380106.34 | 9.9998e-10 | 6.1107 |  |  |  |  | 37751.2051 | 3135380116.334 | 9.9998e-10 | 5.144 |  |  |  |  | 37751.2052 | 3135380126.339 | 9.9998e-10 | 5.2423
37751.2053 | 3135380135.832 | 9.9998e-10 | 10.7887 |  |  |  |  | 37751.2054 | 3135380146.338 | 9.9998e-10 | 6.115 |  |  |  |  | 37751.2055 | 3135380156.332 | 9.9998e-10 | 5.0734 |  |  |  |  | 37751.2056 | 3135380165.836 | 9.9998e-10 | 5.2419
37751.2059 | 3135380185.834 | 9.9998e-10 | 10.7961 |  |  |  |  | 37751.206 | 3135380196.339 | 9.9998e-10 | 6.1189 |  |  |  |  | 37751.2061 | 3135380206.334 | 9.9998e-10 | 5.1442 |  |  |  |  | 37751.2062 | 3135380216.338 | 9.9998e-10 | 5.2585
37751.2063 | 3135380226.333 | 9.9998e-10 | 10.6929 |  |  |  |  | 37751.2064 | 3135380236.337 | 9.9998e-10 | 6.1193 |  |  |  |  | 37751.2066 | 3135380246.331 | 9.9998e-10 | 5.1494 |  |  |  |  | 37751.2067 | 3135380256.336 | 9.9998e-10 | 5.2555
37751.2069 | 3135380275.834 | 9.9998e-10 | 10.6603 |  |  |  |  | 37751.207 | 3135380286.339 | 9.9998e-10 | 6.1254 |  |  |  |  | 37751.2071 | 3135380296.333 | 9.9998e-10 | 5.1425 |  |  |  |  | 37751.2073 | 3135380306.338 | 9.9998e-10 | 5.2672
37751.2074 | 3135380316.332 | 9.9998e-10 | 10.4364 |  |  |  |  | 37751.2075 | 3135380326.336 | 9.9998e-10 | 6.1188 |  |  |  |  | 37751.2077 | 3135380345.334 | 9.9998e-10 | 5.1347 |  |  |  |  | 37751.2078 | 3135380354.837 | 9.9998e-10 | 5.2725
37751.2079 | 3135380365.332 | 9.9998e-10 | 10.1172 |  |  |  |  | 37751.208 | 3135380375.337 | 9.9998e-10 | 6.1141 |  |  |  |  | 37751.2082 | 3135380385.331 | 9.9998e-10 | 4.8977 |  |  |  |  | 37751.2083 | 3135380395.336 | 9.9998e-10 | 5.2809
37751.2085 | 3135380414.333 | 9.9998e-10 | 10.1062 |  |  |  |  | 37751.2086 | 3135380424.337 | 9.9998e-10 | 6.0696 |  |  |  |  | 37751.2088 | 3135380443.835 | 9.9998e-10 | 5.1247 |  |  |  |  | 37751.209 | 3135380454.34 | 9.9998e-10 | 5.2797
37751.2091 | 3135380464.335 | 9.9998e-10 | 9.8034 |  |  |  |  | 37751.2093 | 3135380484.334 | 9.9998e-10 | 6.1091 |  |  |  |  | 37751.2094 | 3135380494.338 | 9.9998e-10 | 5.1389 |  |  |  |  | 37751.2095 | 3135380504.833 | 9.9998e-10 | 5.2792
37751.2097 | 3135380515.338 | 9.9999e-10 | 9.9367 |  |  |  |  | 37751.2098 | 3135380525.833 | 9.9998e-10 | 6.0717 |  |  |  |  | 37751.2099 | 3135380536.338 | 9.9998e-10 | 5.1283 |  |  |  |  | 37751.21 | 3135380546.333 | 9.9998e-10 | 5.2818
37751.2101 | 3135380556.337 | 9.9998e-10 | 9.8359 |  |  |  |  | 37751.2104 | 3135380575.835 | 9.9998e-10 | 6.0421 |  |  |  |  | 37751.2105 | 3135380586.34 | 9.9998e-10 | 5.1246 |  |  |  |  | 37751.2106 | 3135380596.335 | 9.9998e-10 | 5.284
37751.2107 | 3135380606.339 | 9.9998e-10 | 9.9729 |  |  |  |  | 37751.2108 | 3135380615.833 | 9.9998e-10 | 6.1138 |  |  |  |  | 37751.211 | 3135380626.338 | 9.9998e-10 | 5.1373 |  |  |  |  | 37751.2111 | 3135380636.833 | 9.9998e-10 | 5.2844
37751.2112 | 3135380647.338 | 9.9998e-10 | 10.0161 |  |  |  |  | 37751.2113 | 3135380657.833 | 9.9998e-10 | 6.1375 |  |  |  |  | 37751.2114 | 3135380668.338 | 9.9998e-10 | 5.1286 |  |  |  |  | 37751.2116 | 3135380678.333 | 9.9998e-10 | 5.2859
37751.2117 | 3135380687.836 | 9.9998e-10 | 10.1717 |  |  |  |  | 37751.2118 | 3135380698.331 | 9.9998e-10 | 6.1044 |  |  |  |  | 37751.2119 | 3135380708.336 | 9.9998e-10 | 5.1261 |  |  |  |  | 37751.212 | 3135380718.34 | 9.9998e-10 | 5.287
37751.2121 | 3135380728.334 | 9.9998e-10 | 9.6739 |  |  |  |  | 37751.2123 | 3135380738.339 | 9.9998e-10 | 6.1225 |  |  |  |  | 37751.2124 | 3135380748.333 | 9.9998e-10 | 5.1332 |  |  |  |  | 37751.2125 | 3135380758.338 | 9.9998e-10 | 5.2954
37751.2126 | 3135380768.332 | 9.9998e-10 | 10.0999 |  |  |  |  | 37751.2127 | 3135380778.336 | 9.9998e-10 | 6.1508 |  |  |  |  | 37751.2128 | 3135380788.341 | 9.9998e-10 | 5.1407 |  |  |  |  | 37751.213 | 3135380798.836 | 9.9998e-10 | 5.2938
37751.2131 | 3135380809.341 | 9.9998e-10 | 10.616 |  |  |  |  | 37751.2132 | 3135380819.836 | 9.9998e-10 | 6.1463 |  |  |  |  | 37751.2133 | 3135380830.341 | 9.9998e-10 | 5.1275 |  |  |  |  | 37751.2134 | 3135380840.836 | 9.9998e-10 | 5.2873
37751.2136 | 3135380851.331 | 9.9998e-10 | 5.4294 |  |  |  |  | 37751.2137 | 3135380861.336 | 9.9998e-10 | 5.0802 |  |  |  |  | 37751.2138 | 3135380871.34 | 9.9998e-10 | 5.0371 |  |  |  |  | 37751.2139 | 3135380881.334 | 9.9998e-10 | 5.0073
37751.2141 | 3135380901.333 | 9.9998e-10 | 5.2908 |  |  |  |  | 37751.2143 | 3135380911.338 | 9.9998e-10 | 5.0786 |  |  |  |  | 37751.2145 | 3135380930.836 | 9.9998e-10 | 5.0381 |  |  |  |  | 37751.2146 | 3135380941.341 | 9.9998e-10 | 5.0083
37751.2147 | 3135380951.335 | 9.9998e-10 | 5.2912 |  |  |  |  | 37751.2149 | 3135380970.833 | 9.9998e-10 | 5.0785 |  |  |  |  | 37751.2151 | 3135380981.839 | 9.9998e-10 | 5.041 |  |  |  |  | 37751.2152 | 3135380992.334 | 9.9998e-10 | 5.0072
37751.2152 | 3135380995.839 | 9.9998e-10 | [5 empty] | 37751.2153 | 3135380999.334 | 9.9998e-10
| 3135381002.839 | 9.9998e-10