## 0
Energy : ~ 60 [MeV]
Fluence : | 0 | [p/cm2]
Flux : | 0 | [p/cm2/sec]
| before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during
average | 0.056769 | 0.052365 | #DIV/0! | #DIV/0! | -7.7587 | -0.0044045 | average | 0.068136 | 0.14419 | #DIV/0! | #DIV/0! | 111.6161 | 0.076051 | average | 0.040854 | 0.040267 | #DIV/0! | #DIV/0! | -1.4376 | -0.00058731 | average | 0.035829 | 0.035687 | #DIV/0! | #DIV/0! | -0.39728 | -0.00014234
stdev | 0.0058323 | 0.0052514 | #DIV/0! |  | -9.961 | 0.0078481 | stdev | 0.019863 | 0.02838 | #DIV/0! |  | 42.8798 | 0.03464 | stdev | 0.00037261 | 0.00070804 | #DIV/0! |  | 90.0249 | 0.0008001 | stdev | 7.7667e-05 | 9.6083e-05 | #DIV/0! |  | 23.7116 | 0.00012355
CH 01 | 10pA+1 | [5 empty] | CH 02 | 10pA+1 | [5 empty] | CH 03 | 10pA+1 | [5 empty] | CH 04 | 10pA
2003-06-02 | 18:46 | [5 empty] | 2003-06-02 | 18:46 | [5 empty] | 2003-06-02 | 18:46 | [5 empty] | 2003-06-02 | 18:46
C:\local labview vi\local data\lauvainLN\20030602_1846_01_zero | [6 empty] | C:\local labview vi\local data\lauvainLN\20030602_1846_02_zero | [6 empty] | C:\local labview vi\local data\lauvainLN\20030602_1846_03_zero | [6 empty] | C:\local labview vi\local data\lauvainLN\20030602_1846_04_zero
Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s]
18:49 | 1.0009e-12 | 0.050361 | 0.0027559 |  |  |  | 18:52 | 1.0008e-12 | 0.046111 | 0.0066724 |  |  |  | 18:54 | 1.0007e-12 | 0.040425 | 0.00031022 |  |  |  | 18:57 | 1.0007e-12 | 0.035835 | 1.724e-05
18:59 | 1.0006e-12 | 0.058181 | 0.00030961 |  |  |  | 19:01 | 1.0007e-12 | 0.07361 | 0.002123 |  |  |  | 19:03 | 1.0006e-12 | 0.041099 | 0.00036095 |  |  |  | 19:06 | 1.0006e-12 | 0.035904 | 9.1798e-05
19:08 | 1.0005e-12 | 0.061767 | 0.00073583 |  |  |  | 19:10 | 1.0005e-12 | 0.084688 | 0.0016888 |  |  |  | 19:13 | 1.0004e-12 | 0.041038 | 0.00013066 |  |  |  | 19:15 | 1.0004e-12 | 0.035749 | 1.552e-05
19:18 | 1.0004e-12 | 0.062208 | 0.0015134 |  |  |  | 19:19 | 1.0004e-12 | 0.099781 | 0.013635 |  |  |  | 19:22 | 1.0003e-12 | 0.04062 | 0.00063033 |  |  |  | 19:25 | 1.0003e-12 | 0.035597 | 2.6046e-05
19:27 | 1.0003e-12 | 0.065173 | 0.00086717 |  |  |  | 19:28 | 1.0002e-12 | 0.13284 | 0.0030024 |  |  |  | 19:32 | 1.0002e-12 | 0.039465 | 0.0011289 |  |  |  | 19:34 | 1.0002e-12 | 0.035683 | 5.0178e-05
19:36 | 1.0002e-12 | 0.063343 | 0.0026313 |  |  |  | 19:37 | 1.0002e-12 | 0.12942 | 0.00077841 |  |  |  | 19:40 | 1.0002e-12 | 0.040081 | 0.00066215 |  |  |  | 19:43 | 1.0002e-12 | 0.035685 | 5.5013e-05
19:44 | 1.0002e-12 | 0.056419 | 0.00038004 |  |  |  | 19:46 | 1.0002e-12 | 0.11091 | 0.0033776 |  |  |  | 19:48 | 1.0002e-12 | 0.040306 | 0.00071217 |  |  |  | 19:52 | 1.0001e-12 | 0.035683 | 4.8824e-05
19:54 | 1.0002e-12 | 0.052072 | 0.0020702 |  |  |  | 19:55 | 1.0001e-12 | 0.10452 | 0.0038439 |  |  |  | 19:58 | 1e-12 | 0.04001 | 0.00026422 |  |  |  | 20:02 | 1.0001e-12 | 0.035761 | 2.5176e-05
20:04 | 1.0001e-12 | 0.048045 | 0.00080211 |  |  |  | 20:05 | 1.0001e-12 | 0.096594 | 0.0014688 |  |  |  | 20:09 | 1.0001e-12 | 0.040982 | 0.00039533 |  |  |  | 20:11 | 1e-12 | 0.035675 | 3.6591e-05
20:14 | 1e-12 | 0.047709 | 0.00036335 |  |  |  | 20:15 | 1.0001e-12 | 0.11812 | 0.0004191 |  |  |  | 20:18 | 1.0001e-12 | 0.041023 | 0.00022963 |  |  |  | 20:21 | 1.0001e-12 | 0.035745 | 6.1287e-05
20:24 | 1.0001e-12 | 0.048819 | 0.00026617 |  |  |  | 20:25 | 1.0001e-12 | 0.11908 | 0.0004125 |  |  |  | 20:29 | 1.0001e-12 | 0.040825 | 0.00030898 |  |  |  | 20:33 | 1.0001e-12 | 0.03556 | 4.6408e-05
20:35 | 1.0001e-12 | 0.047266 | 0.00047314 |  |  |  | 20:36 | 1.0001e-12 | 0.11602 | 0.002559 |  |  |  | 20:39 | 1.0001e-12 | 0.040282 | 0.00015218 |  |  |  | 20:41 | 1.0001e-12 | 0.035634 | 1.1979e-05
20:44 | 1.0001e-12 | 0.048009 | 0.00054975 |  |  |  | 20:45 | 1.0001e-12 | 0.13216 | 0.0005148 |  |  |  | 20:47 | 1.0001e-12 | 0.040625 | 0.00037768 |  |  |  | 20:51 | 1.0001e-12 | 0.035771 | 5.2842e-05
20:53 | 1.0001e-12 | 0.047805 | 0.00043745 |  |  |  | 20:54 | 1.0002e-12 | 0.12651 | 0.0038495 |  |  |  | 20:57 | 1.0002e-12 | 0.040851 | 7.2126e-05 |  |  |  | 21:01 | 1.0002e-12 | 0.035584 | 3.8205e-05
21:03 | 1.0001e-12 | 0.04783 | 0.00088808 |  |  |  | 21:04 | 1.0001e-12 | 0.13298 | 0.0013256 |  |  |  | 21:07 | 1.0002e-12 | 0.039199 | 0.0010109 |  |  |  | 21:12 | 1.0002e-12 | 0.035658 | 6.0189e-05
21:14 | 1.0002e-12 | 0.048583 | 0.0005433 |  |  |  | 21:15 | 1.0002e-12 | 0.15706 | 0.00049363 |  |  |  | 21:18 | 1.0002e-12 | 0.041196 | 0.0003582 |  |  |  | 21:21 | 1.0001e-12 | 0.035592 | 1.2858e-05
21:23 | 1.0002e-12 | 0.048335 | 0.00065141 |  |  |  | 21:24 | 1.0002e-12 | 0.14518 | 0.00549 |  |  |  | 21:28 | 1.0002e-12 | 0.039889 | 0.00026457 |  |  |  | 21:31 | 1.0002e-12 | 0.035845 | 0.00044072
21:32 | 1.0003e-12 | 0.06503 | 0.0033964 |  |  |  | 21:33 | 1.0003e-12 | 0.19892 | 0.0027879 |  |  |  | 21:36 | 1.0002e-12 | 0.040521 | 0.00018909 |  |  |  | 21:39 | 1.0002e-12 | 0.035596 | 8.2045e-06
21:41 | 1.0003e-12 | 0.050455 | 0.00087038 |  |  |  | 21:42 | 1.0002e-12 | 0.15651 | 0.0010409 |  |  |  | 21:45 | 1.0002e-12 | 0.038989 | 0.00095239 |  |  |  | 21:48 | 1.0002e-12 | 0.035662 | 4.9202e-05
21:51 | 1.0002e-12 | 0.049858 | 0.00014213 |  |  |  | 21:51 | 1.0002e-12 | 0.16011 | 0.0024531 |  |  |  | 21:54 | 1.0002e-12 | 0.040585 | 8.8618e-05 |  |  |  | 21:57 | 1.0003e-12 | 0.035542 | 2.1485e-05
21:59 | 1.0002e-12 | 0.050353 | 0.00019807 |  |  |  | 22:00 | 1.0003e-12 | 0.16489 | 0.0011256 |  |  |  | 22:02 | 1.0003e-12 | 0.039432 | 0.0016086 |  |  |  | 22:05 | 1.0003e-12 | 0.035821 | 3.2198e-05
22:07 | 1.0003e-12 | 0.055542 | 0.0009461 |  |  |  | 22:08 | 1.0002e-12 | 0.16397 | 0.0012522 |  |  |  | 22:11 | 1.0003e-12 | 0.040715 | 0.00012366 |  |  |  | 22:13 | 1.0003e-12 | 0.035699 | 1.6128e-05
22:16 | 1.0003e-12 | 0.05591 | 0.00099763 |  |  |  | 22:16 | 1.0003e-12 | 0.17126 | 0.00057695 |  |  |  | 22:19 | 1.0003e-12 | 0.040494 | 0.00017593 |  |  |  | 22:22 | 1.0003e-12 | 0.03571 | 2.506e-05
22:23 | 1.0003e-12 | 0.057029 | 0.00067336 |  |  |  | 22:24 | 1.0003e-12 | 0.16916 | 0.00088856 |  |  |  | 22:27 | 1.0003e-12 | 0.038531 | 0.00032311 |  |  |  | 22:30 | 1.0003e-12 | 0.035901 | 5.2204e-05
22:32 | 1.0003e-12 | 0.054094 | 0.00050581 |  |  |  | 22:33 | 1.0003e-12 | 0.16459 | 0.0016198 |  |  |  | 22:35 | 1.0003e-12 | 0.040478 | 5.5592e-05 |  |  |  | 22:38 | 1.0003e-12 | 0.03571 | 3.4534e-05
22:40 | 1.0003e-12 | 0.057155 | 0.0023971 |  |  |  | 22:40 | 1.0004e-12 | 0.18998 | 0.0028466 |  |  |  | 22:43 | 1.0004e-12 | 0.040592 | 0.00011606 |  |  |  | 22:46 | 1.0003e-12 | 0.03559 | 8.9181e-06
22:48 | 1.0003e-12 | 0.05638 | 0.00013923 |  |  |  | 22:49 | 1.0003e-12 | 0.17936 | 0.0011097 |  |  |  | 22:53 | 1.0003e-12 | 0.038516 | 0.0024422 |  |  |  | 22:55 | 1.0003e-12 | 0.035772 | 0.00010355

## 5E6
Energy : ~ 60 [MeV]
Fluence : | 1400000000 | [p/cm2]
Flux : | 5000000 | [p/cm2/sec]
| before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during
average | 5.1476 | 5.1603 | 5.1646 | 0.32988 | 0.24654 | 0.012691 | average | 5.0602 | 5.0623 | 5.0631 | 0.058125 | 0.041597 | 0.0021049 | average | 5.0594 | 5.0617 | 5.0474 | -0.23842 | 0.045832 | 0.0023188 | average | 0.063181 | 100.8876 | 0.062762 | -0.66257 | 159580.1483 | 100.8244
stdev | #DIV/0! | 0.0086799 | 0.001954 |  | #DIV/0! | #DIV/0! | stdev | #DIV/0! | 0.0055864 | #DIV/0! |  | #DIV/0! | #DIV/0! | stdev | #DIV/0! | 0.014142 | #DIV/0! |  | #DIV/0! | #DIV/0! | stdev | #DIV/0! | 6.564 | #DIV/0! |  | #DIV/0! | #DIV/0!
CH 01 | [6 empty] | CH 02 | [6 empty] | CH 03 | [6 empty] | CH 04
2003-06-03 | 5:51 | [5 empty] | 2003-06-03 | 5:51 | [5 empty] | 2003-06-03 | 5:51 | [5 empty] | 2003-06-03 | 5:51
C:\local labview vi\local data\lauvainLN\20030603_0551_01_fixMONO0 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0551_02_fixMONO0 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0551_03_fixMONO0 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0551_04_fixMONO0
Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s]
5:52 | 9.9998e-10 | 5.1476 | 0.013568 |  |  |  | 5:52 | 9.9998e-10 | 5.0602 | 0.013304 |  |  |  | 5:52 | 9.9998e-10 | 5.0594 | 0.01239 |  |  |  | 5:53 | 9.9998e-10 | 0.063181 | 0.0004847
5:53 | 9.9998e-10 | 5.1585 | 0.012912 |  |  |  | 5:53 | 9.9998e-10 | 5.0542 | 0.011115 |  |  |  | 5:53 | 9.9998e-10 | 5.0726 | 0.033548 |  |  |  | 5:54 | 9.9998e-10 | 103.5417 | 11.9033
5:54 | 9.9998e-10 | 5.1718 | 0.016738 |  |  |  | 5:54 | 9.9998e-10 | 5.0675 | 0.012771 |  |  |  | 5:54 | 9.9998e-10 | 5.0668 | 0.29403 |  |  |  | 5:54 | 9.9998e-10 | 98.6179 | 4.0662
5:54 | 9.9998e-10 | 5.1466 | 0.029205 |  |  |  | 5:54 | 9.9998e-10 | 5.0605 | 0.0025969 |  |  |  | 5:54 | 9.9998e-10 | 5.0493 | 0.020179 |  |  |  | 5:54 | 9.9998e-10 | 98.1892 | 1.1406
5:54 | 9.9998e-10 | 5.1561 | 0.020996 |  |  |  | 5:54 | 9.9998e-10 | 5.0644 | 0.0037499 |  |  |  | 5:54 | 9.9998e-10 | 5.0644 | 0.0019626 |  |  |  | 5:54 | 9.9998e-10 | 110.7103 | 6.8714
5:55 | 9.9998e-10 | 5.164 | 0.0058672 |  |  |  | 5:55 | 9.9998e-10 | 5.0687 | 0.0117 |  |  |  | 5:55 | 9.9998e-10 | 5.0403 | 0.0055873 |  |  |  | 5:55 | 9.9998e-10 | 93.379 | 2.8249
5:55 | 9.9998e-10 | 5.1651 | 0.0089095 |  |  |  | 5:55 | 9.9998e-10 | 5.0583 | 0.0066593 |  |  |  | 5:55 | 9.9998e-10 | 5.0771 | 0.03025 |  |  |  | 5:56 | 9.9998e-10 | 0.062762 | 0.0032343
5:57 | 9.9998e-10 | 5.1632 | 0.0041869 |  |  |  | 5:57 | 9.9998e-10 | 5.0631 | 0.01672 |  |  |  | 5:57 | 9.9998e-10 | 5.0474 | NaN |  |  |  | 5:57 | 9.9998e-10 | NaN | 0
5:57 | 9.9998e-10 | 5.166 | NaN

## 1E7
Energy : ~ 60 [MeV]
Fluence : | 13800000000 | [p/cm2]
Flux : | 10000000 | [p/cm2/sec]
| before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during
average | 5.3223 | 5.1571 | 5.1668 | -2.9222 | -3.1046 | -0.16524 | average | 5.0629 | 5.0832 | 5.0711 | 0.1617 | 0.40015 | 0.020259 | average | 5.0503 | 5.0617 | 5.056 | 0.11242 | 0.22651 | 0.01144 | average | 0.054528 | 1215.7934 | 0.066187 | 21.3832 | 2229584.586 | 1215.7388
stdev | 0.32325 | 0.0161 | 0.002113 |  | -95.0192 | 0.32365 | stdev | 0.0054065 | 0.012816 | 0.0014046 |  | 137.0554 | 0.01391 | stdev | 0.012986 | 0.01578 | 0.0056191 |  | 21.5156 | 0.020436 | stdev | 0.001826 | 99.629 | #DIV/0! |  | 5455938.0168 | 99.629
CH 01 | [6 empty] | CH 02 | [6 empty] | CH 03 | [6 empty] | CH 04
2003-06-03 | 6:04 | [5 empty] | 2003-06-03 | 6:04 | [5 empty] | 2003-06-03 | 6:04 | [5 empty] | 2003-06-03 | 6:04
C:\local labview vi\local data\lauvainLN\20030603_0604_01_fixMONO2 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0604_02_fixMONO2 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0604_03_fixMONO2 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0604_04_fixMONO2
Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s]
6:04 | 9.9998e-10 | 5.1448 | 0.0036351 |  |  |  | 6:04 | 9.9998e-10 | 5.0683 | 0.024415 |  |  |  | 6:04 | 9.9998e-10 | 5.0375 | 0.016651 |  |  |  | 6:06 | 9.9998e-10 | 0.056923 | 0.0013235
6:06 | 9.9998e-10 | 5.1632 | 0.018359 |  |  |  | 6:06 | 9.9998e-10 | 5.0568 | 0.020802 |  |  |  | 6:06 | 9.9998e-10 | 5.0654 | 0.049377 |  |  |  | 6:08 | 9.9998e-10 | 0.054824 | 0.00045779
6:08 | 9.9998e-10 | 5.1744 | 0.0086928 |  |  |  | 6:08 | 9.9998e-10 | 5.0666 | 0.015317 |  |  |  | 6:08 | 9.9998e-10 | 5.0565 | 0.026743 |  |  |  | 6:10 | 9.9998e-10 | 0.053707 | 0.00033019
6:10 | 9.9998e-10 | 5.8068 | 1.1501 |  |  |  | 6:10 | 9.9998e-10 | 5.06 | 0.0051191 |  |  |  | 6:10 | 9.9998e-10 | 5.0417 | 0.025962 |  |  |  | 6:12 | 9.9998e-10 | 0.052656 | 0.0003329
6:12 | 9.9998e-10 | 5.1714 | 0.0049403 |  |  |  | 6:12 | 9.9998e-10 | 5.0741 | 0.019133 |  |  |  | 6:12 | 9.9998e-10 | 5.0691 | 0.034108 |  |  |  | 6:12 | 9.9998e-10 | 766.0895 | 679.1639
6:12 | 9.9998e-10 | 5.1643 | 0.0048601 |  |  |  | 6:13 | 9.9998e-10 | 5.1065 | 0.019618 |  |  |  | 6:13 | 9.9998e-10 | 5.0874 | 0.046753 |  |  |  | 6:13 | 9.9998e-10 | 1085.6703 | 233.8857
6:13 | 9.9998e-10 | 5.166 | 0.026829 |  |  |  | 6:13 | 9.9998e-10 | 5.0891 | 0.0097945 |  |  |  | 6:13 | 9.9998e-10 | 5.0591 | 0.020927 |  |  |  | 6:13 | 9.9998e-10 | 1332.0304 | 580.6057
6:13 | 9.9998e-10 | 5.1795 | 0.0082256 |  |  |  | 6:13 | 9.9998e-10 | 5.0861 | 0.045435 |  |  |  | 6:13 | 9.9998e-10 | 5.0456 | 0.016258 |  |  |  | 6:13 | 9.9998e-10 | 1290.5973 | 414.15
6:13 | 9.9998e-10 | 5.139 | 0.011429 |  |  |  | 6:13 | 9.9998e-10 | 5.0896 | 0.02457 |  |  |  | 6:14 | 9.9998e-10 | 5.0678 | 0.041533 |  |  |  | 6:14 | 9.9998e-10 | 1328.6965 | 24.4994
6:14 | 9.9998e-10 | 5.14 | 0.003953 |  |  |  | 6:14 | 9.9998e-10 | 5.0682 | 0.020103 |  |  |  | 6:14 | 9.9998e-10 | 5.0605 | 0.028615 |  |  |  | 6:14 | 9.9998e-10 | 1159.1067 | 326.2561
6:14 | 9.9998e-10 | 5.168 | 0.0097437 |  |  |  | 6:14 | 9.9998e-10 | 5.0686 | 0.0069956 |  |  |  | 6:14 | 9.9998e-10 | 5.0684 | 0.048175 |  |  |  | 6:14 | 9.9998e-10 | 1175.8838 | 584.6032
6:14 | 9.9998e-10 | 5.1363 | 0.015317 |  |  |  | 6:14 | 9.9998e-10 | 5.0833 | 0.014484 |  |  |  | 6:14 | 9.9998e-10 | 5.0357 | 0.010682 |  |  |  | 6:15 | 9.9998e-10 | 1138.5686 | 996.1023
6:15 | 9.9998e-10 | 5.1491 | 0.0096453 |  |  |  | 6:15 | 9.9998e-10 | 5.0701 | 0.0065077 |  |  |  | 6:15 | 9.9998e-10 | 5.052 | 0.014072 |  |  |  | 6:16 | 9.9998e-10 | 0.066187 | 0.0092787
6:16 | 9.9998e-10 | 5.1683 | 0.00564 |  |  |  | 6:16 | 9.9998e-10 | 5.0721 | 0.015281 |  |  |  | 6:16 | 9.9998e-10 | 5.0599 | NaN |  |  |  | 6:16 | 9.9998e-10 | NaN | 0
6:16 | 9.9998e-10 | 5.1653 | NaN

## 5E8
Energy : ~ 60 [MeV]
Fluence : | 54000000000 | [p/cm2]
Flux : | 500000000 | [p/cm2/sec]
| before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during
average | 5.065 | 5.1686 | 5.13 | 1.2833 | 2.0448 | 0.10357 | average | 5.0518 | 5.1055 | 5.0746 | 0.45133 | 1.0639 | 0.053746 | average | 4.965 | 5.1014 | 5.03 | 1.3092 | 2.7478 | 0.13643 | average | 0.0592 | 6234 | 0.0832 | 40.5405 | 10530305.4054 | 6233.9408
stdev | 0.10607 | 0.023401 | #DIV/0! |  | -77.9371 | 0.10862 | stdev | 0.0071452 | 0.032959 | #DIV/0! |  | 361.2715 | 0.033724 | stdev | 0.13435 | 0.041805 | #DIV/0! |  | -68.8839 | 0.1407 | stdev | 0.0035355 | 899.4054 | #DIV/0! |  | 25438925.1386 | 899.4054
CH 01 | [6 empty] | CH 02 | [6 empty] | CH 03 | [6 empty] | CH 04
2003-06-03 | 6:23 | [5 empty] | 2003-06-03 | 6:23 | [5 empty] | 2003-06-03 | 6:23 | [5 empty] | 2003-06-03 | 6:23
C:\local labview vi\local data\lauvainLN\20030603_0623_01_fixMONO3 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0623_02_fixMONO3 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0623_03_fixMONO3 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0623_04_fixMONO3
Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s]
6:24 | 1e-09 | 5.14 | 0.0141 |  |  |  | 6:24 | 9.9998e-10 | 5.0569 | 0.0043007 |  |  |  | 6:24 | 1e-09 | 5.06 | 0.0346 |  |  |  | 6:25 | 1e-09 | 0.0617 | 0.0025
6:25 | 1e-09 | 4.99 | 0.249 |  |  |  | 6:25 | 9.9998e-10 | 5.0467 | 0.037341 |  |  |  | 6:26 | 1e-09 | 4.87 | 0.258 |  |  |  | 6:28 | 1e-09 | 0.0567 | 0.000955
6:28 | 1e-09 | 5.14 | 0.00792 |  |  |  | 6:28 | 9.9998e-10 | 5.0595 | 0.0081371 |  |  |  | 6:28 | 1e-09 | 5.19 | 0.0773 |  |  |  | 6:28 | 1e-09 | 7170 | 568
6:28 | 1e-09 | 5.2 | 0.00234 |  |  |  | 6:28 | 9.9998e-10 | 5.1309 | 0.020426 |  |  |  | 6:28 | 1e-09 | 5.08 | 0.0143 |  |  |  | 6:28 | 1e-09 | 6310 | 733
6:29 | 1e-09 | 5.19 | 0.00389 |  |  |  | 6:29 | 9.9998e-10 | 5.1129 | 0.0076445 |  |  |  | 6:29 | 1e-09 | 5.11 | 0.0409 |  |  |  | 6:29 | 1e-09 | 5710 | 1090
6:29 | 1e-09 | 5.16 | 0.0151 |  |  |  | 6:29 | 9.9998e-10 | 5.128 | 0.024336 |  |  |  | 6:29 | 1e-09 | 5.09 | 0.0271 |  |  |  | 6:29 | 1e-09 | 6980 | 1610
6:29 | 1e-09 | 5.18 | 0.0281 |  |  |  | 6:29 | 9.9998e-10 | 5.1165 | 0.010465 |  |  |  | 6:29 | 1e-09 | 5.09 | 0.0333 |  |  |  | 6:29 | 1e-09 | 5000 | 831
6:30 | 1e-09 | 5.17 | 0.0118 |  |  |  | 6:30 | 9.9998e-10 | 5.1335 | 0.028349 |  |  |  | 6:30 | 1e-09 | 5.09 | 0.0526 |  |  |  | 6:30 | 1e-09 | 4190 | 3840
6:30 | 1e-09 | 5.14 | 0.0202 |  |  |  | 6:30 | 9.9998e-10 | 5.0576 | 0.020562 |  |  |  | 6:30 | 1e-09 | 5.06 | 0.0228 |  |  |  | 6:31 | 1e-09 | 0.0832 | 0.00985
6:31 | 1e-09 | 5.13 | 0.0225 |  |  |  | 6:32 | 9.9998e-10 | 5.0746 | 0.010324 |  |  |  | 6:32 | 1e-09 | 5.03 | 0.00939 |  |  |  | 6:32 | 1e-09 | NaN | 0
6:32 | 1e-09 | 5.12 | NaN