{"text_format":"5","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"props":{"creator":"dehning","last_modified_by":"dehning","company":"CERN"},"not_rendered":{"charts":4,"external_links":1},"read":"whole","wrapped":"gz","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":311,"n_cols":12,"rows_kept":311,"flags":["formulas_cached_only"]}
[]
[]
["md 11112003",{"$nulls":5},"G.F.,E.B.H.,G.G.,B.D."]
[]
[null,"bunch length 1 sig="]
[]
["scope settings","1000 samples"]
["100ns",{"$nulls":5},"100us"]
[]
["alibration of camra (screen grid):x 21839 - 30760 =892, y 23685 - 33528 = 9843, x=1cm, y=1.41(45 degree)",{"$nulls":9},", pixel scale 76.9, units um"]
[]
[]
[]
[]
["electrons","file:","intensity","ioni/ACEM",null,"images","ions","file","intensity","oni/ACEM",null,"images"]
[null,null,{"v":100000000,"d":"1.00E+08"},{"$nulls":5},{"v":100000000,"d":"1.00E+08"}]
["attenuator: 100"]
["U=800 V",0,{"v":103,"d":"103.00"},{"$nulls":4},10,{"v":107,"d":"107.00"},null,null,"a2"]
[null,1,{"v":114,"d":"114.00"},{"$nulls":4},11,{"v":112,"d":"112.00"}]
[null,2,{"v":118,"d":"118.00"},{"$nulls":4},12,{"v":104,"d":"104.00"}]
[null,3,{"v":118,"d":"118.00"},{"$nulls":4},13,{"v":122,"d":"122.00"}]
[null,4,{"v":110,"d":"110.00"},{"$nulls":4},14,{"v":104,"d":"104.00"}]
[null,5,{"v":102,"d":"102.00"},{"$nulls":4},15,{"v":113,"d":"113.00"}]
[null,6,{"v":100,"d":"100.00"},{"$nulls":4},16,{"v":100,"d":"100.00"},null,null,"a3"]
[null,7,{"v":106,"d":"106.00"},null,null,"a0"]
[null,8,{"v":116,"d":"116.00"}]
[null,9,null,"acem",null,"a1"]
[]
["U=1200V",23,{"v":104,"d":"104.00"},{"$nulls":4},17,{"v":104,"d":"104.00"},null,null,"a4"]
[null,24,{"v":97,"d":"97.00"},{"$nulls":4},18,{"v":102,"d":"102.00"}]
[null,25,{"v":102,"d":"102.00"},null,null,"a6",null,19,{"v":101,"d":"101.00"},null,null,"a5"]
[null,26,{"v":109,"d":"109.00"},{"$nulls":4},20,{"v":118,"d":"118.00"}]
[null,27,{"v":119,"d":"119.00"},null,null,"a7",null,21,{"v":115,"d":"115.00"}]
[null,28,{"v":105,"d":"105.00"},{"$nulls":4},22,{"v":116,"d":"116.00"}]
[]
["U=1600V",29,null,"acem",{"$nulls":3},36,{"v":116,"d":"116.00"},null,null,"a9"]
[null,30,{"v":109,"d":"109.00"},{"$nulls":4},37,{"v":123,"d":"123.00"}]
[null,31,{"v":95,"d":"95.00"},{"$nulls":4},38,{"v":96,"d":"96.00"}]
[null,32,{"v":119,"d":"119.00"},{"$nulls":4},39,{"v":104,"d":"104.00"},null,null,"a10"]
[null,33,{"v":112,"d":"112.00"},{"$nulls":4},40,{"v":121,"d":"121.00"}]
[null,34,{"v":110,"d":"110.00"},null,null,"a8",null,41,{"v":123,"d":"123.00"}]
[null,35,{"v":125,"d":"125.00"}]
[]
["U=2000V",48,null,"acem",null,"a14",null,42,{"v":112,"d":"112.00"},null,null,"a11"]
[null,49,{"v":125,"d":"125.00"},{"$nulls":4},43,{"v":100,"d":"100.00"}]
[null,50,{"v":97,"d":"97.00"},{"$nulls":4},44,{"v":125,"d":"125.00"},null,null,"a12"]
[null,51,{"v":118,"d":"118.00"},{"$nulls":4},45,{"v":102,"d":"102.00"}]
[null,52,{"v":114,"d":"114.00"},null,null,"a15",null,46,{"v":100,"d":"100.00"}]
[null,53,{"v":104,"d":"104.00"},{"$nulls":4},47,{"v":101,"d":"101.00"},null,null,"a13"]
[null,54,{"v":110,"d":"110.00"}]
[]
["U=2400V",55,{"v":108,"d":"108.00"},null,null,"a16",null,62,{"v":117,"d":"117.00"},null,null,"a20"]
[null,56,{"v":111,"d":"111.00"},null,null,"a17",null,63,{"v":115,"d":"115.00"},null,null,"a21"]
[null,57,{"v":109,"d":"109.00"},null,null,"a18",null,64,{"v":106,"d":"106.00"}]
[null,58,{"v":120,"d":"120.00"},{"$nulls":4},65,{"v":115,"d":"115.00"}]
[null,59,{"v":96,"d":"96.00"},{"$nulls":4},66,{"v":113,"d":"113.00"}]
[null,60,{"v":114,"d":"114.00"},null,null,"a19",null,67,{"v":107,"d":"107.00"}]
[null,61,null,"acem"]
[]
["U=2800V",74,{"v":119,"d":"119.00"},{"$nulls":4},68,{"v":113,"d":"113.00"}]
[null,75,{"v":105,"d":"105.00"},{"$nulls":4},69,{"v":109,"d":"109.00"}]
[null,76,{"v":112,"d":"112.00"},{"$nulls":4},70,{"v":114,"d":"114.00"}]
[null,77,{"v":124,"d":"124.00"},{"$nulls":4},71,{"v":107,"d":"107.00"}]
[null,78,{"v":106,"d":"106.00"},{"$nulls":4},72,{"v":117,"d":"117.00"},null,null,"a22"]
[null,79,{"v":110,"d":"110.00"},{"$nulls":4},73,{"v":91,"d":"91.00"}]
[]
[]
["change of intensity"]
[]
["attenuator: 10",80,2.94,{"$nulls":4},86,8.32]
["U=2800V",81,7.32,{"$nulls":4},87,7.24]
[null,82,{"v":4.4,"d":"4.40"},{"$nulls":4},88,2.54]
[null,83,{"v":6,"d":"6.00"},{"$nulls":4},89,{"v":10.2,"d":"10.20"}]
[null,84,{"v":2.2,"d":"2.20"},{"$nulls":4},90,{"v":8.3,"d":"8.30"}]
[null,85,1.16,{"$nulls":4},91,{"v":2,"d":"2.00"}]
[]
["U=2400V",{"$nulls":6},92,8.15]
[{"$nulls":7},93,{"v":11.1,"d":"11.10"}]
[{"$nulls":7},94,{"v":8.6,"d":"8.60"}]
["discovery of out of phase problem ",{"$nulls":6},95,7.78]
["attenuator:  100"]
["U=2800U",96,{"v":23.2,"d":"23.20"},{"$nulls":4},105,{"$nulls":3},"a24"]
[null,97,{"$nulls":5},106,{"v":18,"d":"18.00"},null,null,"a25"]
[null,98,{"v":15.9,"d":"15.90"},{"$nulls":4},107,{"v":20.2,"d":"20.20"},null,null,"a26"]
[null,99,{"v":26,"d":"26.00"},{"$nulls":4},108,{"v":19.9,"d":"19.90"}]
[null,100,{"$nulls":5},109,{"v":23.4,"d":"23.40"}]
[null,101,{"v":14.7,"d":"14.70"},{"$nulls":4},110,{"v":23.9,"d":"23.90"}]
[null,102,{"v":17.5,"d":"17.50"},{"$nulls":4},111,{"v":18.9,"d":"18.90"}]
[null,103,{"v":26,"d":"26.00"},null,null,"a23",null,112,3.23,null,null,"a27"]
[null,104,{"v":20.6,"d":"20.60"}]
[]
["U=2400V",113,{"v":27.3,"d":"27.30"},{"$nulls":4},120]
[null,114,{"v":25.1,"d":"25.10"},{"$nulls":4},121,{"v":16,"d":"16.00"}]
[null,115,{"v":26.6,"d":"26.60"},{"$nulls":4},122,{"v":17.8,"d":"17.80"}]
[null,116,{"$nulls":5},123,{"v":20.4,"d":"20.40"}]
[null,117,{"v":21.4,"d":"21.40"},{"$nulls":4},124,{"v":20.3,"d":"20.30"}]
[null,118,{"v":20.7,"d":"20.70"},{"$nulls":4},125,{"v":20.1,"d":"20.10"}]
[null,119,{"v":15.9,"d":"15.90"},null,null,"a28",null,126,{"v":21,"d":"21.00"}]
["attenuator:  50"]
["U=2000V",134,{"v":19.3,"d":"19.30"},{"$nulls":4},127,{"v":22.5,"d":"22.50"}]
[null,135,{"v":10.8,"d":"10.80"},{"$nulls":4},128,{"v":27.5,"d":"27.50"}]
[null,136,{"$nulls":5},129,{"v":16.8,"d":"16.80"},null,null,"a29"]
[null,137,{"v":21.2,"d":"21.20"},{"$nulls":4},130,{"v":24.1,"d":"24.10"}]
[null,138,{"v":23.3,"d":"23.30"},{"$nulls":4},131,{"v":21.4,"d":"21.40"}]
[null,139,{"v":20.1,"d":"20.10"},{"$nulls":4},132]
[null,140,{"v":21.5,"d":"21.50"},{"$nulls":4},133,{"v":18.3,"d":"18.30"}]
[null,141,null,"acem"]
[]
["U=1600V",142,{"v":16.3,"d":"16.30"},"acem"]
[null,143,{"v":19.7,"d":"19.70"},"acem",null,"a30"]
[null,144,{"v":18.7,"d":"18.70"},"acem"]
[null,145,null,"acem"]
[null,146,null,"acem"]
[null,147,{"v":15.3,"d":"15.30"},"acem"]
[null,148,{"v":18.8,"d":"18.80"},"acem"]
[null,149,{"v":16.1,"d":"16.10"},"acem"]
[]
[null,150,{"v":16.9,"d":"16.90"},{"$nulls":4},157,{"v":15.9,"d":"15.90"}]
[null,151,{"v":20.6,"d":"20.60"},{"$nulls":4},158,{"v":12.8,"d":"12.80"}]
[null,152,{"v":16.9,"d":"16.90"},{"$nulls":4},159]
[null,153,{"v":13.2,"d":"13.20"},{"$nulls":4},160,{"v":23.4,"d":"23.40"}]
[null,154,{"v":14.3,"d":"14.30"},{"$nulls":4},161,{"v":21.9,"d":"21.90"}]
[null,155,{"v":13.5,"d":"13.50"},{"$nulls":4},162,{"v":16.3,"d":"16.30"}]
[null,156,{"v":14.4,"d":"14.40"},{"$nulls":4},163,{"v":25.4,"d":"25.40"}]
[]
[]
["U=1200V",172,{"v":20,"d":"20.00"},{"$nulls":4},164,{"v":19.6,"d":"19.60"},null,null,"a31"]
[null,173,{"v":19.5,"d":"19.50"},{"$nulls":4},165]
[null,174,{"v":19.1,"d":"19.10"},{"$nulls":4},166,{"v":14.7,"d":"14.70"}]
[null,175,{"$nulls":5},167,{"v":22.4,"d":"22.40"}]
[null,176,{"$nulls":5},168,{"v":18.3,"d":"18.30"}]
[null,178,{"v":20.1,"d":"20.10"},{"$nulls":4},169,{"v":21.7,"d":"21.70"}]
[null,179,{"v":13.8,"d":"13.80"},{"$nulls":4},170]
[null,180,{"v":24,"d":"24.00"},{"$nulls":4},171,{"v":22.5,"d":"22.50"}]
[]
["U=800V",181,{"$nulls":5},189,{"v":23.5,"d":"23.50"}]
[null,182,{"$nulls":3},"a32",null,190,{"v":29.7,"d":"29.70"}]
[null,183,{"v":15.9,"d":"15.90"},{"$nulls":4},191,{"v":23.8,"d":"23.80"}]
[null,184,{"v":21,"d":"21.00"},{"$nulls":4},192,{"v":13.6,"d":"13.60"}]
[null,185,{"v":30,"d":"30.00"},{"$nulls":4},193,{"v":25.4,"d":"25.40"}]
[null,186,{"v":25.2,"d":"25.20"},{"$nulls":4},194,{"v":11.3,"d":"11.30"}]
[null,187,{"v":20.7,"d":"20.70"},{"$nulls":4},195,{"v":21.4,"d":"21.40"},null,null,"a33"]
[null,188,{"v":18.9,"d":"18.90"}]
[]
[]
["analog integration:","inten.","integrator"]
[null,"E8","[V]"]
["U=800",null,2.58]
[null,{"v":23.3,"d":"23.30"},2.94,0.12618025751072962]
[null,{"v":22.9,"d":"22.90"},{"v":2.8,"d":"2.80"},0.1222707423580786]
[null,22.02,2.54,0.1153496821071753]
[null,{"v":23.1,"d":"23.10"},2.88,0.12467532467532466]
[null,{"v":26.9,"d":"26.90"},3.22,0.11970260223048329]
[null,{"v":17.2,"d":"17.20"},2.32,0.13488372093023254]
[null,{"v":23,"d":"23.00"},2.84,0.12347826086956522,null,0.12379151295451275]
[{"$nulls":3},{"$error":"#DIV/0!"}]
["U=1200V",{"v":19.2,"d":"19.20"},2.44,0.12708333333333333]
[null,{"v":15.1,"d":"15.10"},2.06,0.13642384105960265]
[null,{"v":24.2,"d":"24.20"},2.96,0.12231404958677686]
[null,{"v":19.9,"d":"19.90"},2.56,0.12864321608040202]
[null,{"v":20.9,"d":"20.90"},2.64,0.12631578947368421]
[null,{"v":26.4,"d":"26.40"},3.14,0.11893939393939396]
[null,{"v":19.7,"d":"19.70"},2.52,0.12791878172588833,null,0.12791878172588833]
[{"$nulls":3},{"$error":"#DIV/0!"}]
["U=1600V",{"v":18.3,"d":"18.30"},2.36,0.12896174863387977]
[null,{"v":25.5,"d":"25.50"},{"v":3.1,"d":"3.10"},0.12156862745098039]
[null,{"v":18.7,"d":"18.70"},{"v":2.4,"d":"2.40"},0.12834224598930483]
[null,{"v":28.8,"d":"28.80"},3.42,0.11875]
[null,{"v":22.3,"d":"22.30"},{"v":2.8,"d":"2.80"},0.12556053811659193]
[null,{"v":13.8,"d":"13.80"},{"v":1.9,"d":"1.90"},0.13768115942028983]
[null,{"v":23.5,"d":"23.50"},{"v":2.8,"d":"2.80"},0.11914893617021276]
[null,{"v":17.1,"d":"17.10"},2.22,0.12982456140350876,null,0.12982456140350876]
[]
["U=1600V",{"v":18.9,"d":"18.90"},{"v":2.4,"d":"2.40"},0.12698412698412698]
[null,{"v":20.3,"d":"20.30"},2.52,0.12413793103448276]
[null,{"v":19.1,"d":"19.10"},2.36,0.12356020942408376]
[null,{"v":18.6,"d":"18.60"},2.44,0.13118279569892471]
[null,{"v":17.7,"d":"17.70"},2.38,0.1344632768361582]
[null,{"v":21.9,"d":"21.90"},2.74,0.12511415525114156]
[null,{"v":20.7,"d":"20.70"},2.64,0.127536231884058,null,0.127536231884058]
[]
["U=1600V",{"v":17.1,"d":"17.10"},2.18,0.12748538011695906]
[null,{"v":19.4,"d":"19.40"},{"v":2.5,"d":"2.50"},0.1288659793814433]
[null,{"v":15.5,"d":"15.50"},2.08,0.13419354838709677]
[null,{"v":17.6,"d":"17.60"},2.26,0.1284090909090909]
[null,{"v":24.6,"d":"24.60"},2.96,0.12032520325203251]
[null,{"v":21.9,"d":"21.90"},2.66,0.12146118721461188]
[null,{"v":15.3,"d":"15.30"},2.06,0.134640522875817]
[null,{"v":17.2,"d":"17.20"},2.26,0.1313953488372093]
[null,{"v":13.1,"d":"13.10"},1.84,0.14045801526717558]
[null,{"v":12.4,"d":"12.40"},1.74,0.1403225806451613,null,0.1403225806451613]
[null,{"v":18.9,"d":"18.90"},{"v":2.4,"d":"2.40"},0.12698412698412698]
[]
[]
[]
[]
["U=800V",{"v":16,"d":"16.00"},2.07,0.129375,800]
[null,{"v":19,"d":"19.00"},2.02,0.10631578947368421,800]
[null,{"v":19.9,"d":"19.90"},2.04,0.10251256281407035,800]
[null,{"v":20.4,"d":"20.40"},2.15,0.1053921568627451,800]
[null,{"v":17.5,"d":"17.50"},1.57,0.08971428571428572,800]
[null,{"v":14.1,"d":"14.10"},1.65,0.11702127659574468,800]
[null,{"v":12.8,"d":"12.80"},{"v":1.9,"d":"1.90"},0.14843749999999997,800,0.14843749999999997,800,0.14843749999999997]
[]
["U=1200V",{"v":19.3,"d":"19.30"},2.55,0.13212435233160622,1200]
[null,{"v":17.5,"d":"17.50"},2.75,0.15714285714285714,1200]
[null,{"v":20.2,"d":"20.20"},2.45,0.1212871287128713,1200]
[null,{"v":20.6,"d":"20.60"},1.77,0.08592233009708737,1200]
[null,{"v":18,"d":"18.00"},2.19,0.12166666666666666,1200]
[null,{"v":12,"d":"12.00"},1.57,0.13083333333333333,1200]
[null,{"v":19.1,"d":"19.10"},2.01,0.10523560209424082,1200,0.10523560209424082,1200,0.10523560209424082]
[]
["U=1600V",{"v":21.6,"d":"21.60"},2.72,0.1259259259259259,1600]
[null,{"v":19.5,"d":"19.50"},2.56,0.13128205128205128,1600]
[null,{"v":25,"d":"25.00"},3.04,0.1216,1600]
[null,{"v":15.3,"d":"15.30"},2.08,0.13594771241830064,1600]
[null,{"v":26.3,"d":"26.30"},3.18,0.12091254752851711,1600]
[null,{"v":22.2,"d":"22.20"},2.78,0.12522522522522522,1600]
[null,{"v":19.9,"d":"19.90"},2.52,0.12663316582914574,1600]
[null,{"v":12,"d":"12.00"},1.72,0.14333333333333334,1600]
[null,{"v":10.8,"d":"10.80"},1.52,0.14074074074074072,1600]
[null,{"v":24.4,"d":"24.40"},2.94,0.12049180327868853,1600]
[null,{"v":19.2,"d":"19.20"},2.42,0.12604166666666666,1600,0.12604166666666666,1600,0.12604166666666666]
[]
["U=2000V",{"v":22,"d":"22.00"},2.92,0.13272727272727272,2000]
[null,{"v":9.9,"d":"9.90"},1.56,0.15757575757575756,2000]
[null,{"v":20,"d":"20.00"},2.52,0.126,2000]
[null,{"v":19.2,"d":"19.20"},3.12,0.1625,2000]
[null,{"v":14.1,"d":"14.10"},2.12,0.15035460992907804,2000]
[null,{"v":20.8,"d":"20.80"},2.22,0.10673076923076924,2000]
[null,{"v":21.3,"d":"21.30"},2.89,0.13568075117370892,2000]
[null,{"v":23.2,"d":"23.20"},2.28,0.0982758620689655,2000,0.0982758620689655,2000,0.0982758620689655]
[]
["U=2400V"]
[null,{"v":12.4,"d":"12.40"},{"v":1.9,"d":"1.90"},0.15322580645161288,2400]
[null,{"v":19.8,"d":"19.80"},2.86,0.14444444444444443,2400]
[null,{"v":24,"d":"24.00"},3.16,0.13166666666666668,2400]
[null,{"v":23.1,"d":"23.10"},3.22,0.1393939393939394,2400]
[null,{"v":18.3,"d":"18.30"},2.48,0.1355191256830601,2400]
[null,{"v":21.9,"d":"21.90"},3.16,0.14429223744292238,2400]
[null,{"v":18.2,"d":"18.20"},2.88,0.15824175824175823,2400]
[null,{"v":19.2,"d":"19.20"},2.78,0.14479166666666665,2400,0.14479166666666665,2400,0.14479166666666665]
[]
[]
["U=2800V",{"v":24.2,"d":"24.20"},3.52,0.14545454545454545,2800]
[null,{"v":20,"d":"20.00"},3.04,0.152,2800]
[null,{"v":20.2,"d":"20.20"},3.02,0.1495049504950495,2800]
[null,{"v":23.7,"d":"23.70"},3.44,0.14514767932489453,2800]
[null,{"v":25.4,"d":"25.40"},3.62,0.1425196850393701,2800]
[null,{"v":17.5,"d":"17.50"},2.64,0.15085714285714286,2800]
[null,{"v":21.7,"d":"21.70"},{"v":3.2,"d":"3.20"},0.14746543778801843,2800]
[null,{"v":14.8,"d":"14.80"},2.34,0.1581081081081081,2800]
[null,{"v":22.1,"d":"22.10"},3.28,0.14841628959276015,2800]
[null,{"v":20,"d":"20.00"},2.94,0.147,2800]
[null,{"v":17.1,"d":"17.10"},2.68,0.1567251461988304,2800]
[null,{"v":14.8,"d":"14.80"},2.32,0.15675675675675674,2800,0.15675675675675674,2800,0.15675675675675674]
[]
[]
["U=1700V",{"v":18.3,"d":"18.30"},2.84,0.1551912568306011,1700]
[null,{"v":10.3,"d":"10.30"},1.56,0.15145631067961166,1700]
[null,{"v":21.3,"d":"21.30"},2.78,0.1305164319248826,1700]
[null,{"v":17.5,"d":"17.50"},{"v":2.4,"d":"2.40"},0.13714285714285715,1700]
[null,{"v":12.3,"d":"12.30"},1.82,0.14796747967479673,1700]
[null,{"v":18.1,"d":"18.10"},2.48,0.13701657458563535,1700]
[null,{"v":11.7,"d":"11.70"},1.76,0.15042735042735045,1700]
[null,{"v":19.6,"d":"19.60"},{"v":2.6,"d":"2.60"},0.1326530612244898,1700]
[null,{"v":19.6,"d":"19.60"},2.68,0.13673469387755102,1700]
[null,{"v":16.7,"d":"16.70"},2.28,0.13652694610778443,1700]
[null,{"v":15.2,"d":"15.20"},{"v":2.1,"d":"2.10"},0.13815789473684212,1700]
[null,{"v":18.1,"d":"18.10"},2.38,0.1314917127071823,1700,0.1314917127071823,1700,0.1314917127071823]
[]
[]
["U=700V",{"v":21.6,"d":"21.60"},2.09,0.09675925925925925,700]
[null,{"v":19.8,"d":"19.80"},{"v":2,"d":"2.00"},0.10101010101010101,700]
[null,{"v":17.4,"d":"17.40"},1.83,0.10517241379310346,700]
[null,{"v":13.3,"d":"13.30"},1.45,0.10902255639097744,700]
[null,{"v":21.3,"d":"21.30"},{"v":2.1,"d":"2.10"},0.09859154929577466,700]
[null,{"v":17,"d":"17.00"},1.76,0.10352941176470588,700]
[null,{"v":19.9,"d":"19.90"},1.99,0.1,700]
[null,{"v":15.4,"d":"15.40"},1.66,0.10779220779220779,700]
[null,{"v":18.6,"d":"18.60"},1.92,0.10322580645161289,700]
[null,{"v":16.9,"d":"16.90"},1.72,0.10177514792899409,700]
[null,{"v":15.3,"d":"15.30"},1.71,0.11176470588235293,700,0.11176470588235293,700,0.11176470588235293]
[{"$nulls":3},{"$error":"#DIV/0!"}]
[{"$nulls":3},{"$error":"#DIV/0!"}]
[{"$nulls":3},{"$error":"#DIV/0!"}]
["U=2000V",{"v":23.6,"d":"23.60"},3.15,0.13347457627118642,2000]
[null,{"v":22.6,"d":"22.60"},3.03,0.13407079646017697,2000]
[null,{"v":22.3,"d":"22.30"},3.08,0.13811659192825113,2000]
[null,{"v":11,"d":"11.00"},1.67,0.15181818181818182,2000]
[null,{"v":17.8,"d":"17.80"},2.45,0.13764044943820225,2000]
[null,{"v":10.7,"d":"10.70"},1.59,0.1485981308411215,2000]
[null,{"v":18.8,"d":"18.80"},2.63,0.1398936170212766,2000]
[null,{"v":12.4,"d":"12.40"},1.82,0.1467741935483871,2000]
[null,{"v":17,"d":"17.00"},2.46,0.14470588235294118,2000]
[null,{"v":11.9,"d":"11.90"},{"v":1.8,"d":"1.80"},0.15126050420168066,2000]
[null,{"v":17.9,"d":"17.90"},2.53,0.14134078212290502,2000,0.14134078212290502,2000,0.14134078212290502]
[{"$nulls":3},{"$error":"#DIV/0!"}]
["U=1200V",null,null,{"$error":"#DIV/0!"}]
[null,{"v":15.9,"d":"15.90"},2.01,0.1264150943396226,1200]
[null,{"v":15.9,"d":"15.90"},2.04,0.12830188679245283,1200]
[null,{"v":14.2,"d":"14.20"},1.83,0.12887323943661974,1200]
[null,{"v":19,"d":"19.00"},{"v":2.3,"d":"2.30"},0.12105263157894736,1200]
[null,{"v":13.2,"d":"13.20"},1.72,0.1303030303030303,1200]
[null,{"v":12.7,"d":"12.70"},1.62,0.12755905511811025,1200]
[null,{"v":19.9,"d":"19.90"},1.95,0.09798994974874373,1200]
[null,15.33,2.39,0.1559034572733203,1200]
[null,{"v":13.7,"d":"13.70"},1.97,0.1437956204379562,1200]
[null,{"v":13.3,"d":"13.30"},{"v":1.8,"d":"1.80"},0.13533834586466165,1200]
[null,{"v":16,"d":"16.00"},1.99,0.124375,1200]
[null,{"v":17.4,"d":"17.40"},2.17,0.12471264367816093,1200,0.12471264367816093,1200,0.12471264367816093]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}