{"text_format":"5","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"props":{"creator":"dehning","last_modified_by":"dehning","company":"CERN"},"read":"whole","wrapped":"gz","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":72,"n_cols":12,"rows_kept":72,"flags":["formulas_cached_only"]}
["U=1.500 kV","Ebeam =120 GeV",null,"50/50 pi/prot","1 pic = 2.2 E4 prot",null,"t extrac. = 5 s (integration over 10 s)"]
["beam ¦¦ chamber (long)",{"$nulls":3},"beam T chamber (perpen.)",null,null,"beam ¦¦ chamber (long, 2.5 mm spacing)",null,null,"beam ¦¦ chamber (long, 5.0 mm spacing)"]
["# 3/#5","ioni","pic",{"$nulls":6},"no beam ",23,1]
["60/60",251,5710,null,107,5690,null,211,7110,null,331,7090]
[null,251,5740,null,131,6930,null,211,7170,null,332,7120]
[null,252,5690,null,130,6920,null,212,7170,null,331,7110]
[null,249,5640,null,131,6900,null,214,7210,null,328,7050]
[null,254,5750,{"$nulls":6},"no beam ",21,0]
[]
["40/60",187,4210]
[null,179,4020]
[null,171,3830]
[null,180,4030]
[null,185,4140]
[]
["40/20",119,2660,null,60,3230]
[null,119,2640,null,61,3210]
[null,120,2670,null,60,3160]
[null,117,2610,null,61,3200]
[null,119,2680]
[{"$nulls":9},"no beam ",21,0]
["20/20",63,1390,{"$nulls":4},69,2260,null,94,1720]
[null,61,1350,{"$nulls":4},57,1880,null,96,1720]
[null,64,1400,{"$nulls":4},53,1720,null,94,1710]
[null,63,1380,{"$nulls":4},52,1710,null,94,1710]
[null,62,1380,{"$nulls":4},53,1720]
[]
["20/10",31,699,null,16,834]
[null,32,715,null,16,837]
[null,32,709,null,16,836]
[null,32,718,null,16,841]
[null,32,701]
[]
["10/10",16,373]
[null,17,364]
[null,17,371]
[null,17,366]
[null,16,363]
[]
["10/5",9,193,{"$nulls":4},7,227,null,32,228]
[null,9,193,{"$nulls":4},7,228,null,32,225]
[null,8,191,{"$nulls":4},7,225,null,32,226]
[null,9,192,{"$nulls":4},7,224,null,31,227]
[null,9,196,{"$nulls":4},8,227,null,31,226]
[{"$nulls":9},"no beam",20,0]
[]
[{"$nulls":9},"no beam",19,0]
["5/5",4,105,null,2,111,{"$nulls":4},24,110]
[null,5,105,null,2,113,{"$nulls":4},24,111]
[null,5,107,null,2,112,{"$nulls":4},22,113]
[null,5,105,null,3,114,{"$nulls":4},23,113]
[null,5,105,null,2,111,{"$nulls":4},23,114]
[null,5,108,null,2,115,{"$nulls":4},23,112]
[null,5,107,null,2,115,{"$nulls":3},"no beam",18,0]
[null,4,106,null,2,109,{"$nulls":4},23,112]
[null,5,103,null,2,112,{"$nulls":4},23,114]
[null,4,100,null,2,110,{"$nulls":4},23,112]
[{"$nulls":9},"no beam",18,0]
[{"$nulls":10},18,0]
[{"$nulls":10},18,0]
["3/4",2,43,null,1,51,{"$nulls":4},18,0]
[null,2,42,null,1,52]
[null,2,42,null,1,51]
[null,2,41,null,1,51]
[null,2,55,null,1,51]
[null,2,55,null,1,51]
[null,2,56,null,1,52]
[null,2,53,null,1,51]
[null,3,53,null,1,52]
[null,2,53,null,1,51]
[null,3,48,null,1,52]
[null,2,52,null,1,52]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}