## Summary
summary CH4
| JFET scan | JFET fix | AMPL scan | AMPL fix | COMP scan | COMP fix | MONO scan | MONO fix | avarage collimated | stdev | ratio | free
0 | 0.0578 | 0.035687 | 0.047573 | 0.035687 | 0.059619 | 0.035687 |  | 0.035687 | 0.043963 | 0.010982 | 24.98%
5000000 | 56.9227 | 47.8673 | 64.4622 | 68.1097 | 79.8258 | 82.2747 | 102.34 | 100.8876 | 75.3363 | 19.6921 | 26.14% | 209.1974 | change | 2.7768
10000000 | 1875.5247 | 1698.2378 | 793.0004 | 807.9834 | 1049.9593 | 1067.6223 | 1142.7023 | 1215.7934 | 1206.353 | 390.4477 | 32.37% | 1644.4138 | no change
500000000 | 3709.9475 | 3792.7831 | 4294.3575 | 4624.1293 | 6592.5884 | 6403.8879 | 7104.2258 | 6234 | 5344.4899 | 1376.8075 | 25.76% | 5611.8578 | no change
[7 empty] | horiz | 17.1092
[7 empty] | ratio | 364.3664
values increase with time!!!

## All
Energy : ~ 60 [MeV]
Fluence : | 1400000000 | [p/cm2] |  |  |  |  | Fluence : | 13800000000 | [p/cm2] |  |  |  |  | Fluence : | 54000000000 | [p/cm2] |  |  |  |  | Fluence : | 54000000000 | [p/cm2] |  |  |  |  | Fluence : | 26000000000 | [p/cm2] |  |  |  |  | Fluence : | 11000000000 | [p/cm2] |  |  |  |  | Fluence : | 2000000000 | [p/cm2]
| before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during |  | before | during | after | delta after % | delta during % | delta during
average | 0.063181 | 100.8876 | 0.062762 | -0.66257 | 159580.1483 | 100.8244 | average | 0.054528 | 1159.5804 | 0.066187 | 21.3832 | 2126493.7013 | 1159.5259 | average | 0.0592 | 5893.3333 | 0.0832 | 40.5405 | 9954854.955 | 5893.2741 | average | 0.070627 | 17.1092 | 0.085191 | 20.6206 | 24124.7153 | 17.0385 | average | 0.056674 | 5611.8578 | 0.20847 | 267.8427 | 9901953.1624 | 5611.8012 | average | 0.060041 | 1644.4138 | 0.070339 | 17.1518 | 2738736.1229 | 1644.3538 | average | 0.05789 | 209.1974 | 0.065658 | 13.4182 | 361270.2507 | 209.1395
stdev | #DIV/0! | 6.564 | #DIV/0! |  | #DIV/0! | #DIV/0! | stdev | 0.001826 | 183.8128 | #DIV/0! |  | 10066143.1742 | 183.8128 | stdev | 0.0035355 | 1159.0801 | #DIV/0! |  | 32783635.805 | 1159.0801 | stdev | 0.0051894 | 0.63545 | 0.015121 |  | 12145.1831 | 0.63547 | stdev | #DIV/0! | 661.1985 | 0.18936 |  | #DIV/0! | #DIV/0! | stdev | #DIV/0! | 165.3981 | 0.01212 |  | #DIV/0! | #DIV/0! | stdev | #DIV/0! | 44.4778 | #DIV/0! |  | #DIV/0! | #DIV/0!
[28 empty] | no board, no collimation | [6 empty] | no board, no collimation | [6 empty] | no board, no collimation
MONO 5E6 | [6 empty] | MONO 1E7 | [6 empty] | MONO 5E8 | [6 empty] | MONO 5E8 H | chamber horizontal | [5 empty] | H 5E8 | 5 10^8 | [5 empty] | H 1E7 | 10^7 | [5 empty] | H 5E6 | 5 10^6
2003-06-03 | 5:51 | [5 empty] | 2003-06-03 | 6:04 | [5 empty] | 2003-06-03 | 6:23 | [5 empty] | 2003-06-03 | 6:49 | [5 empty] | 2003-06-03 | 7:12 | [5 empty] | 2003-06-03 | 7:18 | [5 empty] | 2003-06-03 | 7:24
C:\local labview vi\local data\lauvainLN\20030603_0551_04_fixMONO0 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0604_04_fixMONO2 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0623_04_fixMONO3 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0649_04_scanMONO5 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0712_04_fix_chamber1 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0718_04_fix_chamber2 | [6 empty] | C:\local labview vi\local data\lauvainLN\20030603_0724_04_fix_chamber3
Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] | Periods [s] |  |  | Time | Amps | Hz | Sigma [1/s] |  |  |  | Time | Amps | Hz | Sigma [1/s] |  |  |  | Time | Amps | Hz | Sigma [1/s]
5:53 | 9.9998e-10 | 0.063181 | 0.0004847 |  |  |  | 6:06 | 9.9998e-10 | 0.056923 | 0.0013235 |  |  |  | 6:25 | 1e-09 | 0.0617 | 0.0025 |  |  |  | 6:51 | 9.9998e-10 | 0.078453 | 0.00054327 |  |  |  | 7:14 | 9.9998e-10 | 0.056674 | 0.00036363 |  |  |  | 7:20 | 9.9998e-10 | 0.060041 | 0.00085897 |  |  |  | 7:26 | 9.9998e-10 | 0.05789 | 0.001066
5:54 | 9.9998e-10 | 103.5417 | 11.9033 |  |  |  | 6:08 | 9.9998e-10 | 0.054824 | 0.00045779 |  |  |  | 6:28 | 1e-09 | 0.0567 | 0.000955 |  |  |  | 6:52 | 9.9998e-10 | 0.075979 | 0.00066761 |  |  |  | 7:15 | 9.9998e-10 | 4124.8436 | 3466.3522 |  |  |  | 7:20 | 9.9998e-10 | 1292.5698 | 1119.3452 |  |  |  | 7:28 | 9.9998e-10 | 44.0755 | 76.2436
5:54 | 9.9998e-10 | 98.6179 | 4.0662 |  |  |  | 6:10 | 9.9998e-10 | 0.053707 | 0.00033019 |  |  |  | 6:28 | 1e-09 | 7170 | 568 |  |  |  | 6:54 | 9.9998e-10 | 0.073292 | 0.00073389 |  |  |  | 7:15 | 9.9998e-10 | 5959.3083 | 161.0679 |  |  |  | 7:21 | 9.9998e-10 | 1717.2698 | 110.7382 |  |  |  | 7:28 | 9.9998e-10 | 236.3423 | 21.2317
5:54 | 9.9998e-10 | 98.1892 | 1.1406 |  |  |  | 6:12 | 9.9998e-10 | 0.052656 | 0.0003329 |  |  |  | 6:28 | 1e-09 | 6310 | 733 |  |  |  | 6:55 | 9.9998e-10 | 0.071414 | 0.0010067 |  |  |  | 7:15 | 9.9998e-10 | 6101.2913 | 333.3684 |  |  |  | 7:21 | 9.9998e-10 | 1482.5208 | 23.0609 |  |  |  | 7:28 | 9.9998e-10 | 230.5338 | 11.5639
5:54 | 9.9998e-10 | 110.7103 | 6.8714 |  |  |  | 6:12 | 9.9998e-10 | 766.0895 | 679.1639 |  |  |  | 6:29 | 1e-09 | 5710 | 1090 |  |  |  | 6:57 | 9.9998e-10 | 0.06961 | 0.00075901 |  |  |  | 7:15 | 9.9998e-10 | 6128.0674 | 706.0836 |  |  |  | 7:21 | 9.9998e-10 | 1490.5634 | 166.567 |  |  |  | 7:28 | 9.9998e-10 | 229.8784 | 18.9773
5:55 | 9.9998e-10 | 93.379 | 2.8249 |  |  |  | 6:13 | 9.9998e-10 | 1085.6703 | 233.8857 |  |  |  | 6:29 | 1e-09 | 6980 | 1610 |  |  |  | 6:58 | 9.9998e-10 | 0.067539 | 0.00068643 |  |  |  | 7:15 | 9.9998e-10 | 5799.109 | 402.0532 |  |  |  | 7:21 | 9.9998e-10 | 1613.9744 | 112.4541 |  |  |  | 7:28 | 9.9998e-10 | 209.299 | 12.8104
5:56 | 9.9998e-10 | 0.062762 | 0.0032343 |  |  |  | 6:13 | 9.9998e-10 | 1332.0304 | 580.6057 |  |  |  | 6:29 | 1e-09 | 5000 | 831 |  |  |  | 7:00 | 9.9998e-10 | 0.065329 | 0.00068527 |  |  |  | 7:15 | 9.9998e-10 | 5602.418 | 407.467 |  |  |  | 7:21 | 9.9998e-10 | 1660.0272 | 12.6886 |  |  |  | 7:28 | 9.9998e-10 | 234.3582 | 9.2137
5:57 | 9.9998e-10 | NaN | 0 |  |  |  | 6:13 | 9.9998e-10 | 1290.5973 | 414.15 |  |  |  | 6:30 | 1e-09 | 4190 | 3840 |  |  |  | 7:01 | 9.9998e-10 | 0.063398 | 0.0018128 |  |  |  | 7:15 | 9.9998e-10 | 5595.2667 | 494.6916 |  |  |  | 7:21 | 9.9998e-10 | 1815.6855 | 124.5796 |  |  |  | 7:28 | 9.9998e-10 | 224.7638 | 27.9024
[7 empty] | 6:14 | 9.9998e-10 | 1328.6965 | 24.4994 |  |  |  | 6:31 | 1e-09 | 0.0832 | 0.00985 |  |  |  | 7:01 | 9.9998e-10 | 17.1193 | 0.78511 |  |  |  | 7:15 | 9.9998e-10 | 5805.2166 | 446.7446 |  |  |  | 7:21 | 9.9998e-10 | 1871.3299 | 142.9706 |  |  |  | 7:28 | 9.9998e-10 | 206.5632 | 7.3665
[7 empty] | 6:14 | 9.9998e-10 | 1159.1067 | 326.2561 |  |  |  | 6:32 | 1e-09 | NaN | 0 |  |  |  | 7:01 | 9.9998e-10 | 16.9267 | 0.5477 |  |  |  | 7:15 | 9.9998e-10 | 5925.7649 | 35.7277 |  |  |  | 7:21 | 9.9998e-10 | 1849.3783 | 29.7059 |  |  |  | 7:28 | 9.9998e-10 | 203.1788 | 8.4789
[7 empty] | 6:14 | 9.9998e-10 | 1175.8838 | 584.6032 | [10 empty] | 7:01 | 9.9998e-10 | 16.6752 | 0.35683 |  |  |  | 7:15 | 9.9998e-10 | 6125.4886 | 590.6099 |  |  |  | 7:21 | 9.9998e-10 | 1582.4491 | 216.4029 |  |  |  | 7:28 | 9.9998e-10 | 237.2817 | 18.8801
[7 empty] | 6:15 | 9.9998e-10 | 1138.5686 | 996.1023 | [10 empty] | 7:02 | 9.9998e-10 | 16.1871 | 0.60047 |  |  |  | 7:16 | 9.9998e-10 | 4563.6617 | 3945.5815 |  |  |  | 7:21 | 9.9998e-10 | 1485.7689 | 149.8007 |  |  |  | 7:28 | 9.9998e-10 | 215.6811 | 19.8902
[7 empty] | 6:16 | 9.9998e-10 | 0.066187 | 0.0092787 | [10 empty] | 7:02 | 9.9998e-10 | 16.6728 | 0.78587 |  |  |  | 7:16 | 9.9998e-10 | 0.34237 | 0.31186 |  |  |  | 7:21 | 9.9998e-10 | 1631.8955 | 80.7085 |  |  |  | 7:28 | 9.9998e-10 | 220.9047 | 15.7838
[7 empty] | 6:16 | 9.9998e-10 | NaN | 0 | [10 empty] | 7:02 | 9.9998e-10 | 16.6985 | 0.38763 |  |  |  | 7:17 | 9.9998e-10 | 0.07457 | 0.010018 |  |  |  | 7:21 | 9.9998e-10 | 1621.0843 | 175.3664 |  |  |  | 7:29 | 9.9998e-10 | 190.4634 | 24.3986
[21 empty] | 7:02 | 9.9998e-10 | 16.2408 | 0.18727 |  |  |  | 7:18 | 9.9998e-10 | NaN | 0 |  |  |  | 7:21 | 9.9998e-10 | 1896.1703 | 148.9037 |  |  |  | 7:29 | 9.9998e-10 | 209.5405 | 36.4381
[21 empty] | 7:02 | 9.9998e-10 | 16.2855 | 0.81403 |  |  |  | 7:18 | 9.9998e-10 | NaN | 0 |  |  |  | 7:22 | 9.9998e-10 | 1734.2541 | 109.6253 |  |  |  | 7:29 | 9.9998e-10 | 225.1034 | 34.4981
[21 empty] | 7:02 | 9.9998e-10 | 17.4491 | 0.43835 | [10 empty] | 7:22 | 9.9998e-10 | 1565.6794 | 27.0404 |  |  |  | 7:29 | 9.9998e-10 | 225.4021 | 45.3127
[21 empty] | 7:02 | 9.9998e-10 | 16.4891 | 0.99644 | [10 empty] | 7:23 | 9.9998e-10 | 0.078909 | 0.016725 |  |  |  | 7:29 | 9.9998e-10 | 212.9861 | 12.36
[21 empty] | 7:02 | 9.9998e-10 | 17.3705 | 0.70487 | [10 empty] | 7:24 | 9.9998e-10 | 0.061769 | NaN |  |  |  | 7:31 | 9.9998e-10 | 0.065658 | 0.011206
[21 empty] | 7:02 | 9.9998e-10 | 17.3305 | 0.49005 | [10 empty] | 7:24 | 9.9998e-10 | NaN | 0 |  |  |  | 7:31 | 9.9998e-10 | NaN | 0
[21 empty] | 7:02 | 9.9998e-10 | 17.5074 | 0.91791
[21 empty] | 7:02 | 9.9998e-10 | 18.2398 | 0.86936
[21 empty] | 7:02 | 9.9998e-10 | 18.2724 | 1.3179
[21 empty] | 7:02 | 9.9998e-10 | 17.5069 | 0.87824
[21 empty] | 7:03 | 9.9998e-10 | 16.847 | 1.3199
[21 empty] | 7:03 | 9.9998e-10 | 16.7597 | 0.49432
[21 empty] | 7:03 | 9.9998e-10 | 16.8865 | 0.35133
[21 empty] | 7:03 | 9.9998e-10 | 18.15 | 1.6751
[21 empty] | 7:03 | 9.9998e-10 | 17.6775 | 0.34066
[21 empty] | 7:04 | 9.9998e-10 | 0.095882 | 0.016605
[21 empty] | 7:05 | 9.9998e-10 | 0.074499 | 0.0028127
[21 empty] | 7:05 | 9.9998e-10 | NaN | 0
[21 empty] | 7:05 | 9.9998e-10 | NaN | 0