{"text_format":"5","workbook":"xls","n_sheets":10,"sheets":["0","14","28","56","84","112","182","252","526","Amplifier"],"props":{"creator":"gguaglio","last_modified_by":"dehning","company":"CERN"},"not_rendered":{"charts":10,"external_links":1},"unopened":[{"sheet":"Amplifier","index":9,"reason":"not_a_worksheet"}],"read":"whole","wrapped":"gz","date_system":"1900","formulas":"cached_only"}

{"sheet":"0","index":0,"n_rows":18,"n_cols":8,"rows_kept":18,"flags":["formulas_cached_only"]}
[null,null,"before"," during"," after","delta after %","delta during %","delta during"]
[null,"average",{"v":5.123751760666667,"d":"5.12E+00"},{"v":5.123419227,"d":"5.12E+00"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"v":-0.006490042496187787,"d":"-0.01"},{"v":-0.00033253366666663453,"d":"-3.33E-04"}]
[null,"stdev",0.0011623909674592617,0.00033654464123267024,{"$error":"#DIV/0!"},null,{"v":-71.04720781095838,"d":"-71.05"},0.0012101301817462884]
[]
[null,"CH 01","new comparator"]
[null,"2003-10-05","02:17:00"]
[null,"Time in seconds from 00:00, 1 Jan 1904"]
[null,"Time","Amps","Hz","Sigma [1/s]","Periods [s]"]
[37751.09578131945,3135370675.339,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.122452592,"d":"5.12E+00"}]
[37751.095896990744,3135370685.333,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.124693361,"d":"5.12E+00"}]
[37751.09601278935,3135370695.338,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.124109329,"d":"5.12E+00"}]
[37751.096128460646,3135370705.332,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.12429184,"d":"5.12E+00"}]
[37751.09624424768,3135370715.336,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.122927431,"d":"5.12E+00"}]
[37751.09636004629,3135370725.341,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.125271609,"d":"5.13E+00"}]
[37751.09647571759,3135370735.335,{"v":9.999825e-10,"d":"1.00E-09"},{"v":5.1236572,"d":"5.12E+00"}]
[37751.09669560185,3135370754.333,{"v":9.999831e-10,"d":"1.00E-09"},{"v":5.123181254,"d":"5.12E+00"}]
[37751.09679400463,3135370762.835,{"v":9.999837e-10,"d":"1.00E-09"}]
[37751.09683457176,3135370766.34,{"v":9.999828e-10,"d":"1.00E-09"}]

{"sheet":"14","index":1,"n_rows":29,"n_cols":8,"rows_kept":29,"flags":["formulas_cached_only"]}
["Energy   :    60.12 [MeV]",{"$nulls":3},"Energy   :    60.12 [MeV]"]
[" Run time :       37 [sec]",{"$nulls":3}," Run time :       46 [sec]"]
[" Fluence  : 3.441e+07 [p/cm2]",{"$nulls":3}," Fluence  : 1.026e+10 [p/cm2]"]
[" Dose     : 4.714e+00 [rad]",{"$nulls":3}," Dose     : 1.405e+03 [rad]"]
[]
[" Flux     : 9.301e+05 [p/cm2/sec]",{"$nulls":3}," Flux     : 2.230e+08 [p/cm2/sec]"]
[" Doserate : 1.274e-01 [rad/sec]",{"$nulls":3}," Doserate : 3.054e+01 [rad/sec]"]
[null,null,"before"," during"," after","delta after %","delta during %","delta during"]
[null,"average",{"v":5.1246159559999995,"d":"5.12E+00"},{"v":9.749407076666666,"d":"9.75E+00"},{"v":5.128261621249999,"d":"5.13E+00"},{"v":0.07114026263239648,"d":"7.11E-02"},{"v":90.24658941031223,"d":"90.25"},{"v":4.624791120666666,"d":"4.62E+00"}]
[null,"stdev",0.0008970547950015635,0.35209267316380466,0.0006221811861221449,null,{"v":39149.85130514697,"d":"39149.85"},0.3520938159112412]
[]
[null,"CH 01","new comparetor"]
[null,"2003-10-05","02:20:00"]
[null,"Time in seconds from 00:00, 1 Jan 1904"]
[null,"Time","Amps","Hz","Sigma [1/s]","Periods [s]"]
[37751.097494201385,3135370823.332,{"v":9.99982e-10,"d":"1.00E-09"},{"v":5.12360317,"d":"5.12E+00"}]
[37751.09760998842,3135370833.336,{"v":9.999851e-10,"d":"1.00E-09"},{"v":5.124934185,"d":"5.12E+00"}]
[37751.09783565972,3135370852.834,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.125310513,"d":"5.13E+00"}]
[37751.09795145834,3135370862.839,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.125330995,"d":"5.13E+00"}]
[37751.09807292824,3135370873.334,{"v":9.999831e-10,"d":"1.00E-09"},{"v":10.12803792,"d":"1.01E+01"}]
[37751.098188715274,3135370883.338,{"v":9.999834e-10,"d":"1.00E-09"},{"v":9.68834244,"d":"9.69E+00"}]
[37751.098298599536,3135370892.832,{"v":9.999831e-10,"d":"1.00E-09"},{"v":9.43184087,"d":"9.43E+00"}]
[37751.09842018518,3135370903.337,{"v":9.999839e-10,"d":"1.00E-09"},{"v":9.24810642,"d":"9.25E+00"}]
[37751.09864585648,3135370922.835,{"v":9.999848e-10,"d":"1.00E-09"},{"v":5.1273749,"d":"5.13E+00"}]
[37751.098767442134,3135370933.34,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.128004363,"d":"5.13E+00"}]
[37751.098883113424,3135370943.334,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.129186793,"d":"5.13E+00"}]
[37751.098998912035,3135370953.339,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.128017524,"d":"5.13E+00"}]
[37751.09911458333,3135370963.333,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.127837805,"d":"5.13E+00"}]
[37751.09915515046,3135370966.838,{"v":9.999829e-10,"d":"1.00E-09"}]

{"sheet":"28","index":2,"n_rows":31,"n_cols":8,"rows_kept":31,"flags":["formulas_cached_only"]}
["Energy   :    60.12 [MeV]"]
[" Run time :       47 [sec]"]
[" Fluence  : 1.045e+10 [p/cm2]"]
[" Dose     : 1.431e+03 [rad]"]
[]
[" Flux     : 2.223e+08 [p/cm2/sec]"]
[" Doserate : 3.045e+01 [rad/sec]"]
[null,null,"before"," during"," after","delta after %","delta during %","delta during"]
[null,"average",{"v":5.129244715666666,"d":"5.13E+00"},{"v":9.03396745,"d":"9.03E+00"},{"v":5.131856310749999,"d":"5.13E+00"},{"v":0.0509157825002271,"d":"5.09E-02"},{"v":76.12666095666725,"d":"76.13"},{"v":3.904722734333334,"d":"3.90E+00"}]
[null,"stdev",0.0005730506421344698,0.14978896665635671,0.00017971762153802214,null,{"v":26038.870745948458,"d":"26038.87"},0.14979006281799068]
[]
[null,"CH 01"]
[null,"2003-10-05","02:23:00"]
[null,"Time in seconds from 00:00, 1 Jan 1904"]
[null,"Time","Amps","Hz","Sigma [1/s]","Periods [s]"]
[37751.10002898148,3135371042.337,{"v":9.999827e-10,"d":"1.00E-09"},{"v":5.129463687,"d":"5.13E+00"}]
[37751.10014465277,3135371052.331,{"v":9.999831e-10,"d":"1.00E-09"},{"v":5.129675994,"d":"5.13E+00"}]
[37751.100260439816,3135371062.335,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.128594466,"d":"5.13E+00"}]
[37751.10037623843,3135371072.34,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.129280213,"d":"5.13E+00"}]
[37751.100486111114,3135371081.833,{"v":9.999833e-10,"d":"1.00E-09"},{"v":8.223286704,"d":"8.22E+00"}]
[37751.10060770834,3135371092.339,{"v":9.999837e-10,"d":"1.00E-09"},{"v":9.20682543,"d":"9.21E+00"}]
[37751.10072337963,3135371102.333,{"v":9.999834e-10,"d":"1.00E-09"},{"v":8.94235931,"d":"8.94E+00"}]
[37751.10083916666,3135371112.337,{"v":9.999835e-10,"d":"1.00E-09"},{"v":8.95271761,"d":"8.95E+00"}]
[37751.100954849535,3135371122.332,{"v":9.999829e-10,"d":"1.00E-09"},{"v":8.892049623,"d":"8.89E+00"}]
[37751.10107063657,3135371132.336,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.131121358,"d":"5.13E+00"}]
[37751.10118063657,3135371141.84,{"v":9.999827e-10,"d":"1.00E-09"},{"v":5.131831925,"d":"5.13E+00"}]
[37751.10130210648,3135371152.335,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.131501371,"d":"5.13E+00"}]
[37751.10142369213,3135371162.84,{"v":9.999829e-10,"d":"1.00E-09"},{"v":5.131544395,"d":"5.13E+00"}]
[37751.10154516203,3135371173.335,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.132547552,"d":"5.13E+00"}]
[37751.101585729164,3135371176.84,{"v":9.99983e-10,"d":"1.00E-09"}]
[null,3135371180.335,{"v":9.999828e-10,"d":"1.00E-09"}]

{"sheet":"56","index":3,"n_rows":30,"n_cols":24,"rows_kept":30,"flags":["formulas_cached_only"]}
["Energy   :    60.12 [MeV]"]
[" Run time :       94 [sec]"]
[" Fluence  : 2.021e+10 [p/cm2]"]
[" Dose     : 2.768e+03 [rad]"]
[]
[" Flux     : 2.150e+08 [p/cm2/sec]"]
[" Doserate : 2.945e+01 [rad/sec]"]
[null,null,"before"," during"," after","delta after %","delta during %","delta during",{"$nulls":10},"before"," during"," after","delta after %","delta during %","delta during"]
[null,"average",{"v":5.133113115666666,"d":"5.13E+00"},{"v":8.858621201,"d":"8.86E+00"},{"v":5.128272605666667,"d":"5.13E+00"},{"v":-0.09429969476467681,"d":"-9.43E-02"},{"v":72.57794639207908,"d":"72.58"},{"v":3.7255080853333338,"d":"3.73E+00"},{"$nulls":9},"average",{"v":5.045817302666666,"d":"5.05E+00"},{"v":6.3251511030000005,"d":"6.33E+00"},{"v":5.0455041566666665,"d":"5.05E+00"},{"v":-0.006206051095714038,"d":"-6.21E-03"},{"v":25.35434248991175,"d":"25.35"},{"v":1.279333800333334,"d":"1.28E+00"}]
[null,"stdev",0.0006962776884136549,0.05422817797429824,0.0005854089477757117,null,{"v":7688.29752506468,"d":"7688.30"},0.05423264781505276,{"$nulls":9},"stdev",0.001819238647587425,0.03480120868245765,0.004693834555234468,null,{"v":1812.9545608878261,"d":"1812.95"},0.034848726734514154]
[]
[null,"CH 01",{"$nulls":15},"CH 03"]
[null,"2003-10-05","02:26:00",{"$nulls":14},"2003-10-05","02:26:00"]
[null,"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":15},"Time in seconds from 00:00, 1 Jan 1904"]
[null,"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":11},"Time","Amps","Hz","Sigma [1/s]","Periods [s]"]
[37751.101857650465,3135371200.334,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.133908902,"d":"5.13E+00"},{"$nulls":12},37751.1019734375,3135371210.338,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.043784026,"d":"5.04E+00"}]
[37751.102083321755,3135371219.832,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.132814448,"d":"5.13E+00"},{"$nulls":12},37751.1022049074,3135371230.337,{"v":9.999825e-10,"d":"1.00E-09"},{"v":5.04637681,"d":"5.05E+00"}]
[37751.102424780096,3135371249.334,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.132615997,"d":"5.13E+00"},{"$nulls":12},37751.10254057871,3135371259.339,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.047291072,"d":"5.05E+00"}]
[37751.102656250005,3135371269.333,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.132673015,"d":"5.13E+00"},{"$nulls":12},37751.102777835644,3135371279.838,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.043938491,"d":"5.04E+00"}]
[37751.10289930556,3135371290.333,{"v":9.999834e-10,"d":"1.00E-09"},{"v":9.16135045,"d":"9.16E+00"},{"$nulls":12},37751.10301510416,3135371300.338,{"v":9.99983e-10,"d":"1.00E-09"},{"v":6.333813568,"d":"6.33E+00"}]
[37751.10312497685,3135371309.831,{"v":9.999833e-10,"d":"1.00E-09"},{"v":8.91831724,"d":"8.92E+00"},{"$nulls":12},37751.103246562496,3135371320.336,{"v":9.999831e-10,"d":"1.00E-09"},{"v":6.28634983,"d":"6.29E+00"}]
[37751.10336236111,3135371330.341,{"v":9.999834e-10,"d":"1.00E-09"},{"v":8.812403011,"d":"8.81E+00"},{"$nulls":12},37751.10347223379,3135371339.834,{"v":9.999837e-10,"d":"1.00E-09"},{"v":6.335498009,"d":"6.34E+00"}]
[37751.103593831016,3135371350.34,{"v":9.999829e-10,"d":"1.00E-09"},{"v":8.845143352,"d":"8.85E+00"},{"$nulls":12},37751.10370950231,3135371360.334,{"v":9.999832e-10,"d":"1.00E-09"},{"v":6.35360547,"d":"6.35E+00"}]
[37751.10382528935,3135371370.338,{"v":9.999838e-10,"d":"1.00E-09"},{"v":8.761051038,"d":"8.76E+00"},{"$nulls":12},37751.10394097222,3135371380.333,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.636023249,"d":"5.64E+00"}]
[37751.10405675926,3135371390.337,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.128144898,"d":"5.13E+00"},{"$nulls":12},37751.104172430554,3135371400.331,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.042721532,"d":"5.04E+00"}]
[37751.104288229166,3135371410.336,{"v":9.999825e-10,"d":"1.00E-09"},{"v":5.128524271,"d":"5.13E+00"},{"$nulls":12},37751.104513900464,3135371429.834,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.045525693,"d":"5.05E+00"}]
[37751.10463548611,3135371440.339,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.127603448,"d":"5.13E+00"},{"$nulls":12},37751.10475695602,3135371450.834,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.040799591,"d":"5.04E+00"}]
[37751.10487854167,3135371461.339,{"v":9.999829e-10,"d":"1.00E-09"},{"v":5.128690098,"d":"5.13E+00"},{"$nulls":12},37751.10500001157,3135371471.834,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.050187186,"d":"5.05E+00"}]
[37751.10504637731,3135371475.84,{"v":9.999837e-10,"d":"1.00E-09"},{"$nulls":13},37751.10509262732,3135371479.836,{"v":9.999839e-10,"d":"1.00E-09"}]
[37751.10513319445,3135371483.341,{"v":9.99983e-10,"d":"1.00E-09"}]

{"sheet":"84","index":4,"n_rows":30,"n_cols":24,"rows_kept":30,"flags":["formulas_cached_only"]}
["Energy   :    60.12 [MeV]"]
[" Run time :      113 [sec]"]
[" Fluence  : 2.029e+10 [p/cm2]"]
[" Dose     : 2.780e+03 [rad]"]
[]
[" Flux     : 1.796e+08 [p/cm2/sec]"]
[" Doserate : 2.460e+01 [rad/sec]"]
[null,null,"before"," during"," after","delta after %","delta during %","delta during",{"$nulls":10},"before"," during"," after","delta after %","delta during %","delta during"]
[null,"average",{"v":5.128607160666666,"d":"5.13E+00"},{"v":8.656847214666668,"d":"8.66E+00"},{"v":5.120157898333333,"d":"5.12E+00"},{"v":-0.16474769988495952,"d":"-1.65E-01"},{"v":68.79528775491875,"d":"68.80"},{"v":3.528240054000001,"d":"3.53E+00"},{"$nulls":9},"average",{"v":5.044581169000001,"d":"5.04E+00"},{"v":6.083498394,"d":"6.08E+00"},{"v":5.04152958,"d":"5.04E+00"},{"v":-0.06049241548047313,"d":"-6.05E-02"},{"v":20.594717186520107,"d":"20.59"},{"v":1.0389172249999996,"d":"1.04E+00"}]
[null,"stdev",0.0006396030597128882,0.03328536762731559,0.00038939228595679043,null,{"v":5104.066353631435,"d":"5104.07"},0.03329151228405737,{"$nulls":9},"stdev",0.0016726180523260253,0.04517162814789154,0.0021335509198373752,null,{"v":2600.65410839454,"d":"2600.65"},0.045202584446913587]
[]
[null,"CH 01",{"$nulls":15},"CH 03"]
[null,"2003-10-05","02:31:00",{"$nulls":14},"2003-10-05","02:31:00"]
[null,"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":15},"Time in seconds from 00:00, 1 Jan 1904"]
[null,"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":11},"Time","Amps","Hz","Sigma [1/s]","Periods [s]"]
[37751.105416701386,3135371507.836,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.129154761,"d":"5.13E+00"},{"$nulls":12},37751.105653969906,3135371528.336,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.042652419,"d":"5.04E+00"}]
[37751.10576395834,3135371537.839,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.128762537,"d":"5.13E+00"},{"$nulls":12},37751.10588542824,3135371548.334,{"v":9.999841e-10,"d":"1.00E-09"},{"v":5.045632686,"d":"5.05E+00"}]
[37751.10600122685,3135371558.339,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.127904184,"d":"5.13E+00"},{"$nulls":12},37751.10611689815,3135371568.333,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.045458402,"d":"5.05E+00"}]
[37751.10623268518,3135371578.337,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.127665651,"d":"5.13E+00"},{"$nulls":12},37751.10635415509,3135371588.832,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.043406377,"d":"5.04E+00"}]
[37751.10647575231,3135371599.338,{"v":9.99984e-10,"d":"1.00E-09"},{"v":8.680975235,"d":"8.68E+00"},{"$nulls":12},37751.10659142361,3135371609.332,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.970262702,"d":"5.97E+00"}]
[37751.106707210645,3135371619.336,{"v":9.999833e-10,"d":"1.00E-09"},{"v":8.624264474,"d":"8.62E+00"},{"$nulls":12},37751.10693288194,3135371638.834,{"v":9.999837e-10,"d":"1.00E-09"},{"v":6.031686387,"d":"6.03E+00"}]
[37751.107048680555,3135371648.839,{"v":9.99984e-10,"d":"1.00E-09"},{"v":8.655483856,"d":"8.66E+00"},{"$nulls":12},37751.10717015046,3135371659.334,{"v":9.999841e-10,"d":"1.00E-09"},{"v":6.104197389,"d":"6.10E+00"}]
[37751.1072859375,3135371669.338,{"v":9.999831e-10,"d":"1.00E-09"},{"v":8.690793314,"d":"8.69E+00"},{"$nulls":12},37751.10740162037,3135371679.333,{"v":9.999833e-10,"d":"1.00E-09"},{"v":6.114611406,"d":"6.11E+00"}]
[37751.10751740741,3135371689.337,{"v":9.999832e-10,"d":"1.00E-09"},{"v":8.680497196,"d":"8.68E+00"},{"$nulls":12},37751.107638877314,3135371699.832,{"v":9.999832e-10,"d":"1.00E-09"},{"v":6.099059294,"d":"6.10E+00"}]
[37751.10776046296,3135371710.337,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.949305947,"d":"5.95E+00"},{"$nulls":12},37751.10788193287,3135371720.832,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.044758012,"d":"5.04E+00"}]
[37751.108003518515,3135371731.337,{"v":9.999827e-10,"d":"1.00E-09"},{"v":5.119894058,"d":"5.12E+00"},{"$nulls":12},37751.10812498842,3135371741.832,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.043955501,"d":"5.04E+00"}]
[37751.108246585645,3135371752.338,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.119974513,"d":"5.12E+00"},{"$nulls":12},37751.10847225694,3135371771.836,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.03994484,"d":"5.04E+00"}]
[37751.108703715276,3135371791.834,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.120605124,"d":"5.12E+00"},{"$nulls":12},37751.1088253125,3135371802.34,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.040688399,"d":"5.04E+00"}]
[37751.10889473379,3135371808.338,{"v":9.999828e-10,"d":"1.00E-09"},{"$nulls":13},37751.10892938657,3135371811.332,{"v":9.999832e-10,"d":"1.00E-09"}]
[37751.10896416666,3135371814.337,{"v":9.999859e-10,"d":"1.00E-09"}]

{"sheet":"112","index":5,"n_rows":29,"n_cols":32,"rows_kept":29,"flags":["formulas_cached_only"]}
["Energy   :    60.12 [MeV]"]
[" Run time :       93 [sec]"]
[" Fluence  : 2.031e+10 [p/cm2]"]
[" Dose     : 2.782e+03 [rad]"]
[]
[" Flux     : 2.184e+08 [p/cm2/sec]"]
[" Doserate : 2.992e+01 [rad/sec]"]
[null,null,"before"," during"," after","delta after %","delta during %","delta during",{"$nulls":18},"before"," during"," after","delta after %","delta during %","delta during"]
[null,"average",{"v":5.120139593333334,"d":"5.12E+00"},{"v":9.002296196666668,"d":"9.00E+00"},{"v":5.110277336333334,"d":"5.11E+00"},{"v":-0.1926169554603785,"d":"-1.93E-01"},{"v":75.82130394233954,"d":"75.82"},{"v":3.8821566033333346,"d":"3.88E+00"},{"$nulls":17},"average",{"v":5.088907011,"d":"5.09E+00"},{"v":5.417223959666667,"d":"5.42E+00"},{"v":5.088415124,"d":"5.09E+00"},{"v":-0.009665867325470145,"d":"-9.67E-03"},{"v":6.451620121118129,"d":"6.45"},{"v":0.32831694866666705,"d":"3.28E-01"}]
[null,"stdev",0.0011755969163497247,0.01064404070575664,0.0007101948327081615,null,{"v":805.4158408995158,"d":"805.42"},0.010708764198334712,{"$nulls":17},"stdev",0.004450335507902249,0.0065340346829613994,0.0024491179056251584,null,{"v":46.821170479376796,"d":"46.82"},0.007905636936454775]
[]
[null,"CH 01",{"$nulls":23},"CH 04"]
[null,"2003-10-05","02:37:00",{"$nulls":22},"2003-10-05","02:37:00"]
[null,"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":23},"Time in seconds from 00:00, 1 Jan 1904"]
[null,"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":19},"Time","Amps","Hz","Sigma [1/s]","Periods [s]"]
[37751.10950232639,3135371860.834,{"v":9.999824e-10,"d":"1.00E-09"},{"v":5.119801048,"d":"5.12E+00"},{"$nulls":20},37751.10962391204,3135371871.339,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.087708221,"d":"5.09E+00"}]
[37751.109739583335,3135371881.333,{"v":9.999853e-10,"d":"1.00E-09"},{"v":5.119170416,"d":"5.12E+00"},{"$nulls":20},37751.10986116898,3135371891.838,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.085178859,"d":"5.09E+00"}]
[37751.10998263889,3135371902.333,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.121447316,"d":"5.12E+00"},{"$nulls":20},37751.110104224535,3135371912.838,{"v":9.999829e-10,"d":"1.00E-09"},{"v":5.093833953,"d":"5.09E+00"}]
[37751.11022569444,3135371923.333,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.120522332,"d":"5.12E+00"},{"$nulls":20},37751.110347291666,3135371933.839,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.090550601,"d":"5.09E+00"}]
[37751.11046876157,3135371944.334,{"v":9.999832e-10,"d":"1.00E-09"},{"v":8.457400694,"d":"8.46E+00"},{"$nulls":20},37751.11059034723,3135371954.839,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.409706055,"d":"5.41E+00"}]
[37751.11071181713,3135371965.334,{"v":9.999837e-10,"d":"1.00E-09"},{"v":9.00471182,"d":"9.00E+00"},{"$nulls":20},37751.11083340278,3135371975.839,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.42043115,"d":"5.42E+00"}]
[37751.11095487269,3135371986.334,{"v":9.999833e-10,"d":"1.00E-09"},{"v":8.99065195,"d":"8.99E+00"},{"$nulls":20},37751.111076458335,3135371996.839,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.421534674,"d":"5.42E+00"}]
[37751.11119792824,3135372007.334,{"v":9.999833e-10,"d":"1.00E-09"},{"v":9.01152482,"d":"9.01E+00"},{"$nulls":20},37751.11142939815,3135372027.333,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.429610098,"d":"5.43E+00"}]
[37751.11154518518,3135372037.337,{"v":9.999832e-10,"d":"1.00E-09"},{"v":6.024445338,"d":"6.02E+00"},{"$nulls":20},37751.11166086805,3135372047.332,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.088622702,"d":"5.09E+00"}]
[37751.11177665509,3135372057.336,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.108470402,"d":"5.11E+00"},{"$nulls":20},37751.11200232639,3135372076.834,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.08562289,"d":"5.09E+00"}]
[37751.11212391204,3135372087.339,{"v":9.999831e-10,"d":"1.00E-09"},{"v":5.109931878,"d":"5.11E+00"},{"$nulls":20},37751.112239594906,3135372097.334,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.090199507,"d":"5.09E+00"}]
[37751.11236118056,3135372107.839,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.109805961,"d":"5.11E+00"},{"$nulls":20},37751.11248265046,3135372118.334,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.089422975,"d":"5.09E+00"}]
[37751.112598437496,3135372128.338,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.11109417,"d":"5.11E+00"},{"$nulls":20},37751.11271412037,3135372138.333,{"v":9.99984e-10,"d":"1.00E-09"}]
[37751.11274888889,3135372141.337,{"v":9.999831e-10,"d":"1.00E-09"}]

{"sheet":"182","index":6,"n_rows":30,"n_cols":32,"rows_kept":30,"flags":["formulas_cached_only"]}
["Energy   :    60.12 [MeV]"]
[" Run time :      231 [sec]"]
[" Fluence  : 5.027e+10 [p/cm2]"]
[" Dose     : 6.887e+03 [rad]"]
[]
[" Flux     : 2.176e+08 [p/cm2/sec]"]
[" Doserate : 2.981e+01 [rad/sec]"]
[null,null,"before"," during"," after","delta after %","delta during %","delta during",null,null,"before"," during"," after","delta after %","delta during %","delta during",null,null,"before"," during"," after","delta after %","delta during %","delta during",null,null,"before"," during"," after","delta after %","delta during %","delta during"]
[null,"average",{"v":5.111135088666667,"d":"5.11E+00"},{"v":9.130175726666666,"d":"9.13E+00"},{"v":5.088419873,"d":"5.09E+00"},{"v":-0.4444260476901718,"d":"-4.44E-01"},{"v":78.63303489887683,"d":"78.63"},{"v":4.019040637999999,"d":"4.02E+00"},null,"average",{"v":5.11202154,"d":"5.11E+00"},{"v":5.296418177,"d":"5.30E+00"},{"v":5.116810029,"d":"5.12E+00"},{"v":0.0936711428645598,"d":"9.37E-02"},{"v":3.6071177626532336,"d":"3.61"},{"v":0.18439663699999986,"d":"1.84E-01"},null,"average",{"v":5.042312105333333,"d":"5.04E+00"},{"v":6.2438048550000005,"d":"6.24E+00"},{"v":5.037124323333334,"d":"5.04E+00"},{"v":-0.10288498394440682,"d":"-1.03E-01"},{"v":23.828210641618753,"d":"23.83"},{"v":1.2014927496666674,"d":"1.20E+00"},null,"average",{"v":5.091011243666666,"d":"5.09E+00"},{"v":5.417593960666667,"d":"5.42E+00"},{"v":5.082038872666667,"d":"5.08E+00"},{"v":-0.17623946541389657,"d":"-1.76E-01"},{"v":6.414888935990404,"d":"6.41"},{"v":0.32658271700000086,"d":"3.27E-01"}]
[null,"stdev",0.00035879243542352946,0.049247638325767173,0.002058895602319684,null,{"v":13625.941091158671,"d":"13625.94"},0.04924894529507499,null,"stdev",0.0013226407343917754,0.0026504741858958372,0.001690498648620427,null,{"v":100.3926022371203,"d":"100.39"},0.002962160009582976,null,"stdev",0.003675044263965749,0.024245113050841923,0.00018828681801821604,null,{"v":559.7230212590409,"d":"559.72"},0.024522060622839445,null,"stdev",0.0004491194835439852,0.0015814900903702133,0.00857675485200482,null,{"v":252.13125867769836,"d":"252.13"},0.0016440253089408331]
[]
[null,"CH 01",{"$nulls":7},"CH 02",{"$nulls":7},"CH 03",{"$nulls":7},"CH 04"]
[null,"2003-10-05","02:42:00",{"$nulls":6},"2003-10-05","02:42:00",{"$nulls":6},"2003-10-05","02:42:00",{"$nulls":6},"2003-10-05","02:42:00"]
[null,"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":7},"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":7},"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":7},"Time in seconds from 00:00, 1 Jan 1904"]
[null,"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":3},"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":3},"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":3},"Time","Amps","Hz","Sigma [1/s]","Periods [s]"]
[37751.11291092592,3135372155.337,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.110723012,"d":"5.11E+00"},{"$nulls":4},37751.11312501157,3135372173.834,{"v":9.999841e-10,"d":"1.00E-09"},{"v":5.111693721,"d":"5.11E+00"},{"$nulls":4},37751.113246597226,3135372184.339,{"v":9.999841e-10,"d":"1.00E-09"},{"v":5.038343743,"d":"5.04E+00"},{"$nulls":4},37751.11336806713,3135372194.834,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.09071925,"d":"5.09E+00"}]
[37751.11348965278,3135372205.339,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.111304024,"d":"5.11E+00"},{"$nulls":4},37751.11361112269,3135372215.834,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.113477262,"d":"5.11E+00"},{"$nulls":4},37751.113732708334,3135372226.339,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.042994355,"d":"5.04E+00"},{"$nulls":4},37751.113958379625,3135372245.837,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.090786076,"d":"5.09E+00"}]
[37751.11407984953,3135372256.332,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.11137823,"d":"5.11E+00"},{"$nulls":4},37751.114201435186,3135372266.837,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.110893637,"d":"5.11E+00"},{"$nulls":4},37751.11432291667,3135372277.333,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.045598218,"d":"5.05E+00"},{"$nulls":4},37751.1144387037,3135372287.337,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.091528405,"d":"5.09E+00"}]
[37751.114554374995,3135372297.331,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.111664964,"d":"5.11E+00"},{"$nulls":4},37751.11467017361,3135372307.336,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.11915724,"d":"5.12E+00"},{"$nulls":4},37751.11479175926,3135372317.841,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.046291864,"d":"5.05E+00"},{"$nulls":4},37751.11491322917,3135372328.336,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.090627969,"d":"5.09E+00"}]
[37751.115133101855,3135372347.333,{"v":9.999843e-10,"d":"1.00E-09"},{"v":9.27739621,"d":"9.28E+00"},{"$nulls":4},37751.11524890046,3135372357.338,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.289202144,"d":"5.29E+00"},{"$nulls":4},37751.11547457176,3135372376.836,{"v":9.999829e-10,"d":"1.00E-09"},{"v":6.299935215,"d":"6.30E+00"},{"$nulls":4},37751.115596157404,3135372387.341,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.423719188,"d":"5.42E+00"}]
[37751.1157118287,3135372397.335,{"v":9.99983e-10,"d":"1.00E-09"},{"v":9.17007379,"d":"9.17E+00"},{"$nulls":4},37751.115833414355,3135372407.84,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.294018831,"d":"5.29E+00"},{"$nulls":4},37751.115954884255,3135372418.335,{"v":9.99983e-10,"d":"1.00E-09"},{"v":6.267210478,"d":"6.27E+00"},{"$nulls":4},37751.116070682874,3135372428.34,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.419302386,"d":"5.42E+00"}]
[37751.116186354164,3135372438.334,{"v":9.999832e-10,"d":"1.00E-09"},{"v":9.07513484,"d":"9.08E+00"},{"$nulls":4},37751.1163021412,3135372448.338,{"v":9.999829e-10,"d":"1.00E-09"},{"v":5.295972442,"d":"5.30E+00"},{"$nulls":4},37751.11641782407,3135372458.333,{"v":9.999834e-10,"d":"1.00E-09"},{"v":6.245404604,"d":"6.25E+00"},{"$nulls":4},37751.11653361111,3135372468.337,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.417298383,"d":"5.42E+00"}]
[37751.11664929398,3135372478.332,{"v":9.99983e-10,"d":"1.00E-09"},{"v":9.14531855,"d":"9.15E+00"},{"$nulls":4},37751.11677087963,3135372488.837,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.299263258,"d":"5.30E+00"},{"$nulls":4},37751.11700233796,3135372508.835,{"v":9.999832e-10,"d":"1.00E-09"},{"v":6.218799483,"d":"6.22E+00"},{"$nulls":4},37751.11712393518,3135372519.341,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.416181113,"d":"5.42E+00"}]
[37751.11723960648,3135372529.335,{"v":9.999831e-10,"d":"1.00E-09"},{"v":9.15868965,"d":"9.16E+00"},{"$nulls":4},37751.11735539352,3135372539.339,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.290299219,"d":"5.29E+00"},{"$nulls":4},37751.11746527778,3135372548.833,{"v":9.999837e-10,"d":"1.00E-09"},{"v":6.240309739,"d":"6.24E+00"},{"$nulls":4},37751.117586863424,3135372559.338,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.420939592,"d":"5.42E+00"}]
[37751.11770833333,3135372569.833,{"v":9.999827e-10,"d":"1.00E-09"},{"v":6.433315398,"d":"6.43E+00"},{"$nulls":4},37751.11782991898,3135372580.338,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.113912495,"d":"5.11E+00"},{"$nulls":4},37751.118055590276,3135372599.836,{"v":9.999829e-10,"d":"1.00E-09"},{"v":5.039747228,"d":"5.04E+00"},{"$nulls":4},37751.11817706018,3135372610.331,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.092296816,"d":"5.09E+00"}]
[37751.118292858795,3135372620.336,{"v":9.999831e-10,"d":"1.00E-09"},{"v":5.086052568,"d":"5.09E+00"},{"$nulls":4},37751.11840864583,3135372630.34,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.118760705,"d":"5.12E+00"},{"$nulls":4},37751.11852431713,3135372640.334,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.037340031,"d":"5.04E+00"},{"$nulls":4},37751.11864011574,3135372650.339,{"v":9.999829e-10,"d":"1.00E-09"},{"v":5.08534278,"d":"5.09E+00"}]
[37751.118755787036,3135372660.333,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.089413917,"d":"5.09E+00"},{"$nulls":4},37751.11887158565,3135372670.338,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.115897405,"d":"5.12E+00"},{"$nulls":4},37751.118993055556,3135372680.833,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.03699292,"d":"5.04E+00"},{"$nulls":4},37751.1191146412,3135372691.338,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.072301508,"d":"5.07E+00"}]
[37751.11923611111,3135372701.833,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.089793134,"d":"5.09E+00"},{"$nulls":4},37751.119357696756,3135372712.338,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.115771977,"d":"5.12E+00"},{"$nulls":4},37751.11947916667,3135372722.833,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.037040019,"d":"5.04E+00"},{"$nulls":4},37751.11960075231,3135372733.338,{"v":9.999841e-10,"d":"1.00E-09"},{"v":5.08847233,"d":"5.09E+00"}]
[37751.11971643518,3135372743.333,{"v":9.999831e-10,"d":"1.00E-09"},{"$nulls":5},37751.119757002314,3135372746.838,{"v":9.999837e-10,"d":"1.00E-09"}]
[37751.119797453706,3135372750.333,{"v":9.999839e-10,"d":"1.00E-09"}]

{"sheet":"252","index":7,"n_rows":30,"n_cols":32,"rows_kept":30,"flags":["formulas_cached_only"]}
["Energy   :    60.12 [MeV]"]
[" Run time :      228 [sec]"]
[" Fluence  : 5.031e+10 [p/cm2]"]
[" Dose     : 6.892e+03 [rad]"]
[]
[" Flux     : 2.207e+08 [p/cm2/sec]"]
[" Doserate : 3.023e+01 [rad/sec]"]
[null,null,"before"," during"," after","delta after %","delta during %","delta during",null,null,"before"," during"," after","delta after %","delta during %","delta during",null,null,"before"," during"," after","delta after %","delta during %","delta during",null,null,"before"," during"," after","delta after %","delta during %","delta during"]
[null,"average",{"v":5.088952388333333,"d":"5.09E+00"},{"v":9.427906716666667,"d":"9.43E+00"},{"v":5.070518597666667,"d":"5.07E+00"},{"v":-0.3622315411896282,"d":"-3.62E-01"},{"v":85.2622307546165,"d":"85.26"},{"v":4.338954328333334,"d":"4.34E+00"},null,"average",{"v":5.118481135333333,"d":"5.12E+00"},{"v":5.291729890666667,"d":"5.29E+00"},{"v":5.114808208333333,"d":"5.11E+00"},{"v":-0.07175814275538483,"d":"-7.18E-02"},{"v":3.384768855303233,"d":"3.38"},{"v":0.17324875533333373,"d":"1.73E-01"},null,"average",{"v":5.009733954333334,"d":"5.01E+00"},{"v":6.147773902666667,"d":"6.15E+00"},{"v":5.035257738333334,"d":"5.04E+00"},{"v":0.5094838215494946,"d":"5.09E-01"},{"v":22.716574546816947,"d":"22.72"},{"v":1.1380399483333328,"d":"1.14E+00"},null,"average",{"v":5.068953819666667,"d":"5.07E+00"},{"v":5.417852935333333,"d":"5.42E+00"},{"v":5.086653828333333,"d":"5.09E+00"},{"v":0.3491846502525542,"d":"3.49E-01"},{"v":6.883059662390267,"d":"6.88"},{"v":0.34889911566666676,"d":"3.49E-01"}]
[null,"stdev",0.0016389969968678422,0.0464826621577858,0.0019883639300913893,null,{"v":2736.0431560652733,"d":"2736.04"},0.04651154902205036,null,"stdev",0.00285584710007547,0.005475685663651763,0.004231600932487836,null,{"v":91.73595335363227,"d":"91.74"},0.0061756777883994985,null,"stdev",0.04748205249676883,0.07973914684685644,0.0020808835112486636,null,{"v":67.9353411529182,"d":"67.94"},0.0928055863036835,null,"stdev",0.036468844599013665,0.015646109026111882,0.0020473031360731054,null,{"v":-57.097327326528344,"d":"-57.10"},0.03968346449144767]
[]
[null,"CH 01",{"$nulls":7},"CH 02",{"$nulls":7},"CH 03",{"$nulls":7},"CH 04"]
[null,"2003-10-05","02:52:00",{"$nulls":6},"2003-10-05","02:52:00",{"$nulls":6},"2003-10-05","02:52:00",{"$nulls":6},"2003-10-05","02:52:00"]
[null,"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":7},"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":7},"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":7},"Time in seconds from 00:00, 1 Jan 1904"]
[null,"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":3},"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":3},"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":3},"Time","Amps","Hz","Sigma [1/s]","Periods [s]"]
[37751.11993642361,3135372762.34,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.090598942,"d":"5.09E+00"},{"$nulls":4},37751.120052094906,3135372772.334,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.119446988,"d":"5.12E+00"},{"$nulls":4},37751.12017368056,3135372782.839,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.038328292,"d":"5.04E+00"},{"$nulls":4},37751.12029515046,3135372793.334,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.08670564,"d":"5.09E+00"}]
[37751.12052662037,3135372813.333,{"v":9.999851e-10,"d":"1.00E-09"},{"v":5.088937169,"d":"5.09E+00"},{"$nulls":4},37751.12064241898,3135372823.338,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.120728815,"d":"5.12E+00"},{"$nulls":4},37751.12076388889,3135372833.833,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.035949971,"d":"5.04E+00"},{"$nulls":4},37751.120885474535,3135372844.338,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.093148006,"d":"5.09E+00"}]
[37751.12100694444,3135372854.833,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.087321054,"d":"5.09E+00"},{"$nulls":4},37751.12112853009,3135372865.338,{"v":9.999831e-10,"d":"1.00E-09"},{"v":5.115267603,"d":"5.12E+00"},{"$nulls":4},37751.121244201386,3135372875.332,{"v":9.999832e-10,"d":"1.00E-09"},{"v":4.9549236,"d":"4.95E+00"},{"$nulls":4},37751.12135420139,3135372884.836,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.027007813,"d":"5.03E+00"}]
[37751.12147578704,3135372895.341,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.118600717,"d":"5.12E+00"},{"$nulls":4},37751.12159725694,3135372905.836,{"v":9.999831e-10,"d":"1.00E-09"},{"v":5.11724371,"d":"5.12E+00"},{"$nulls":4},37751.12171872685,3135372916.331,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.040800606,"d":"5.04E+00"},{"$nulls":4},37751.1218403125,3135372926.836,{"v":9.999831e-10,"d":"1.00E-09"},{"v":5.160276314,"d":"5.16E+00"}]
[37751.12196179398,3135372937.332,{"v":9.999839e-10,"d":"1.00E-09"},{"v":8.227770897,"d":"8.23E+00"},{"$nulls":4},37751.122083379625,3135372947.837,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.301376272,"d":"5.30E+00"},{"$nulls":4},37751.12220484953,3135372958.332,{"v":9.999838e-10,"d":"1.00E-09"},{"v":6.225660266,"d":"6.23E+00"},{"$nulls":4},37751.122320636576,3135372968.336,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.419659034,"d":"5.42E+00"}]
[37751.12254630787,3135372987.834,{"v":9.999834e-10,"d":"1.00E-09"},{"v":9.46918205,"d":"9.47E+00"},{"$nulls":4},37751.12267369213,3135372998.84,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.295787635,"d":"5.30E+00"},{"$nulls":4},37751.12279516204,3135373009.335,{"v":9.999832e-10,"d":"1.00E-09"},{"v":6.239459878,"d":"6.24E+00"},{"$nulls":4},37751.122916747685,3135373019.84,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.435845869,"d":"5.44E+00"}]
[37751.12303821759,3135373030.335,{"v":9.999833e-10,"d":"1.00E-09"},{"v":9.37755545,"d":"9.38E+00"},{"$nulls":4},37751.12315980324,3135373040.84,{"v":9.999829e-10,"d":"1.00E-09"},{"v":5.293900324,"d":"5.29E+00"},{"$nulls":4},37751.12328127315,3135373051.335,{"v":9.999828e-10,"d":"1.00E-09"},{"v":6.094610192,"d":"6.09E+00"},{"$nulls":4},37751.123512743055,3135373071.334,{"v":9.999841e-10,"d":"1.00E-09"},{"v":5.40744527,"d":"5.41E+00"}]
[37751.12362854167,3135373081.339,{"v":9.999835e-10,"d":"1.00E-09"},{"v":9.43698265,"d":"9.44E+00"},{"$nulls":4},37751.123750011575,3135373091.834,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.285501713,"d":"5.29E+00"},{"$nulls":4},37751.12387159722,3135373102.339,{"v":9.999831e-10,"d":"1.00E-09"},{"v":6.109251638,"d":"6.11E+00"},{"$nulls":4},37751.12399306713,3135373112.834,{"v":9.999831e-10,"d":"1.00E-09"},{"v":5.410267667,"d":"5.41E+00"}]
[37751.12411465278,3135373123.339,{"v":9.999834e-10,"d":"1.00E-09"},{"v":9.45263804,"d":"9.45E+00"},{"$nulls":4},37751.12423612268,3135373133.834,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.293319596,"d":"5.29E+00"},{"$nulls":4},37751.12435770834,3135373144.339,{"v":9.999837e-10,"d":"1.00E-09"},{"v":6.21101432,"d":"6.21E+00"},{"$nulls":4},37751.12447917824,3135373154.834,{"v":9.999842e-10,"d":"1.00E-09"},{"v":5.42091074,"d":"5.42E+00"}]
[37751.12460076389,3135373165.339,{"v":9.999838e-10,"d":"1.00E-09"},{"v":6.580215169,"d":"6.58E+00"},{"$nulls":4},37751.1247222338,3135373175.834,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.116498506,"d":"5.12E+00"},{"$nulls":4},37751.12484383102,3135373186.34,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.038924986,"d":"5.04E+00"},{"$nulls":4},37751.12495950232,3135373196.334,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.089440677,"d":"5.09E+00"}]
[37751.12507528935,3135373206.338,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.068236994,"d":"5.07E+00"},{"$nulls":4},37751.12519097223,3135373216.333,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.119589528,"d":"5.12E+00"},{"$nulls":4},37751.125312557866,3135373226.838,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.033786088,"d":"5.03E+00"},{"$nulls":4},37751.12543402778,3135373237.333,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.084491921,"d":"5.08E+00"}]
[37751.12555561342,3135373247.838,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.071881446,"d":"5.07E+00"},{"$nulls":4},37751.125677083335,3135373258.333,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.111545377,"d":"5.11E+00"},{"$nulls":4},37751.12579866898,3135373268.838,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.037638483,"d":"5.04E+00"},{"$nulls":4},37751.12592013889,3135373279.333,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.088563074,"d":"5.09E+00"}]
[37751.126035937494,3135373289.338,{"v":9.999843e-10,"d":"1.00E-09"},{"v":5.071437353,"d":"5.07E+00"},{"$nulls":4},37751.12626160879,3135373308.836,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.11328972,"d":"5.11E+00"},{"$nulls":4},37751.12638887731,3135373319.832,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.034348644,"d":"5.03E+00"},{"$nulls":4},37751.126510462964,3135373330.337,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.08690649,"d":"5.09E+00"}]
[37751.12658568287,3135373336.836,{"v":9.99984e-10,"d":"1.00E-09"},{"$nulls":5},37751.12662613425,3135373340.331,{"v":9.999841e-10,"d":"1.00E-09"}]
[37751.126666701384,3135373343.836,{"v":9.999829e-10,"d":"1.00E-09"}]

{"sheet":"526","index":8,"n_rows":48,"n_cols":32,"rows_kept":48,"flags":["formulas_cached_only"]}
["Energy   :    60.12 [MeV]"]
[" Run time :      964 [sec]"]
[" Fluence  : 2.002e+11 [p/cm2]"]
[" Dose     : 2.743e+04 [rad]"]
[]
[" Flux     : 2.077e+08 [p/cm2/sec]"]
[" Doserate : 2.846e+01 [rad/sec]"]
[null,null,"before"," during"," after","delta after %","delta during %","delta during",null,null,"before"," during"," after","delta after %","delta during %","delta during",null,null,"before"," during"," after","delta after %","delta during %","delta during",null,null,"before"," during"," after","delta after %","delta during %","delta during"]
[null,"average",{"v":5.093057880333333,"d":"5.09E+00"},{"v":9.805678159500001,"d":"9.81E+00"},{"v":5.026730424666666,"d":"5.03E+00"},{"v":-1.302311052124272,"d":"-1.30E+00"},{"v":92.53027139872665,"d":"92.53"},{"v":4.712620279166668,"d":"4.71E+00"},null,"average",{"v":5.120124619,"d":"5.12E+00"},{"v":5.2914195232,"d":"5.29E+00"},{"v":5.1080977763333335,"d":"5.11E+00"},{"v":-0.23489355360681863,"d":"-2.35E-01"},{"v":3.345522168822823,"d":"3.35"},{"v":0.17129490419999982,"d":"1.71E-01"},null,"average",{"v":5.047264915,"d":"5.05E+00"},{"v":6.103430939750001,"d":"6.10E+00"},{"v":5.027257349,"d":"5.03E+00"},{"v":-0.3964041186056977,"d":"-3.96E-01"},{"v":20.92551198593071,"d":"20.93"},{"v":1.0561660247500004,"d":"1.06E+00"},null,"average",{"v":5.090809163666666,"d":"5.09E+00"},{"v":5.4039625008000005,"d":"5.40E+00"},{"v":5.0272335395,"d":"5.03E+00"},{"v":-1.248831416043017,"d":"-1.25E+00"},{"v":6.151347007236563,"d":"6.15"},{"v":0.3131533371333344,"d":"3.13E-01"}]
[null,"stdev",0.0008700428318659095,0.15569792602765828,0.0013197112869962606,null,{"v":17795.432308056108,"d":"17795.43"},0.1557003569162365,null,"stdev",0.002600773686036834,0.006129298027852237,0.00124156533441333,null,{"v":135.6721025270105,"d":"135.67"},0.006658251878700215,null,"stdev",0.0007433291928213572,0.061285021905724296,0.0022321579179670073,null,{"v":8144.667705449959,"d":"8144.67"},0.06128952967900804,null,"stdev",0.000819987872288385,0.010489541552503938,0.005327872112351119,null,{"v":1179.2313041448042,"d":"1179.23"},0.010521542761991074]
[]
[null,"CH 01",{"$nulls":7},"CH 02",{"$nulls":7},"CH 03",{"$nulls":7},"CH 04"]
[null,"2003-10-05","03:16:00",{"$nulls":6},"2003-10-05","03:16:00",{"$nulls":6},"2003-10-05","03:16:00",{"$nulls":6},"2003-10-05","03:16:00"]
[null,"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":7},"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":7},"Time in seconds from 00:00, 1 Jan 1904",{"$nulls":7},"Time in seconds from 00:00, 1 Jan 1904"]
[null,"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":3},"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":3},"Time","Amps","Hz","Sigma [1/s]","Periods [s]",{"$nulls":3},"Time","Amps","Hz","Sigma [1/s]","Periods [s]"]
[37751.13666672453,3135374207.838,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.094014537,"d":"5.09E+00"},{"$nulls":4},37751.13678820602,3135374218.334,{"v":9.99983e-10,"d":"1.00E-09"},{"v":5.121747663,"d":"5.12E+00"},{"$nulls":4},37751.13690979167,3135374228.839,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.04716724,"d":"5.05E+00"},{"$nulls":4},37751.137031261576,3135374239.334,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.089864013,"d":"5.09E+00"}]
[37751.137147048605,3135374249.338,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.092845222,"d":"5.09E+00"},{"$nulls":4},37751.13725693287,3135374258.832,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.12150132,"d":"5.12E+00"},{"$nulls":4},37751.13737851851,3135374269.337,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.046575252,"d":"5.05E+00"},{"$nulls":4},37751.13749998842,3135374279.832,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.091232772,"d":"5.09E+00"}]
[37751.137621574075,3135374290.337,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.092313882,"d":"5.09E+00"},{"$nulls":4},37751.137737245364,3135374300.331,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.117124874,"d":"5.12E+00"},{"$nulls":4},37751.13785304398,3135374310.336,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.048052253,"d":"5.05E+00"},{"$nulls":4},37751.13807871528,3135374329.834,{"v":9.999829e-10,"d":"1.00E-09"},{"v":5.091330706,"d":"5.09E+00"}]
[37751.13820030093,3135374340.339,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.092885671,"d":"5.09E+00"},{"$nulls":4},37751.138315972225,3135374350.333,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.11918439,"d":"5.12E+00"},{"$nulls":4},37751.138437557864,3135374360.838,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.043113035,"d":"5.04E+00"},{"$nulls":4},37751.138559039355,3135374371.334,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.089775486,"d":"5.09E+00"}]
[37751.13867482638,3135374381.338,{"v":9.999838e-10,"d":"1.00E-09"},{"v":9.53469238,"d":"9.53E+00"},{"$nulls":4},37751.13890049768,3135374400.836,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.296219119,"d":"5.30E+00"},{"$nulls":4},37751.1390277662,3135374411.832,{"v":9.999837e-10,"d":"1.00E-09"},{"v":6.173060632,"d":"6.17E+00"},{"$nulls":4},37751.13914935185,3135374422.337,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.391799959,"d":"5.39E+00"}]
[37751.13936922454,3135374441.334,{"v":9.999838e-10,"d":"1.00E-09"},{"v":9.61149206,"d":"9.61E+00"},{"$nulls":4},37751.13948502315,3135374451.339,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.291030179,"d":"5.29E+00"},{"$nulls":4},37751.13960069445,3135374461.333,{"v":9.999832e-10,"d":"1.00E-09"},{"v":6.202250138,"d":"6.20E+00"},{"$nulls":4},37751.13972228009,3135374471.838,{"v":9.999832e-10,"d":"1.00E-09"},{"v":5.42132625,"d":"5.42E+00"}]
[37751.13984375,3135374482.333,{"v":9.99984e-10,"d":"1.00E-09"},{"v":9.77127288,"d":"9.77E+00"},{"$nulls":4},37751.13995954861,3135374492.338,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.292072894,"d":"5.29E+00"},{"$nulls":4},37751.140075219904,3135374502.332,{"v":9.999834e-10,"d":"1.00E-09"},{"v":6.169109679,"d":"6.17E+00"},{"$nulls":4},37751.14019100694,3135374512.336,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.417484173,"d":"5.42E+00"}]
[37751.1404108912,3135374531.334,{"v":9.999835e-10,"d":"1.00E-09"},{"v":9.58764049,"d":"9.59E+00"},{"$nulls":4},37751.14052667824,3135374541.338,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.287854764,"d":"5.29E+00"},{"$nulls":4},37751.140642349535,3135374551.332,{"v":9.999834e-10,"d":"1.00E-09"},{"v":6.163392387,"d":"6.16E+00"},{"$nulls":4},37751.14075814815,3135374561.337,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.402308072,"d":"5.40E+00"}]
[37751.14097222222,3135374579.833,{"v":9.999837e-10,"d":"1.00E-09"},{"v":9.61195405,"d":"9.61E+00"},{"$nulls":4},37751.14109380787,3135374590.338,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.289837771,"d":"5.29E+00"},{"$nulls":4},37751.14121528935,3135374600.834,{"v":9.999837e-10,"d":"1.00E-09"},{"v":6.142096271,"d":"6.14E+00"},{"$nulls":4},37751.141336875,3135374611.339,{"v":9.999831e-10,"d":"1.00E-09"},{"v":5.395620271,"d":"5.40E+00"}]
[37751.1414525463,3135374621.333,{"v":9.999837e-10,"d":"1.00E-09"},{"v":9.63621274,"d":"9.64E+00"},{"$nulls":4},37751.14156833333,3135374631.337,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.294128708,"d":"5.29E+00"},{"$nulls":4},37751.1416840162,3135374641.332,{"v":9.999843e-10,"d":"1.00E-09"},{"v":6.150455532,"d":"6.15E+00"},{"$nulls":4},37751.14191548611,3135374661.331,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.418003807,"d":"5.42E+00"}]
[37751.14203127315,3135374671.335,{"v":9.999858e-10,"d":"1.00E-09"},{"v":9.60767149,"d":"9.61E+00"},{"$nulls":4},37751.142152858796,3135374681.84,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.288347544,"d":"5.29E+00"},{"$nulls":4},37751.142274328704,3135374692.335,{"v":9.999838e-10,"d":"1.00E-09"},{"v":6.106610793,"d":"6.11E+00"},{"$nulls":4},37751.1425,3135374711.833,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.398629876,"d":"5.40E+00"}]
[37751.14262158565,3135374722.338,{"v":9.999834e-10,"d":"1.00E-09"},{"v":9.80834409,"d":"9.81E+00"},{"$nulls":4},37751.142743055556,3135374732.833,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.295659129,"d":"5.30E+00"},{"$nulls":4},37751.1428646412,3135374743.338,{"v":9.999834e-10,"d":"1.00E-09"},{"v":6.090051426,"d":"6.09E+00"},{"$nulls":4},37751.142986122686,3135374753.834,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.403070826,"d":"5.40E+00"}]
[37751.14310770833,3135374764.339,{"v":9.999832e-10,"d":"1.00E-09"},{"v":10.03190829,"d":"1.00E+01"},{"$nulls":4},37751.14322917824,3135374774.834,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.299900045,"d":"5.30E+00"},{"$nulls":4},37751.143350763894,3135374785.339,{"v":9.999834e-10,"d":"1.00E-09"},{"v":6.134469663,"d":"6.13E+00"},{"$nulls":4},37751.143472233794,3135374795.834,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.408643122,"d":"5.41E+00"}]
[37751.14359381945,3135374806.339,{"v":9.99984e-10,"d":"1.00E-09"},{"v":9.8257973,"d":"9.83E+00"},{"$nulls":4},37751.14371528935,3135374816.834,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.291628753,"d":"5.29E+00"},{"$nulls":4},37751.143836875,3135374827.339,{"v":9.999844e-10,"d":"1.00E-09"},{"v":6.121655714,"d":"6.12E+00"},{"$nulls":4},37751.14395834491,3135374837.834,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.413278339,"d":"5.41E+00"}]
[37751.14407993056,3135374848.339,{"v":9.999838e-10,"d":"1.00E-09"},{"v":9.85149379,"d":"9.85E+00"},{"$nulls":4},37751.14420141203,3135374858.835,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.294490332,"d":"5.29E+00"},{"$nulls":4},37751.14432299769,3135374869.34,{"v":9.999838e-10,"d":"1.00E-09"},{"v":6.126376083,"d":"6.13E+00"},{"$nulls":4},37751.144438668984,3135374879.334,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.400569399,"d":"5.40E+00"}]
[37751.14454866898,3135374888.838,{"v":9.999841e-10,"d":"1.00E-09"},{"v":9.85945576,"d":"9.86E+00"},{"$nulls":4},37751.14467013889,3135374899.333,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.297964281,"d":"5.30E+00"},{"$nulls":4},37751.14478592592,3135374909.337,{"v":9.999834e-10,"d":"1.00E-09"},{"v":6.115176165,"d":"6.12E+00"},{"$nulls":4},37751.14490160879,3135374919.332,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.413101573,"d":"5.41E+00"}]
[37751.14501739583,3135374929.336,{"v":9.99984e-10,"d":"1.00E-09"},{"v":9.91315565,"d":"9.91E+00"},{"$nulls":4},37751.14524306713,3135374948.834,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.296058584,"d":"5.30E+00"},{"$nulls":4},37751.14536465278,3135374959.339,{"v":9.999839e-10,"d":"1.00E-09"},{"v":6.116789792,"d":"6.12E+00"},{"$nulls":4},37751.14548032408,3135374969.333,{"v":9.999841e-10,"d":"1.00E-09"},{"v":5.410642119,"d":"5.41E+00"}]
[37751.14559612268,3135374979.338,{"v":9.999834e-10,"d":"1.00E-09"},{"v":9.9424679,"d":"9.94E+00"},{"$nulls":4},37751.14571179398,3135374989.332,{"v":9.999842e-10,"d":"1.00E-09"},{"v":5.298426104,"d":"5.30E+00"},{"$nulls":4},37751.145833379625,3135374999.837,{"v":9.999839e-10,"d":"1.00E-09"},{"v":6.145773005,"d":"6.15E+00"},{"$nulls":4},37751.14595484953,3135375010.332,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.408706119,"d":"5.41E+00"}]
[37751.146070648145,3135375020.337,{"v":9.999839e-10,"d":"1.00E-09"},{"v":9.97165671,"d":"9.97E+00"},{"$nulls":4},37751.14618631944,3135375030.331,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.302921058,"d":"5.30E+00"},{"$nulls":4},37751.14630211805,3135375040.336,{"v":9.999834e-10,"d":"1.00E-09"},{"v":6.09867805,"d":"6.10E+00"},{"$nulls":4},37751.14642370371,3135375050.841,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.396488715,"d":"5.40E+00"}]
[37751.14654517361,3135375061.336,{"v":9.99984e-10,"d":"1.00E-09"},{"v":9.62314139,"d":"9.62E+00"},{"$nulls":4},37751.14666675926,3135375071.841,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.284934369,"d":"5.28E+00"},{"$nulls":4},37751.14678822916,3135375082.336,{"v":9.999831e-10,"d":"1.00E-09"},{"v":5.931734781,"d":"5.93E+00"},{"$nulls":4},37751.147008101856,3135375101.333,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.381334343,"d":"5.38E+00"}]
[37751.14712390046,3135375111.338,{"v":9.999843e-10,"d":"1.00E-09"},{"v":9.6401068,"d":"9.64E+00"},{"$nulls":4},37751.14723957176,3135375121.332,{"v":9.999833e-10,"d":"1.00E-09"},{"v":5.278410341,"d":"5.28E+00"},{"$nulls":4},37751.147361157404,3135375131.837,{"v":9.999837e-10,"d":"1.00E-09"},{"v":6.027048578,"d":"6.03E+00"},{"$nulls":4},37751.14748262731,3135375142.332,{"v":9.999841e-10,"d":"1.00E-09"},{"v":5.411082177,"d":"5.41E+00"}]
[37751.14759842592,3135375152.337,{"v":9.999842e-10,"d":"1.00E-09"},{"v":9.92331506,"d":"9.92E+00"},{"$nulls":4},37751.14771409722,3135375162.331,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.284167159,"d":"5.28E+00"},{"$nulls":4},37751.147829884256,3135375172.335,{"v":9.999837e-10,"d":"1.00E-09"},{"v":6.061980364,"d":"6.06E+00"},{"$nulls":4},37751.14795146991,3135375182.84,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.39695265,"d":"5.40E+00"}]
[37751.148072951386,3135375193.336,{"v":9.999837e-10,"d":"1.00E-09"},{"v":9.92964531,"d":"9.93E+00"},{"$nulls":4},37751.14819453704,3135375203.841,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.287132441,"d":"5.29E+00"},{"$nulls":4},37751.14831600694,3135375214.336,{"v":9.999837e-10,"d":"1.00E-09"},{"v":6.086255043,"d":"6.09E+00"},{"$nulls":4},37751.14854746528,3135375234.334,{"v":9.999842e-10,"d":"1.00E-09"},{"v":5.39587931,"d":"5.40E+00"}]
[37751.14866326389,3135375244.339,{"v":9.999841e-10,"d":"1.00E-09"},{"v":9.95899702,"d":"9.96E+00"},{"$nulls":4},37751.14889473379,3135375264.338,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.284526797,"d":"5.28E+00"},{"$nulls":4},37751.14901040509,3135375274.332,{"v":9.99984e-10,"d":"1.00E-09"},{"v":6.027113592,"d":"6.03E+00"},{"$nulls":4},37751.149131990736,3135375284.837,{"v":9.999842e-10,"d":"1.00E-09"},{"v":5.398812619,"d":"5.40E+00"}]
[37751.149253460644,3135375295.332,{"v":9.999841e-10,"d":"1.00E-09"},{"v":10.00783441,"d":"1.00E+01"},{"$nulls":4},37751.14937504629,3135375305.837,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.288899211,"d":"5.29E+00"},{"$nulls":4},37751.1494965162,3135375316.332,{"v":9.999844e-10,"d":"1.00E-09"},{"v":6.051601739,"d":"6.05E+00"},{"$nulls":4},37751.14961231481,3135375326.337,{"v":9.999838e-10,"d":"1.00E-09"},{"v":5.387316256,"d":"5.39E+00"}]
[37751.14982638889,3135375344.833,{"v":9.999829e-10,"d":"1.00E-09"},{"v":6.169060458,"d":"6.17E+00"},{"$nulls":4},37751.14994797453,3135375355.338,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.103357258,"d":"5.10E+00"},{"$nulls":4},37751.150069456016,3135375365.834,{"v":9.999835e-10,"d":"1.00E-09"},{"v":5.034174837,"d":"5.03E+00"},{"$nulls":4},37751.15019104167,3135375376.339,{"v":9.999842e-10,"d":"1.00E-09"},{"v":5.084303915,"d":"5.08E+00"}]
[37751.15031251158,3135375386.834,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.030983176,"d":"5.03E+00"},{"$nulls":4},37751.150434097224,3135375397.339,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.111134137,"d":"5.11E+00"},{"$nulls":4},37751.15055556713,3135375407.834,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.034147051,"d":"5.03E+00"},{"$nulls":4},37751.15067715278,3135375418.339,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.080010959,"d":"5.08E+00"}]
[37751.150798622686,3135375428.834,{"v":9.999842e-10,"d":"1.00E-09"},{"v":5.028204589,"d":"5.03E+00"},{"$nulls":4},37751.15092020833,3135375439.339,{"v":9.999842e-10,"d":"1.00E-09"},{"v":5.10941486,"d":"5.11E+00"},{"$nulls":4},37751.15115167824,3135375459.338,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.028835723,"d":"5.03E+00"},{"$nulls":4},37751.15126734953,3135375469.332,{"v":9.999837e-10,"d":"1.00E-09"},{"v":5.023466165,"d":"5.02E+00"}]
[37751.15138314814,3135375479.337,{"v":9.999842e-10,"d":"1.00E-09"},{"v":5.025659026,"d":"5.03E+00"},{"$nulls":4},37751.15149881944,3135375489.331,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.106948875,"d":"5.11E+00"},{"$nulls":4},37751.15161461805,3135375499.336,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.025678975,"d":"5.03E+00"},{"$nulls":4},37751.151736203705,3135375509.841,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.031000914,"d":"5.03E+00"}]
[37751.15185767361,3135375520.336,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.026327659,"d":"5.03E+00"},{"$nulls":4},37751.15197925926,3135375530.841,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.107929594,"d":"5.11E+00"},{"$nulls":4},37751.152297534725,3135375558.34,{"v":9.999838e-10,"d":"1.00E-09"},{"$nulls":5},37751.15260422453,3135375584.838,{"v":9.99983e-10,"d":"1.00E-09"}]
[37751.15284729167,3135375605.839,{"v":9.999839e-10,"d":"1.00E-09"},{"v":5.194515142,"d":"5.19E+00"},{"$nulls":4},37751.15313659722,3135375630.835,{"v":9.999828e-10,"d":"1.00E-09"},{"v":5.066285843,"d":"5.07E+00"},{"$nulls":4},37751.1533102199,3135375645.836,{"v":9.99984e-10,"d":"1.00E-09"},{"v":5.020547519,"d":"5.02E+00"},{"$nulls":4},37751.15343168981,3135375656.331,{"v":9.999834e-10,"d":"1.00E-09"},{"v":5.013654859,"d":"5.01E+00"}]
[null,3135375661.839,{"v":9.999844e-10,"d":"1.00E-09"},{"$nulls":6},3135375665.334,{"v":9.999842e-10,"d":"1.00E-09"}]
[null,3135375668.839,{"v":9.999844e-10,"d":"1.00E-09"}]