{"text_format":"5","workbook":"xls","n_sheets":5,"sheets":["Channel 1","Channel 2","Channel 3","Channel 4","Sheet1"],"props":{"creator":"gguaglio","last_modified_by":"dehning","company":"CERN"},"not_rendered":{"charts":4,"external_links":1},"unopened":[{"sheet":"Channel 1","index":0,"reason":"not_a_worksheet"},{"sheet":"Channel 2","index":1,"reason":"not_a_worksheet"},{"sheet":"Channel 3","index":2,"reason":"not_a_worksheet"},{"sheet":"Channel 4","index":3,"reason":"not_a_worksheet"}],"read":"whole","wrapped":"gz","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":4,"n_rows":142,"n_cols":15,"rows_kept":142,"flags":["formulas_cached_only"]}
["original 6 points",{"$nulls":3},"original 6 points",{"$nulls":3},"original 6 points",{"$nulls":3},"original 6 points"]
["20030509_1858_01_test",{"$nulls":3},"20030509_1858_02_test",{"$nulls":3},"20030509_1858_03_test",{"$nulls":3},"20030509_1858_04_test"]
["Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods"]
[{"v":0.0009999987,"d":"1.00E-03"},{"v":5227500,"d":"5.23E+06"},null,null,{"v":0.000999998,"d":"1.00E-03"},{"v":5160700,"d":"5.16E+06"},null,null,{"v":0.0009999976,"d":"1.00E-03"},{"v":5257800,"d":"5.26E+06"},null,null,{"v":0.001000001,"d":"1.00E-03"},{"v":5117800,"d":"5.12E+06"}]
[{"v":0.0005000653,"d":"5.00E-04"},{"v":2543000,"d":"2.54E+06"},null,null,{"v":0.0005000646,"d":"5.00E-04"},{"v":2504500,"d":"2.50E+06"},null,null,{"v":0.0005000645,"d":"5.00E-04"},{"v":2496400,"d":"2.50E+06"},null,null,{"v":0.0005000648,"d":"5.00E-04"},{"v":2500500,"d":"2.50E+06"}]
[{"v":9.999832e-05,"d":"1.00E-04"},{"v":511720,"d":"5.12E+05"},null,null,{"v":9.999837e-05,"d":"1.00E-04"},{"v":502780,"d":"5.03E+05"},null,null,{"v":9.999832e-05,"d":"1.00E-04"},{"v":500780,"d":"5.01E+05"},null,null,{"v":9.999836e-05,"d":"1.00E-04"},{"v":502010,"d":"5.02E+05"}]
[{"v":9.999839e-07,"d":"1.00E-06"},{"v":5123.49,"d":"5.12E+03"},null,null,{"v":9.999848e-07,"d":"1.00E-06"},{"v":5029.283,"d":"5.03E+03"},null,null,{"v":9.99984e-07,"d":"1.00E-06"},{"v":5010.684,"d":"5.01E+03"},null,null,{"v":9.999839e-07,"d":"1.00E-06"},{"v":5026.469,"d":"5.03E+03"}]
[{"v":9.999843e-09,"d":"1.00E-08"},{"v":51.2686797,"d":"5.13E+01"},null,null,{"v":9.999831e-09,"d":"1.00E-08"},{"v":50.2936223,"d":"5.03E+01"},null,null,{"v":9.999838e-09,"d":"1.00E-08"},{"v":50.0866193,"d":"5.01E+01"},null,null,{"v":9.999838e-09,"d":"1.00E-08"},{"v":50.232356,"d":"5.02E+01"}]
[{"v":9.999837e-11,"d":"1.00E-10"},{"v":0.5131018909,"d":"5.13E-01"},null,null,{"v":9.999841e-11,"d":"1.00E-10"},{"v":0.5098226105,"d":"5.10E-01"},null,null,{"v":9.999843e-11,"d":"1.00E-10"},{"v":0.5136425881,"d":"5.14E-01"},null,null,{"v":9.999838e-11,"d":"1.00E-10"},{"v":0.5254401203,"d":"5.25E-01"}]
[{"v":3.000316e-11,"d":"3.00E-11"},{"v":0.1514989551,"d":"1.51E-01"},5,null,{"v":3.000316e-11,"d":"3.00E-11"},{"v":0.1562035352,"d":"1.56E-01"},7,null,{"v":3.000318e-11,"d":"3.00E-11"},{"v":0.1640532038,"d":"1.64E-01"},7,null,{"v":3.000315e-11,"d":"3.00E-11"},{"v":0.1586477234,"d":"1.59E-01"},5]
[{"$nulls":4},{"v":1.000267e-11,"d":"1.00E-11"},{"v":0.05379628496,"d":"5.38E-02"},7]
[]
["original 3 points",{"$nulls":3},"original 3 points",{"$nulls":3},"original 3 points",{"$nulls":3},"original 3 points"]
["20030509_2050_01_test",{"$nulls":3},"20030509_2050_02_test",{"$nulls":3},"20030509_2050_03_test",{"$nulls":3},"20030509_2050_04_test"]
["Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods"]
[{"v":0.0009999969,"d":"1.00E-03"},"TIMEOUT",null,null,{"v":0.0009999961,"d":"1.00E-03"},{"v":5171400,"d":"5.17E+06"},null,null,{"v":0.000999995,"d":"1.00E-03"},{"v":5267500,"d":"5.27E+06"},null,null,{"v":0.0009999988,"d":"1.00E-03"},{"v":5131700,"d":"5.13E+06"}]
[{"v":0.0005000627,"d":"5.00E-04"},{"v":2542400,"d":"2.54E+06"},null,null,{"v":0.0005000633,"d":"5.00E-04"},{"v":2504200,"d":"2.50E+06"},null,null,{"v":0.0005000621,"d":"5.00E-04"},{"v":2494000,"d":"2.49E+06"},null,null,{"v":0.0005000617,"d":"5.00E-04"},{"v":2500300,"d":"2.50E+06"}]
[{"v":9.999824e-05,"d":"1.00E-04"},{"v":511650,"d":"5.12E+05"},null,null,{"v":9.999822e-05,"d":"1.00E-04"},{"v":502790,"d":"5.03E+05"},null,null,{"v":9.999824e-05,"d":"1.00E-04"},{"v":500240,"d":"5.00E+05"},null,null,{"v":9.999816e-05,"d":"1.00E-04"},{"v":501970,"d":"5.02E+05"}]
[{"v":9.999821e-07,"d":"1.00E-06"},{"v":5121.542,"d":"5.12E+03"},null,null,{"v":9.999829e-07,"d":"1.00E-06"},{"v":5028.398,"d":"5.03E+03"},null,null,{"v":9.999829e-07,"d":"1.00E-06"},{"v":5003.942,"d":"5.00E+03"},null,null,{"v":9.999837e-07,"d":"1.00E-06"},{"v":5025.782,"d":"5.03E+03"}]
[{"v":9.999829e-09,"d":"1.00E-08"},{"v":51.2585938,"d":"5.13E+01"},null,null,{"v":9.999829e-09,"d":"1.00E-08"},{"v":50.3042483,"d":"5.03E+01"},null,null,{"v":9.99983e-09,"d":"1.00E-08"},{"v":50.0162768,"d":"5.00E+01"},null,null,{"v":9.999829e-09,"d":"1.00E-08"},{"v":50.2101554,"d":"5.02E+01"}]
[{"v":9.999821e-11,"d":"1.00E-10"},{"v":0.5128800844,"d":"5.13E-01"},null,null,{"v":9.999826e-11,"d":"1.00E-10"},{"v":0.5046358893,"d":"5.05E-01"},null,null,{"v":9.999829e-11,"d":"1.00E-10"},{"v":0.5043114908,"d":"5.04E-01"},null,null,{"v":9.999828e-11,"d":"1.00E-10"},{"v":0.507785149,"d":"5.08E-01"}]
[{"$nulls":4},{"v":3.000307e-11,"d":"3.00E-11"},{"v":0.1554709769,"d":"1.55E-01"},3,null,{"v":3.000307e-11,"d":"3.00E-11"},{"v":0.156342601,"d":"1.56E-01"},3,null,{"v":3.000307e-11,"d":"3.00E-11"},{"v":0.1553920283,"d":"1.55E-01"},3]
[{"$nulls":4},{"v":1.000265e-11,"d":"1.00E-11"},{"v":0.05460392593,"d":"5.46E-02"},3,null,{"v":1.000268e-11,"d":"1.00E-11"},{"v":0.05632466699,"d":"5.63E-02"},3,null,{"v":1.000265e-11,"d":"1.00E-11"},{"v":0.05511865631,"d":"5.51E-02"},3]
[]
["28 Gy mono 1-2",{"$nulls":3},"28 Gy mono 1-2",{"$nulls":3},"28 Gy mono 1-2",{"$nulls":3},"28 Gy mono 1-2"]
["20030509_2240_01_scan1",{"$nulls":3},"20030509_2240_02_scan1",{"$nulls":3},"20030509_2240_03_scan1",{"$nulls":3},"20030509_2240_04_scan1"]
["Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods"]
[{"v":0.0009999971,"d":"1.00E-03"},{"v":5230600,"d":"5.23E+06"},null,null,{"v":0.0009999971,"d":"1.00E-03"},{"v":5169100,"d":"5.17E+06"},null,null,{"v":0.0009999936,"d":"1.00E-03"},{"v":5314700,"d":"5.31E+06"},null,null,{"v":0.0009999988,"d":"1.00E-03"},{"v":5151900,"d":"5.15E+06"}]
[{"v":0.0005000631,"d":"5.00E-04"},{"v":2540500,"d":"2.54E+06"},null,null,{"v":0.0005000629,"d":"5.00E-04"},{"v":2504100,"d":"2.50E+06"},null,null,{"v":0.000500063,"d":"5.00E-04"},{"v":2494500,"d":"2.49E+06"},null,null,{"v":0.0005000635,"d":"5.00E-04"},{"v":2500600,"d":"2.50E+06"}]
[{"v":9.999827e-05,"d":"1.00E-04"},{"v":511680,"d":"5.12E+05"},null,null,{"v":9.999821e-05,"d":"1.00E-04"},{"v":502580,"d":"5.03E+05"},null,null,{"v":9.999832e-05,"d":"1.00E-04"},{"v":500440,"d":"5.00E+05"},null,null,{"v":9.999829e-05,"d":"1.00E-04"},{"v":502160,"d":"5.02E+05"}]
[{"v":9.999835e-07,"d":"1.00E-06"},{"v":5119.08,"d":"5.12E+03"},null,null,{"v":9.999836e-07,"d":"1.00E-06"},{"v":5029.376,"d":"5.03E+03"},null,null,{"v":9.999831e-07,"d":"1.00E-06"},{"v":5009.403,"d":"5.01E+03"},null,null,{"v":9.999829e-07,"d":"1.00E-06"},{"v":5029.1,"d":"5.03E+03"}]
[{"v":9.999835e-09,"d":"1.00E-08"},{"v":51.2172859,"d":"5.12E+01"},null,null,{"v":9.999832e-09,"d":"1.00E-08"},{"v":50.2991025,"d":"5.03E+01"},null,null,{"v":9.999837e-09,"d":"1.00E-08"},{"v":50.0389493,"d":"5.00E+01"},null,null,{"v":9.999831e-09,"d":"1.00E-08"},{"v":50.2677358,"d":"5.03E+01"}]
[]
[]
[]
[]
["252 Gy mono 1-2",{"$nulls":3},"252 Gy mono 1-2",{"$nulls":3},"252 Gy mono 1-2",{"$nulls":3},"252 Gy mono 1-2"]
["20030509_2327_01_scan252Gy",{"$nulls":3},"20030509_2327_02_scan252Gy",{"$nulls":3},"20030509_2327_03_scan252Gy",{"$nulls":3},"20030509_2327_04_scan252Gy"]
["Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods"]
[{"v":0.0009999981,"d":"1.00E-03"},{"v":5183100,"d":"5.18E+06"},null,null,{"v":0.0009999969,"d":"1.00E-03"},{"v":5110200,"d":"5.11E+06"},null,null,{"v":0.0009999935,"d":"1.00E-03"},{"v":5319600,"d":"5.32E+06"},null,null,{"v":0.0009999987,"d":"1.00E-03"},{"v":5155500,"d":"5.16E+06"}]
[{"v":0.0005000625,"d":"5.00E-04"},{"v":2517500,"d":"2.52E+06"},null,null,{"v":0.0005000627,"d":"5.00E-04"},{"v":2481100,"d":"2.48E+06"},null,null,{"v":0.0005000621,"d":"5.00E-04"},{"v":2495500,"d":"2.50E+06"},null,null,{"v":0.0005000622,"d":"5.00E-04"},{"v":2501100,"d":"2.50E+06"}]
[{"v":9.999816e-05,"d":"1.00E-04"},{"v":506660,"d":"5.07E+05"},null,null,{"v":9.999819e-05,"d":"1.00E-04"},{"v":498050,"d":"4.98E+05"},null,null,{"v":9.999823e-05,"d":"1.00E-04"},{"v":500530,"d":"5.01E+05"},null,null,{"v":9.999827e-05,"d":"1.00E-04"},{"v":502220,"d":"5.02E+05"}]
[{"v":9.999826e-07,"d":"1.00E-06"},{"v":5071.359,"d":"5.07E+03"},null,null,{"v":9.999816e-07,"d":"1.00E-06"},{"v":4983.328,"d":"4.98E+03"},null,null,{"v":9.999823e-07,"d":"1.00E-06"},{"v":5011.715,"d":"5.01E+03"},null,null,{"v":9.999819e-07,"d":"1.00E-06"},{"v":5030.114,"d":"5.03E+03"}]
[{"v":9.999834e-09,"d":"1.00E-08"},{"v":50.7385957,"d":"5.07E+01"},null,null,{"v":9.999832e-09,"d":"1.00E-08"},{"v":50.004921,"d":"5.00E+01"},null,null,{"v":9.999821e-09,"d":"1.00E-08"},{"v":50.0608226,"d":"5.01E+01"},null,null,{"v":9.999827e-09,"d":"1.00E-08"},{"v":50.2704794,"d":"5.03E+01"}]
[{"v":9.999829e-11,"d":"1.00E-10"},{"v":0.5033663534,"d":"5.03E-01"},null,null,{"v":9.999827e-11,"d":"1.00E-10"},{"v":0.5157539529,"d":"5.16E-01"},null,null,{"v":9.999834e-11,"d":"1.00E-10"},{"v":0.511138618,"d":"5.11E-01"},null,null,{"v":9.999832e-11,"d":"1.00E-10"},{"v":0.527859831,"d":"5.28E-01"}]
[{"$nulls":4},{"v":3.000303e-11,"d":"3.00E-11"},{"v":0.1668128918,"d":"1.67E-01"},3,null,{"v":3.000307e-11,"d":"3.00E-11"},{"v":0.1582732993,"d":"1.58E-01"},3,null,{"v":3.000308e-11,"d":"3.00E-11"},{"v":0.1778933905,"d":"1.78E-01"},3]
[]
[]
["504 Gy mono 1-2",{"$nulls":3},"504 Gy mono 1-2",{"$nulls":3},"504 Gy mono 1-2",{"$nulls":3},"504 Gy mono 1-2"]
["20030510_0026_01_scan0b",{"$nulls":3},"20030510_0026_02_scan0b",{"$nulls":3},"20030510_0026_03_scan0b",{"$nulls":3},"20030510_0026_04_scan0b"]
["Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz","# valid periods",null,"Amps","Hz"]
[{"v":0.0009999977,"d":"1.00E-03"},{"v":5248500,"d":"5.25E+06"},null,null,{"v":0.0009999962,"d":"1.00E-03"},{"v":5227500,"d":"5.23E+06"},null,null,{"v":0.0009999927,"d":"1.00E-03"},{"v":5320400,"d":"5.32E+06"},null,null,{"v":0.0009999998,"d":"1.00E-03"},{"v":5141600,"d":"5.14E+06"}]
[{"v":0.0005000622,"d":"5.00E-04"},{"v":2543900,"d":"2.54E+06"},null,null,{"v":0.0005000625,"d":"5.00E-04"},{"v":2522400,"d":"2.52E+06"},null,null,{"v":0.0005000625,"d":"5.00E-04"},{"v":2496500,"d":"2.50E+06"},null,null,{"v":0.0005000617,"d":"5.00E-04"},{"v":2499900,"d":"2.50E+06"}]
[{"v":9.999821e-05,"d":"1.00E-04"},{"v":511800,"d":"5.12E+05"},null,null,{"v":9.999818e-05,"d":"1.00E-04"},{"v":506170,"d":"5.06E+05"},null,null,{"v":9.999822e-05,"d":"1.00E-04"},{"v":500860,"d":"5.01E+05"},null,null,{"v":9.999824e-05,"d":"1.00E-04"},{"v":501970,"d":"5.02E+05"}]
[{"v":9.999821e-07,"d":"1.00E-06"},{"v":5123.167,"d":"5.12E+03"},null,null,{"v":9.999829e-07,"d":"1.00E-06"},{"v":5064.633,"d":"5.06E+03"},null,null,{"v":9.999825e-07,"d":"1.00E-06"},{"v":5016.378,"d":"5.02E+03"},null,null,{"v":9.999827e-07,"d":"1.00E-06"},{"v":5027.318,"d":"5.03E+03"}]
[{"v":9.999826e-09,"d":"1.00E-08"},{"v":51.2529665,"d":"5.13E+01"},null,null,{"v":9.999831e-09,"d":"1.00E-08"},{"v":50.6799622,"d":"5.07E+01"},null,null,{"v":9.999828e-09,"d":"1.00E-08"},{"v":50.0895347,"d":"5.01E+01"},null,null,{"v":9.99983e-09,"d":"1.00E-08"},{"v":50.278097,"d":"5.03E+01"}]
[{"v":9.999832e-11,"d":"1.00E-10"},{"v":0.5099478304,"d":"5.10E-01"},null,null,{"v":9.999828e-11,"d":"1.00E-10"},{"v":0.5460098991,"d":"5.46E-01"},null,null,{"v":9.999833e-11,"d":"1.00E-10"},{"v":0.5116283428,"d":"5.12E-01"},null,null,{"v":9.999827e-11,"d":"1.00E-10"},{"v":0.5564204251,"d":"5.56E-01"}]
[{"$nulls":4},{"v":3.000303e-11,"d":"3.00E-11"},{"v":0.1877745993,"d":"1.88E-01"},3,null,{"v":3.000307e-11,"d":"3.00E-11"},{"v":0.1611529913,"d":"1.61E-01"},3,null,{"v":3.000307e-11,"d":"3.00E-11"},{"v":0.2050617386,"d":"2.05E-01"},3]
[]
[]
["252 Gy Comparator 1-2",{"$nulls":3},"252 Gy Comparator 1-2",{"$nulls":3},"252 Gy Comparator 1-2",{"$nulls":3},"252 Gy Comparator 1-2"]
["20030510_0117_01_scan252comp",{"$nulls":3},"20030510_0117_02_scan252comp",{"$nulls":3},"20030510_0117_03_scan252comp",{"$nulls":3},"20030510_0117_04_scan252comp"]
["Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz"]
[{"v":0.000999997,"d":"1.00E-03"},{"v":5252100,"d":"5.25E+06"},null,null,{"v":0.0009999959,"d":"1.00E-03"},{"v":5231700,"d":"5.23E+06"},null,null,{"v":0.0009999939,"d":"1.00E-03"},{"v":5330600,"d":"5.33E+06"},null,null,{"v":0.0009999993,"d":"1.00E-03"},{"v":5152800,"d":"5.15E+06"}]
[{"v":0.0005000617,"d":"5.00E-04"},{"v":2544800,"d":"2.54E+06"},null,null,{"v":0.0005000618,"d":"5.00E-04"},{"v":2523600,"d":"2.52E+06"},null,null,{"v":0.0005000622,"d":"5.00E-04"},{"v":2499900,"d":"2.50E+06"},null,null,{"v":0.000500062,"d":"5.00E-04"},{"v":2501100,"d":"2.50E+06"}]
[{"v":9.999822e-05,"d":"1.00E-04"},{"v":511740,"d":"5.12E+05"},null,null,{"v":9.999819e-05,"d":"1.00E-04"},{"v":506520,"d":"5.07E+05"},null,null,{"v":9.999829e-05,"d":"1.00E-04"},{"v":501420,"d":"5.01E+05"},null,null,{"v":9.999829e-05,"d":"1.00E-04"},{"v":502170,"d":"5.02E+05"}]
[{"v":9.99982e-07,"d":"1.00E-06"},{"v":5124.712,"d":"5.12E+03"},null,null,{"v":9.999832e-07,"d":"1.00E-06"},{"v":5066.104,"d":"5.07E+03"},null,null,{"v":9.999829e-07,"d":"1.00E-06"},{"v":5019.708,"d":"5.02E+03"},null,null,{"v":9.999825e-07,"d":"1.00E-06"},{"v":5029.955,"d":"5.03E+03"}]
[{"v":9.99983e-09,"d":"1.00E-08"},{"v":51.2669268,"d":"5.13E+01"},null,null,{"v":9.999828e-09,"d":"1.00E-08"},{"v":50.6955956,"d":"5.07E+01"},null,null,{"v":9.999825e-09,"d":"1.00E-08"},{"v":50.1326725,"d":"5.01E+01"},null,null,{"v":9.999826e-09,"d":"1.00E-08"},{"v":50.2844684,"d":"5.03E+01"}]
[{"v":9.999832e-11,"d":"1.00E-10"},{"v":0.5079784589,"d":"5.08E-01"},null,null,{"v":9.999825e-11,"d":"1.00E-10"},{"v":0.5469641612,"d":"5.47E-01"},null,null,{"v":9.999829e-11,"d":"1.00E-10"},{"v":0.5142186568,"d":"5.14E-01"},null,null,{"v":9.999829e-11,"d":"1.00E-10"},{"v":0.5656769882,"d":"5.66E-01"}]
[{"$nulls":4},{"v":3.000308e-11,"d":"3.00E-11"},{"v":0.2008789869,"d":"2.01E-01"},"3?",null,{"v":3.000306e-11,"d":"3.00E-11"},{"v":0.172168276,"d":"1.72E-01"},3,null,{"v":3.000308e-11,"d":"3.00E-11"},{"v":0.2040139598,"d":"2.04E-01"},3]
[]
[]
["504 Gy Comparator 1-2",{"$nulls":3},"504 Gy Comparator 1-2",{"$nulls":3},"504 Gy Comparator 1-2",{"$nulls":3},"504 Gy Comparator 1-2"]
["20030510_0204_01_scan0c",{"$nulls":3},"20030510_0204_02_scan0c",{"$nulls":3},"20030510_0204_03_scan0c",{"$nulls":3},"20030510_0204_04_scan0c"]
["Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz"]
[{"v":0.0009999976,"d":"1.00E-03"},{"v":5246400,"d":"5.25E+06"},null,null,{"v":0.000999996,"d":"1.00E-03"},{"v":5225600,"d":"5.23E+06"},null,null,{"v":0.0009999948,"d":"1.00E-03"},{"v":5312200,"d":"5.31E+06"},null,null,{"v":0.0009999996,"d":"1.00E-03"},{"v":5144400,"d":"5.14E+06"}]
[{"v":0.0005000636,"d":"5.00E-04"},{"v":2543400,"d":"2.54E+06"},null,null,{"v":0.0005000628,"d":"5.00E-04"},{"v":2522400,"d":"2.52E+06"},null,null,{"v":0.0005000624,"d":"5.00E-04"},{"v":2494400,"d":"2.49E+06"},null,null,{"v":0.0005000621,"d":"5.00E-04"},{"v":2501100,"d":"2.50E+06"}]
[{"v":9.999821e-05,"d":"1.00E-04"},{"v":511680,"d":"5.12E+05"},null,null,{"v":9.999825e-05,"d":"1.00E-04"},{"v":506190,"d":"5.06E+05"},null,null,{"v":9.999824e-05,"d":"1.00E-04"},{"v":500430,"d":"5.00E+05"},null,null,{"v":9.99983e-05,"d":"1.00E-04"},{"v":502130,"d":"5.02E+05"}]
[{"v":9.999826e-07,"d":"1.00E-06"},{"v":5122.11,"d":"5.12E+03"},null,null,{"v":9.999828e-07,"d":"1.00E-06"},{"v":5063.057,"d":"5.06E+03"},null,null,{"v":9.999839e-07,"d":"1.00E-06"},{"v":5008.181,"d":"5.01E+03"},null,null,{"v":9.999832e-07,"d":"1.00E-06"},{"v":5027.941,"d":"5.03E+03"}]
[{"v":9.999834e-09,"d":"1.00E-08"},{"v":51.2286917,"d":"5.12E+01"},null,null,{"v":9.99983e-09,"d":"1.00E-08"},{"v":50.6787242,"d":"5.07E+01"},null,null,{"v":9.999833e-09,"d":"1.00E-08"},{"v":50.0621022,"d":"5.01E+01"},null,null,{"v":9.999829e-09,"d":"1.00E-08"},{"v":50.2357004,"d":"5.02E+01"}]
[{"v":9.999833e-11,"d":"1.00E-10"},{"v":0.5053545343,"d":"5.05E-01"},null,null,{"v":9.999835e-11,"d":"1.00E-10"},{"v":0.5461884382,"d":"5.46E-01"},null,null,{"v":9.999833e-11,"d":"1.00E-10"},{"v":0.52185561,"d":"5.22E-01"},null,null,{"v":9.99983e-11,"d":"1.00E-10"},{"v":0.5052917038,"d":"5.05E-01"}]
[{"$nulls":4},{"v":3.000313e-11,"d":"3.00E-11"},{"v":0.1922819647,"d":"1.92E-01"},3,null,{"v":3.000311e-11,"d":"3.00E-11"},{"v":0.1803845677,"d":"1.80E-01"},3,null,{"v":3.000313e-11,"d":"3.00E-11"},{"v":0.1543364251,"d":"1.54E-01"},3]
[]
[]
["252 Gy Amplifier 1",{"$nulls":3},"252 Gy Amplifier 1",{"$nulls":3},"252 Gy Amplifier 1",{"$nulls":3},"252 Gy Amplifier 1"]
["20030510_0303_01_scan252ampl",{"$nulls":3},"20030510_0303_02_scan252ampl",{"$nulls":3},"20030510_0303_03_scan252ampl",{"$nulls":3},"20030510_0303_04_scan252ampl"]
["Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz"]
[{"v":0.0009999992,"d":"1.00E-03"},{"v":5206500,"d":"5.21E+06"},null,null,{"v":0.0009999971,"d":"1.00E-03"},{"v":5229600,"d":"5.23E+06"},null,null,{"v":0.0009999945,"d":"1.00E-03"},{"v":5285900,"d":"5.29E+06"},null,null,{"v":0.0009999998,"d":"1.00E-03"},{"v":5153900,"d":"5.15E+06"}]
[{"v":0.0005000639,"d":"5.00E-04"},{"v":2525400,"d":"2.53E+06"},null,null,{"v":0.0005000634,"d":"5.00E-04"},{"v":2524000,"d":"2.52E+06"},null,null,{"v":0.0005000636,"d":"5.00E-04"},{"v":2484200,"d":"2.48E+06"},null,null,{"v":0.0005000642,"d":"5.00E-04"},{"v":2501800,"d":"2.50E+06"}]
[{"v":9.999835e-05,"d":"1.00E-04"},{"v":507540,"d":"5.08E+05"},null,null,{"v":9.999835e-05,"d":"1.00E-04"},{"v":506530,"d":"5.07E+05"},null,null,{"v":9.999835e-05,"d":"1.00E-04"},{"v":498520,"d":"4.99E+05"},null,null,{"v":9.999833e-05,"d":"1.00E-04"},{"v":502280,"d":"5.02E+05"}]
[{"v":9.999827e-07,"d":"1.00E-06"},{"v":5076.392,"d":"5.08E+03"},null,null,{"v":9.999841e-07,"d":"1.00E-06"},{"v":5067.272,"d":"5.07E+03"},null,null,{"v":9.999836e-07,"d":"1.00E-06"},{"v":4984.339,"d":"4.98E+03"},null,null,{"v":9.999837e-07,"d":"1.00E-06"},{"v":5029.496,"d":"5.03E+03"}]
[{"v":9.999842e-09,"d":"1.00E-08"},{"v":50.7617437,"d":"5.08E+01"},null,null,{"v":9.999837e-09,"d":"1.00E-08"},{"v":50.7096232,"d":"5.07E+01"},null,null,{"v":9.999837e-09,"d":"1.00E-08"},{"v":49.8207216,"d":"4.98E+01"},null,null,{"v":9.999837e-09,"d":"1.00E-08"},{"v":50.3044946,"d":"5.03E+01"}]
[{"v":9.999836e-11,"d":"1.00E-10"},{"v":0.5332980919,"d":"5.33E-01"},null,null,{"v":9.999837e-11,"d":"1.00E-10"},{"v":0.55226157,"d":"5.52E-01"},null,null,{"v":9.999842e-11,"d":"1.00E-10"},{"v":0.5651447448,"d":"5.65E-01"},null,null,{"v":9.999836e-11,"d":"1.00E-10"},{"v":0.5661724862,"d":"5.66E-01"}]
[{"v":3.000311e-11,"d":"3.00E-11"},{"v":0.1722643441,"d":"1.72E-01"},3,null,{"v":3.000319e-11,"d":"3.00E-11"},{"v":0.1932932342,"d":"1.93E-01"},3,null,{"v":3.000312e-11,"d":"3.00E-11"},{"v":0.217835264,"d":"2.18E-01"},3,null,{"v":3.000316e-11,"d":"3.00E-11"},{"v":0.2138255342,"d":"2.14E-01"},3]
[]
[]
["504 Gy Amplifier 1",{"$nulls":3},"504 Gy Amplifier 1",{"$nulls":3},"504 Gy Amplifier 1",{"$nulls":3},"504 Gy Amplifier 1"]
["20030510_0342_01_scan0d",{"$nulls":3},"20030510_0342_02_scan0d",{"$nulls":3},"20030510_0342_03_scan0d",{"$nulls":3},"20030510_0342_04_scan0d"]
["Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz"]
[{"v":0.0009999989,"d":"1.00E-03"},{"v":5154400,"d":"5.15E+06"},null,null,{"v":0.0009999969,"d":"1.00E-03"},{"v":5226700,"d":"5.23E+06"},null,null,{"v":0.0009999964,"d":"1.00E-03"},{"v":5242300,"d":"5.24E+06"},null,null,{"v":0.001,"d":"1.00E-03"},{"v":5136000,"d":"5.14E+06"}]
[{"v":0.0005000637,"d":"5.00E-04"},{"v":2513800,"d":"2.51E+06"},null,null,{"v":0.0005000628,"d":"5.00E-04"},{"v":2523300,"d":"2.52E+06"},null,null,{"v":0.0005000641,"d":"5.00E-04"},{"v":2469500,"d":"2.47E+06"},null,null,{"v":0.0005000642,"d":"5.00E-04"},{"v":2498600,"d":"2.50E+06"}]
[{"v":9.999839e-05,"d":"1.00E-04"},{"v":505700,"d":"5.06E+05"},null,null,{"v":9.999837e-05,"d":"1.00E-04"},{"v":506440,"d":"5.06E+05"},null,null,{"v":9.999835e-05,"d":"1.00E-04"},{"v":495610,"d":"4.96E+05"},null,null,{"v":9.999833e-05,"d":"1.00E-04"},{"v":501670,"d":"5.02E+05"}]
[{"v":9.999834e-07,"d":"1.00E-06"},{"v":5047.35,"d":"5.05E+03"},null,null,{"v":9.999843e-07,"d":"1.00E-06"},{"v":5064.98,"d":"5.06E+03"},null,null,{"v":9.999839e-07,"d":"1.00E-06"},{"v":4953.742,"d":"4.95E+03"},null,null,{"v":9.999833e-07,"d":"1.00E-06"},{"v":5023.232,"d":"5.02E+03"}]
[{"v":9.999847e-09,"d":"1.00E-08"},{"v":50.5896595,"d":"5.06E+01"},null,null,{"v":9.999842e-09,"d":"1.00E-08"},{"v":50.6559313,"d":"5.07E+01"},null,null,{"v":9.999838e-09,"d":"1.00E-08"},{"v":49.5422622,"d":"4.95E+01"},null,null,{"v":9.999829e-09,"d":"1.00E-08"},{"v":50.1982608,"d":"5.02E+01"}]
[{"v":9.999836e-11,"d":"1.00E-10"},{"v":0.6845225184,"d":"6.85E-01"},null,null,{"v":9.999838e-11,"d":"1.00E-10"},{"v":0.5516423863,"d":"5.52E-01"},null,null,{"v":9.999834e-11,"d":"1.00E-10"},{"v":0.5920614341,"d":"5.92E-01"},null,null,{"v":9.999838e-11,"d":"1.00E-10"},{"v":0.5276526227,"d":"5.28E-01"}]
[{"v":3.000317e-11,"d":"3.00E-11"},{"v":0.318509577,"d":"3.19E-01"},3,null,{"v":3.000314e-11,"d":"3.00E-11"},{"v":0.1937627994,"d":"1.94E-01"},3,null,{"v":3.000317e-11,"d":"3.00E-11"},{"v":0.2459344633,"d":"2.46E-01"},3,null,{"v":3.000323e-11,"d":"3.00E-11"},{"v":0.1718748652,"d":"1.72E-01"},3]
[]
[]
["252 Gy Jfet1",{"$nulls":3},"252 Gy Jfet1",{"$nulls":3},"252 Gy Jfet1",{"$nulls":3},"252 Gy Jfet1"]
["20030510_0436_01_scan252jfet",{"$nulls":3},"20030510_0436_02_scan252jfet",{"$nulls":3},"20030510_0436_03_scan252jfet",{"$nulls":3},"20030510_0436_04_scan252jfet"]
["Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz"]
[{"v":0.0009999995,"d":"1.00E-03"},{"v":5135900,"d":"5.14E+06"},null,null,{"v":0.0009999977,"d":"1.00E-03"},{"v":5222800,"d":"5.22E+06"},null,null,{"v":0.000999997,"d":"1.00E-03"},{"v":5241500,"d":"5.24E+06"},null,null,{"v":0.001000001,"d":"1.00E-03"},{"v":5131400,"d":"5.13E+06"}]
[{"v":0.0005000645,"d":"5.00E-04"},{"v":2503300,"d":"2.50E+06"},null,null,{"v":0.0005000641,"d":"5.00E-04"},{"v":2521100,"d":"2.52E+06"},null,null,{"v":0.0005000639,"d":"5.00E-04"},{"v":2469600,"d":"2.47E+06"},null,null,{"v":0.0005000642,"d":"5.00E-04"},{"v":2497300,"d":"2.50E+06"}]
[{"v":9.999838e-05,"d":"1.00E-04"},{"v":503220,"d":"5.03E+05"},null,null,{"v":9.999836e-05,"d":"1.00E-04"},{"v":505710,"d":"5.06E+05"},null,null,{"v":9.999834e-05,"d":"1.00E-04"},{"v":495650,"d":"4.96E+05"},null,null,{"v":9.99984e-05,"d":"1.00E-04"},{"v":501490,"d":"5.01E+05"}]
[{"v":9.999839e-07,"d":"1.00E-06"},{"v":5021.771,"d":"5.02E+03"},null,null,{"v":9.999841e-07,"d":"1.00E-06"},{"v":5059.456,"d":"5.06E+03"},null,null,{"v":9.999834e-07,"d":"1.00E-06"},{"v":4952.389,"d":"4.95E+03"},null,null,{"v":9.999833e-07,"d":"1.00E-06"},{"v":5021.14,"d":"5.02E+03"}]
[{"v":9.999842e-09,"d":"1.00E-08"},{"v":50.414281,"d":"5.04E+01"},null,null,{"v":9.999838e-09,"d":"1.00E-08"},{"v":50.617792,"d":"5.06E+01"},null,null,{"v":9.999836e-09,"d":"1.00E-08"},{"v":49.5368996,"d":"4.95E+01"},null,null,{"v":9.999834e-09,"d":"1.00E-08"},{"v":50.1831654,"d":"5.02E+01"}]
[{"v":9.999843e-11,"d":"1.00E-10"},{"v":0.7535638521,"d":"7.54E-01"},null,null,{"v":9.999841e-11,"d":"1.00E-10"},{"v":0.5456991531,"d":"5.46E-01"},null,null,{"v":9.999837e-11,"d":"1.00E-10"},{"v":0.5973641619,"d":"5.97E-01"},null,null,{"v":9.999848e-11,"d":"1.00E-10"},{"v":0.5122775654,"d":"5.12E-01"}]
[{"v":3.000322e-11,"d":"3.00E-11"},{"v":0.3967711652,"d":"3.97E-01"},3,null,{"v":3.000319e-11,"d":"3.00E-11"},{"v":0.1876935668,"d":"1.88E-01"},3,null,{"v":3.000319e-11,"d":"3.00E-11"},{"v":0.2494830245,"d":"2.49E-01"},3,null,{"v":3.000322e-11,"d":"3.00E-11"},{"v":0.16436331,"d":"1.64E-01"},3]
[]
[]
["504 Gy Jfet1",{"$nulls":3},"504 Gy Jfet1",{"$nulls":3},"504 Gy Jfet1",{"$nulls":3},"504 Gy Jfet1"]
["20030510_0511_01_scan530jfet",{"$nulls":3},"20030510_0511_02_scan530jfet",{"$nulls":3},"20030510_0511_03_scan530jfet",{"$nulls":3},"20030510_0511_04_scan530jfet"]
["Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz",null,null,"Amps","Hz"]
[{"v":0.0009999993,"d":"1.00E-03"},{"v":5126900,"d":"5.13E+06"},null,null,{"v":0.0009999981,"d":"1.00E-03"},{"v":5217500,"d":"5.22E+06"},null,null,{"v":0.0009999967,"d":"1.00E-03"},{"v":5239500,"d":"5.24E+06"},null,null,{"v":0.001000001,"d":"1.00E-03"},{"v":5126700,"d":"5.13E+06"}]
[{"v":0.0005000648,"d":"5.00E-04"},{"v":2497700,"d":"2.50E+06"},null,null,{"v":0.0005000645,"d":"5.00E-04"},{"v":2517300,"d":"2.52E+06"},null,null,{"v":0.0005000639,"d":"5.00E-04"},{"v":2468700,"d":"2.47E+06"},null,null,{"v":0.0005000637,"d":"5.00E-04"},{"v":2494400,"d":"2.49E+06"}]
[{"v":9.999834e-05,"d":"1.00E-04"},{"v":502180,"d":"5.02E+05"},null,null,{"v":9.999832e-05,"d":"1.00E-04"},{"v":505070,"d":"5.05E+05"},null,null,{"v":9.999834e-05,"d":"1.00E-04"},{"v":495430,"d":"4.95E+05"},null,null,{"v":9.999836e-05,"d":"1.00E-04"},{"v":500920,"d":"5.01E+05"}]
[{"v":9.99982e-07,"d":"1.00E-06"},{"v":5007.686,"d":"5.01E+03"},null,null,{"v":9.999839e-07,"d":"1.00E-06"},{"v":5052.436,"d":"5.05E+03"},null,null,{"v":9.999841e-07,"d":"1.00E-06"},{"v":4951.569,"d":"4.95E+03"},null,null,{"v":9.999843e-07,"d":"1.00E-06"},{"v":5015.166,"d":"5.02E+03"}]
[{"v":9.999881e-09,"d":"1.00E-08"},{"v":50.3099986,"d":"5.03E+01"},null,null,{"v":9.999836e-09,"d":"1.00E-08"},{"v":50.5207549,"d":"5.05E+01"},null,null,{"v":9.99984e-09,"d":"1.00E-08"},{"v":49.5359437,"d":"4.95E+01"},null,null,{"v":9.999842e-09,"d":"1.00E-08"},{"v":50.0690357,"d":"5.01E+01"}]
[{"v":9.99984e-11,"d":"1.00E-10"},{"v":0.8203293978,"d":"8.20E-01"},null,null,{"v":9.999843e-11,"d":"1.00E-10"},{"v":0.5421754128,"d":"5.42E-01"},null,null,{"v":9.999837e-11,"d":"1.00E-10"},{"v":0.5679272072,"d":"5.68E-01"},null,null,{"v":9.999834e-11,"d":"1.00E-10"},{"v":0.4919072313,"d":"4.92E-01"}]
[{"v":3.000317e-11,"d":"3.00E-11"},{"v":0.4550103715,"d":"4.55E-01"},3,null,{"v":3.00032e-11,"d":"3.00E-11"},{"v":0.1801487361,"d":"1.80E-01"},3,null,{"v":3.000322e-11,"d":"3.00E-11"},{"v":0.2565182295,"d":"2.57E-01"},3,null,{"v":3.000324e-11,"d":"3.00E-11"},{"v":0.1366511324387778,"d":"1.37E-01"},2]
[]
[]
["last scan",{"$nulls":3},"last scan",{"$nulls":3},"last scan",{"$nulls":3},"last scan"]
["20030510_0525_01_scan0e",{"$nulls":3},"20030510_0525_02_scan0e",{"$nulls":3},"20030510_0525_03_scan0e",{"$nulls":3},"20030510_0525_04_scan0e"]
["Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods",null,"Amps","Hz","# valid periods"]
[{"v":0.0009999978,"d":"1.00E-03"},{"v":5000800,"d":"5.00E+06"},null,null,{"v":0.0009999971,"d":"1.00E-03"},{"v":5215900,"d":"5.22E+06"},null,null,{"v":0.0009999963,"d":"1.00E-03"},{"v":5232600,"d":"5.23E+06"},null,null,{"v":0.0009999998,"d":"1.00E-03"},{"v":5127000,"d":"5.13E+06"}]
[{"v":0.0005000636,"d":"5.00E-04"},{"v":2452700,"d":"2.45E+06"},null,null,{"v":0.000500064,"d":"5.00E-04"},{"v":2516600,"d":"2.52E+06"},null,null,{"v":0.0005000638,"d":"5.00E-04"},{"v":2467100,"d":"2.47E+06"},null,null,{"v":0.0005000641,"d":"5.00E-04"},{"v":2493500,"d":"2.49E+06"}]
[{"v":9.999828e-05,"d":"1.00E-04"},{"v":493530,"d":"4.94E+05"},null,null,{"v":9.999827e-05,"d":"1.00E-04"},{"v":505250,"d":"5.05E+05"},null,null,{"v":9.999831e-05,"d":"1.00E-04"},{"v":495210,"d":"4.95E+05"},null,null,{"v":9.999837e-05,"d":"1.00E-04"},{"v":500740,"d":"5.01E+05"}]
[{"v":9.999832e-07,"d":"1.00E-06"},{"v":4935.718,"d":"4.94E+03"},null,null,{"v":9.999837e-07,"d":"1.00E-06"},{"v":5051.793,"d":"5.05E+03"},null,null,{"v":9.999836e-07,"d":"1.00E-06"},{"v":4947.791,"d":"4.95E+03"},null,null,{"v":9.999842e-07,"d":"1.00E-06"},{"v":5012.437,"d":"5.01E+03"}]
[{"v":9.999838e-09,"d":"1.00E-08"},{"v":49.3543875,"d":"4.94E+01"},null,null,{"v":9.999841e-09,"d":"1.00E-08"},{"v":50.5341913,"d":"5.05E+01"},null,null,{"v":9.999834e-09,"d":"1.00E-08"},{"v":49.4875459,"d":"4.95E+01"},null,null,{"v":9.999835e-09,"d":"1.00E-08"},{"v":50.0510785,"d":"5.01E+01"}]
[{"v":9.999838e-11,"d":"1.00E-10"},{"v":0.4719947211,"d":"4.72E-01"},null,null,{"v":9.999834e-11,"d":"1.00E-10"},{"v":0.5406909663,"d":"5.41E-01"},null,null,{"v":9.999835e-11,"d":"1.00E-10"},{"v":0.5881910583,"d":"5.88E-01"},null,null,{"v":9.999836e-11,"d":"1.00E-10"},{"v":0.476041455,"d":"4.76E-01"}]
[{"$nulls":4},{"v":3.000323e-11,"d":"3.00E-11"},{"v":0.1812322583,"d":"1.81E-01"},3,null,{"v":3.000319e-11,"d":"3.00E-11"},{"v":0.24606101358715501,"d":"2.46E-01"},2,null,{"v":3.00032e-11,"d":"3.00E-11"},{"v":0.1350047613,"d":"1.35E-01"},3]