## MAN20-CPU
Connections
Location | CPU |  |  |  | Fantray |  |  | General |  | General |  |  | Interlock/Energy |  | Network
Crate | CPU (MAC) | CPU (serial) | CPU (code) | Net Port | fan (MAC) | fan (serial) | Net Port2 | Chassis(serial) | PSU-B (serial) | Mains | Timing | Ethernet | Internal | Extrernal | Registered
SR1.R | 00:C0:3A:9C:01:DF | 479 | HCCTRP____-CR000737 | 2803/01 | 00:50:C2:2D:C0FC | 71300147 | 2803/02 | 71720045 | 71470099 | ok | ok | ok | ok | n/a | ok
SR1.C | 00:C0:3A:9C:01:C1 | 449 | HCCTRP____-CR000679 | 2803/07 | 00:50:C2:2D:C132 | 71300160 | 2803/08 | 71720058 | 71470040 | ok | ok | ok | ok | ok | ok
SR1.L | 00:C0:3A:9C:02:12 | 530 | HCCTRP____-CR000743 | 2803/09 | 00:50:C2:2D:C10D | 71300130 | 2803/10 | 71720028 | 71470033 | ok | ok | ok | ok | n/a | ok
SR2.R | 00:C0:3A:9C:02:CE | 718 | HCCTRP____-CR000729 | 2603/09 | 00:50:C2:2D:C1:C4 | 71300223 | 2603/10 | 71720075 | 71470087 | ok | ok | ok | ok | n/a | ok
SR2.L | 00:C0:3A:9C:01:D6 | 470 | HCCTRP____-CR000751 | 2603/01 | 00:50:C2:2D:C1:C3 | 71300217 | 2603/02 | 71720081 | 71470106 | ok | ok | ok | ok | n/a | ok
SR2.C | 00:C0:3A:9C:02:9C | 668 | HCCTRP____-CR000746 | 2603/03 | 00:50:C2:2D:C1:C5 | 71300216 | 2603/04 | 71720074 | 71470080 | ok | ok | ok | ok | ok | ok
SR2.I | 00:C0:3A:9C:01:E7 | 487 | HCCTRP____-CR000590 | 2603/11 | 00:50:C2:2D:CB:00 | 71300495 | 2603/12 | 71720096 | 71470086 | ok | ok | ok | ok | n/a | ok
SR3.R | 00:C0:3A:9C:01:F1 | 497 | HCCTRP____-CR000710 | 1519/01 | 00:50:C2:2D:C1:CE | 71300213 | 1519/02 | 71720079 | 71470056 | ok | ok | ok | ok | n/a | ok
SR3.C | 00:C0:3A:9C:02:3B | 571 | HCCTRP____-CR000572 | 1519/09 | 00:50:C2:2D:C1:AD | 71300220 | 1519/10 | 71720078 | 71470101 | ok | ok | ok | ok | ok | ok
SR3.L | 00:C0:3A:9C:02:3D | 573 | HCCTRP____-CR000707 | 1519/11 | 00:50:C2:2D:C1:C8 | 71300209 | 1519/12 | 71720067 | 71470079 | ok | ok | ok | ok | n/a | ok
SX4.R | 00:C0:3A:9C:01:CC | 460 | HCCTRP____-CR000589 | 5112/01 | 00:50:C2:2D:C0FA | 71300145 | 5112/02 | 71720043 | 71470098 | ok | ok | ok | ok | n/a | todo
SX4.C | 00:C0:3A:9C:02:4D | 589 | HCCTRP____-CR000596 | 5112/09 | 00:50:C2:2D:C0F5 | 71300164 | 5112/10 | 71720062 |  | ok | ok | ok | ok | ok | ok
SX4.L | 00:C0:3A:9C:02:07 | 519 | HCCTRP____-CR000291 | 5112/11 | 00:50:C2:2D:C0F9 | 71300141 | 5112/12 | 71720090 | 71470094 | ok | ok | ok | ok | n/a | ok
SR5.R | 00:C0:3A:9C:02:25 | 549 | HCCTRP____-CR000675 | 3611/01 | 00:50:C2:2D:C1A7 | 71300264 | 3611/02 | 71720041 | 71470058 | todo | ok | ok | ok | n/a | todo
SR5.C | 00:C0:3A:9C:0217 | 535 | HCCTRP____-CR000708 | 3611/09 | 00:50:C2:2D:C101 | 71300132 | 3611/10 | 71720030 | 71470060 | todo | ok | ok | ok | ok | todo
SR5.L | 00:C0:3A:9C:020C | 524 | HCCTRP____-CR000749 | 3611/11 | 00:50:C2:2D:C12B | 71300149 | 3611/12 | 71720047 | 71470078 | todo | ok | ok | ok | n/a | todo
SR6.R | 00:C0:3A:9C:02:0B | 523 | HCCTRP____-CR000742 | 3007/01 | 00:50:C2:2D:C0:F7 | 71300136 | 3007/02 | 71720057 | 71470108 | ok | ok | ok | ok | n/a | ok
SR6.C | 00:C0:3A:9C:02:2A | 554 | HCCTRP____-CR000693 | 3107/01 | 00:50:C2:2D:C0:F8 | 71300138 | 3107/02 | 71720016 | 71470110 | ok | ok | ok | ok | ok | ok
SR6.L | 00:C0:3A:9C:02:2D | 557 | HCCTRP____-CR000745 | 3107/03 | 00:50:C2:2D:C1:0E | 71300131 | 3107/04 | 71720029 | 71470092 | ok | ok | ok | ok | n/a | ok
SR7.R | 00:C0:3A:9C:02:3F | 575 | HCCTRP____-CR000663 | 1519/03 | 00:50:C2:2D:C4:57 | 71300325 | 1519/04 | 71720048 | 71470112 | ok | ok | ok | ok | n/a | ok
SR7.C | 00:C0:3A:9C:01:C3 | 451 | HCCTRP____-CR000739 | 1619/01 | 00:50:C2:2D:C1:15 | 71300153 | 1619/02 | 71720051 | 71470032 | ok | ok | ok | ok | ok | ok
SR7.L | 00:C0:3A:9C:02:40 | 576 | HCCTRP____-CR000750 | 1619/03 | 00:50:C2:2D:C1:1C | 71300158 | 1619/04 | 71720056 | 71470083 | ok | ok | ok | ok | n/a | ok
SR7.E | 00:C0:3A:9C:02:08 | 520 | HCCTRP____-CR000688 | 1519/01 | 00:50:C2:2D:C4:6C | 71300331 | 1519/02 | 71720036 | 71470037 | ok | ok | ok | ok | n/a | ok
SR8.R | 00:C0:3A:9C:02:05 | 517 | HCCTRP____-CR000662 | 3802/03 | 00:50:C2:2D:C1:36 | 71300155 | 3802/04 | 71720014 | 71470088 | ok | ok | ok | ok | n/a | todo
SR8.C | 00:C0:3A:9C:02:51 | 593 | HCCTRP____-CR000705 | 3802/05 | 00:50:C2:2D:C0:91 | 71300070 | 3802/06 | 71720003 | 71470052 | ok | ok | ok | ok | ok | todo
SR8.I | 00:C0:3A:9C:02:4C | 588 | HCCTRP____-CR000694 | 3802/01 | 00:50:C2:2D:C1:2C | 71300159 | 3802/02 | 71720076 | 71470097 | ok | ok | ok | ok | n/a | todo
SR8.L | 00:C0:3A:9C:02:18 | 536 | HCCTRP____-CR000736 | 3802/07 | 00:50:C2:2D:C0:88 | 71300069 | 3802/08 | 71720015 | 71470041 | ok | ok | ok | ok | n/a | todo
Connections
Location | CPU |  |  |  | Fantray |  |  | General |  | General |  |  | Interlock/Energy |  | Network
Crate | CPU (MAC) | CPU (serial) | CPU (code) | Net Port | fan (MAC) | fan (serial) | Net Port2 | Chassis(serial) | PSU-B (serial) | Mains | Timing | Ethernet | Internal | Extrernal | Registered
LINAC4 | 00:C0:3A:9C: | 487 | HCCTRP____-CR000 | [6 empty] | todo | todo | todo | todo | todo | todo
BR.BLM | 00:C0:3A:9C:02:0A | 522 | HCCTRP____-CR000 | 0203/11 | 00:50:C2:2D:C3:E4 | 71300356 | 0203/12 | 71720091 | 71470049 | ok | ok | ok | ok | ok | ok

## Sheet1
ok
todo
n/a